BEYOND RELIABILITY TO PROFITABILITY

Thomas H. Bond				John S. Mitchell

Thomas Bond Consultants		          Mitchell Associates

4259 Niagara Avenue			       31882 Paseo Alto Plano

San Diego, CA 92107			  San Juan Capistrano, CA 92675

619/226-2244				   714/496-0873

### Abstract

Reliability concerns have controlled much of power generation design and operations. Emerging from a strictly regulated environment, profitability is becoming a much more important concept for today’s power generation executives. This paper discusses the conceptual advance—view power plant maintenance as a profit center, go beyond reliability, and embrace profitability. Profit Centered Maintenance begins with the premise that financial considerations, namely profitability, drive most aspects of modern process and manufacturing operations. Profit Centered Maintenance is a continuous process of reliability and administrative improvement and optimization. For the power generation executives with troublesome maintenance programs, Profit Centered Maintenance can be the blueprint to increased profitability. It requires the culture change to make decisions based on value, to reengineer the administration of maintenance, and to enable the people performing and administering maintenance to make the most of available maintenance information technology. The key steps are to optimize the physical function of maintenance and to resolve recurring maintenance problems so that the need for maintenance can be reduced. Profit Centered Maintenance is more than just an attitude—it is a path to profitability, be it resulting in increased profits or increased market share.

### Reliability and Profitability

Power generation plants have always had reliability as a central core requirement in the design and construction of the physical plant. Operations have followed with the same reliability theme. For many years during which almost all power generation facilities were part of the regulated infrastructure of our society, reliability was seen as an asset, and the costs of reliability were readily passed through to the consumer. The manned space program of the 1960’s introduced design for reliability as a major consideration. The nuclear power generation program required increased safety and reliability design concerns. Profitability was not an overt objective of these new ventures.

In the same time frame, most commercial industry was designed with form, fit and function as the three principal design criteria. It was unstated but fundamental that profitability was an underlying major criteria for any new industrial design.

Changes in the law, technology, and markets have permitted competitive pressures in the electric power industry to relentlessly build. New generation facilities can produce power at a cost of about 3-5 cents per kilowatt-hour. With consumers in the same area paying 9-11 cents per kilowatt-hour a drive toward cheaper sources of electric power is understandable. Those sources want market access. The era of the vertically integrated utility providing power at regulated rates is changing to include companies able and willing to sell power shorn of other bundled services at rates set by competitive markets.

The emergence of the independent power producers, the spreading interest in deregulation of the electric power industry, and the increasing competitive pressures for a wholesale power market-based industry, have caused profitability to emerge as the preeminent criteria. In the lexicon of power generation business, terms causing concern among many such as direct access, retail wheeling, and stranded costs should only reinforce interest in profitability.

In the past, maintenance program improvements have been limited to the realm of the maintenance practitioner. Maintenance improvements have not been major business issues. Most executive and financial managers are unaware of the added value and profitability inherent in an optimized maintenance program. This will change in those power generators seeking to enhance their competitive advantage.

Reliability and Profitability: The Small Picture

Most view power plant machinery reliability as the capability to operate in its prescribed manner. This capability is the end product of design, manufacture, operation, and maintenance. Reliability is not automatic nor is it cheap. In consideration of individual equipment its residual capability to operate beyond its nominal capability can be compared to money in a shoe box—once spent it is gone. Plant wide, reliability is frequently manifested by expensive equipment redundancy which all too frequently proves ineffective.

Compounding this assault on competitiveness, current plant maintenance people strive to meet goals based on generalized, outdated,  maintenance benchmarks. To meet competitive pressures in the future, maintenance must become good at improving plant availability and asset utilization.

Certain discretionary actions, usually considered necessary to force short term availability or maintain a service level, can cause a lessening of equipment reliability. An example could be the continued operation with a known high bearing vibration level for a critical machine. It is understood that replacing a bearing is less costly than repairing a seized shaft. When machinery is operated such that wear rates are increased, reliability is correspondingly degraded. Whether or not this causes permanent degradation and required derating, repair, or replacement, the repetition of such action will eventually lead to an accelerated end of life and premature capital expenditures. And always a concern when operating equipment extensively beyond its limits, catastrophic failure may punish those who push too far.

The driving force behind these occasional abnormal operations is the need to continue the revenue stream or to obtain profits, certainly not to wear out equipment faster. What is needed is to face the profits need square on and find the opportunities for increasing profitability through reliability investments and decisions based on value. It becomes necessary to apply business methods to smaller investment decisions.

With a firm basis established in return on investment for reliability costs, profitability decisions fall into place. Investments for added reliability such as purchasing more robust equipment, requiring better installation and insisting on enlightened maintenance practices become justifiable with this solid financial basis. Pressures to revert to reactive or breakdown maintenance can be countered with a return on investment analysis that gathers support from senior executive and financial management. Maintenance decisions and approach is thus centered on contributions to profitability, or as we call it: Profit Centered Maintenance.

Profit Centered Maintenance begins with the premise that financial considerations, namely profitability, drive most aspects of modern process and manufacturing operations. In the modern industrial environment, equipment reliability and reliability improvement must have a solid financial justification. Otherwise, the equipment manufacturer who offers significantly improved reliability only at a premium price, will find few buyers since business decisions may not support a high price for only reliability.

Profit Centered Maintenance

Profit Centered Maintenance is a continuum of optimizing the physical function of maintenance, improving asset reliability, and improving the administration of maintenance. The major activity required for its implementation is optimization of the maintenance function. Once done, the continuous improvement loop may cause only fine tuning of specific maintenance tasks.

The principal components of Profit Centered Maintenance are:

- the insistence on maximum value over least costs,

- the optimization of the physical function of maintenance to get the blend of condition based, time based, and run to failure maintenance that returns maximum value.

- the reduction of the need for maintenance to permanently reduce maintenance cost,

- the reengineering of maintenance administration eliminating non-value adding activities and waste, and

- the enabling of the maintenance work force to extract maximum value from maintenance information management systems.

#### Maximum Value over Least Cost

Insisting on maximum value over least costs is the kind of long term commitment that belongs in the culture change category. It is simple to say and superficially easy to understand. Where it becomes hard is establishing the concept as the normal way of doing business. Return On Investment and Net Present Value are two conventional ways to calculate the relative value of projects or decisions in order to objectively determine maximum value. The harder issue is to frame operational issues and schedule-impacting maintenance decisions in value terms. For the typical maintenance organization trained to think of minimizing costs, the concept of maximum value may seem equivalent to the more familiar least costs method. It is not, and the best way to appreciate the difference is by recognizing that maximum value achieves its payback over a longer period of time than usually considered.

Hypothetically, the high level vibration condition discussed above could be repaired right away with obvious maintenance costs and production loss. This would be much less expensive than letting the bearing run to failure exacerbating the damage and the corrective maintenance cost. However, in this example the bearing failure could have been due to an imperfect alignment resulting from errors made by the alignment technician conducting a reverse dial indicator alignment method. Had there been the investment in better training, or a laser or optical alignment capability, the alignment should have been conducted with only minimal error reducing the failure causing forces on the bearing.

Optimizing the Physical Function of Maintenance

It is widely recognized by maintenance people that maximum value in maintenance has generally been obtained from a condition-based program. Within Profit Centered Maintenance this also includes a complementary condition-directed element, a time-based element and, in rare situations best served by it, a run-to-failure element. The optimizing or blending of maintenance is driven by the quality and quantity of the existing maintenance programs. It uses maintenance effectiveness assessments, reliability centered maintenance (failure modes and effects analyses), and root cause analyses as tools. The main product from optimization is a maintenance program based on maximum value.

See the graphical flow sequence for selecting maintenance tasks, Figure 1. Most existing plant applications take the path through the Maintenanced Effectiveness Assessment, the blending review of existing preventive maintenance items, the option for root cause analysis, and then through the sorting process resulting in the task that provides the maximum value. This process results in an optimized program that includes condition-based and time-based tasks which are applicable and effective in preventing or mitigating known failure modes.

The repair part of maintenance is not included in optimization, but repair efforts benefit from the greater investigative capabilities developed within the maintenance organization to often know in advance the scope of damage. In time, if the optimized tasks work as they should, repairs should be infrequent and with minimal significance.

Figure 1

Reducing the Need for Maintenance

The only way to permanently reduce maintenance costs is to reduce the need for maintenance. Reductions in the need for maintenance come from diligent efforts to improve materials, designs, maintainability, and operations. An example: changing materials where possible to reduce the strength of a galvanic cell in the seal gland reducing the corrosion and need for maintenance. Another example: installing permanently mounted vibration sensors to monitor the gear boxes on the cooling tower fans without endangering personnel or missing the opportunity to monitor gearbox degradation. Yet another example: providing bearing-specific lubrication oil sampling points to enable bearing-specific physical, chemical, and wear particle analyses for the turbine lubrication oil system.

Most often the opportunity to reduce the need for maintenance arises from root cause analysis. This does not have to conform to any particular format–a curious inquiry by a knowledgeable person can often suffice.

Reengineering Maintenance Administration

Most all of the business processes within the enterprises of the competitive leaders in the power generation industry have been reengineered to improve cost effectiveness. Most all, but probably not the administration of maintenance. Reengineering is defined as the fundamental rethinking and radical redesign of business processes to achieve dramatic improvements in critical, contemporary measures of performance. This means to start over, to reinvent the administration of maintenance, to throw out the old and bring in the new. The need for regulatory compliance requires care and extra communications to ensure legal responsibilities are met.

Once engaged in the reengineering effort, strong candidate characteristics for elimination include compartmentalization, excessive handoffs, and redundant approvals. Attributes to be streamlined include coordination, communications, and supervisory functions. To be retained are the qualities of ownership, responsibility, and accountability.

Enabling maintenance people requires both hardware/software and training. The maintenance information system must be modernized to provide information, not just disconnected data, to the maintenance technicians and support people where and when they need it. This means not only a sufficiency of computer resources, but a reworking of the manner in which those computers process maintenance data and present it as information.

Management Investment

Over the years there has been general acceptance within the electric power industry that moving from breakdown to predictive maintenance saved money. The 1986 EPRI study showing plant maintenance cost per total horsepower per year has become so widespread an indicator that it has achieved status as a standard. It is used in many industries to demonstrate the relative improvement from shifting maintenance from breakdown mode to predictive maintenance. For this paper a graph has been developed to show the study’s original results and to project the anticipated savings accruing from implementation of Profit Centered Maintenance. See Figure 2.

Figure 2

Maintenance is changing from a concept focused on how well a process or an individual machine works to a more complex concern with safety, quality, commercial availability and unit cost efficiency issues. Computerized Maintenance Management Systems are changing from programs constructed to control the worker to Integrated Maintenance Information Systems that support self-managing maintenance technicians. The acceptance of this by senior manager and maintenance person alike requires better communications than presently exists. It is important for both to learn to communicate in terms the other understands. The maintenance practitioner must learn to couch reports in relevant business terms. Non-technical senior management must learn enough of the technical vocabulary to ask relevant questions and understand the answers.

Within the maintenance information systems area, changes are occurring in capabilities to present maintenance information on computer terminals vice maintenance data requiring interpretation. For a number of years, competing systems in the condition assessment area have developed independently. The individual industrial user is confounded with choices of proprietary products that cannot readily communicate with each other or with a third party desktop application. There is a solution in the making—the Machinery Information Management Open Systems Alliance is promoting and developing interoperable systems to permit the user choosing the best product in each field with expectation of satisfactory integration.

Embracing Profit Centered Maintenance is tantamount to committing to culture change. And no successful culture change will occur without thorough involvement by senior management. Change has to come from the top down. As you cannot push a string, you cannot change the culture without top-down leadership. While it can be said that business is constantly changing, the culture of an individual work place seldom accepts radical change. Game theory in business applications, shows that a reluctance to change leads to loss of market share. The successful are those who are willing to both change and manage the process of change.

It is the senior manager that will best appreciate quality and costs. The concept of “trade-ons” where higher quality and lower costs both occur fits nicely with Profit Centered Maintenance’s benefits and results.

Implementing Profit Centered Maintenance in the Electric Power Industry

At this point, electric power industry executives are perhaps thinking they have a maintenance program which is not realizing its potential, or these executives crossed off this whole approach several paragraphs ago, or more likely they realize they don’t really know if or how their maintenance function contributes to company profitability. This last group of readers needs to conduct an orderly examination of maintenance and determine its cost effectiveness. The Maintenance Effectiveness Assessment checklist, a refined copy of which is shown in Figure 3, is a proven checklist and is offered for use.

A careful study of the assessment checklist shows that credit is taken where due for existing good program elements. The checklist identifies the categories and specifics to check. It is up to the evaluators to determine whether or not a particular element is cost effective or not. The checklist can be used by one person or by a team. When using a team, some evaluators should come from in-house, and to improve objectivity, some should come from outside the organization under review. The assessment will involve examining records, conducting interviews, and observing maintenance operations. The record of the assessment and the recommendations emanating from it must be based on objective determinations and factual conclusions. When done well, this assessment can form the basis for a budgetary input, a business plan for the maintenance department, or to help justify company investment in a sophisticated maintenance program.

Electric Power Industry Implementation

Some very smart power industry executives have looked at the flow charts and decided that Profit Centered Maintenance does not apply to them because they can not establish maintenance as a profit center in their accounting system. Maintenance as a profit center is more an attitude than an accounting change. How the accounting department treats money spent in the management of assets is best left to management. Hopefully the accounting department, however they categorize maintenance, will recognize increases in profitability when they occur.

In Figure 1, the logic diagram describing the selection of profit centered maintenance tasks, the path through the existing program will usually be the choice. For new plants, plants with new systems, or plants with old systems without any substantive program, the RCM/FMECA option may provide better results (see Figure 4.)

When working through the task selection flow chart, most will need to conduct the Maintenance Effectiveness Assessment to determine the status of the existing programs. The key step is to evaluate the effectiveness of the existing preventive maintenance tasks in the Task Optimization step Those tasks that should be changed will be subjected to the test to see which condition-monitoring, condition-directed, or time-directed task is dictated. Should no condition or time based tasks prove both applicable and effective, a cost-benefits analysis is then conducted to document the rationale for a breakdown task.

During the implementation phase, the presence of an unresolved recurring maintenance problem may be recognized. This problem will need a root cause analysis to seek permanent corrective action or redesign. Root cause analyses of various complexities are frequently conducted. What is important is that the analysis works to identify a confident solution. Good documentation of what took place, the results and the rationale are all important for future issues resolution.

Conclusions

Other than conducting the full Maintenance Effectiveness Assessment, a quick test for management to determine if their maintenance program is Profit Centered would involve satisfying the following criteria:

- Mainternance decisions stress maximum value to plant vice least costs

- Maintenance tasks include a blend of condition-based, time-based and breakdown tasks. Machinery does not fail without its condition recognized.

- Recurring maintenance tasks root causes are determined and effective action is taken to preclude recurrence.

- Administration of maintenance is a lean and trim operation without excessive non-value-adding activities or waste.

- Maintenance people get full measure from maintenance information systems and keep technologically current.

- Plant/company enjoys increased profitability that stems from changes made in maintenance practices.

It is not enough to stress just reliability; there is a continuing need for profitability. With an electric power industry looking at deregulation and increased pressures from competition, every effort to enhance profitability must be carefully examined. Such an opportunity exists with maintenance. The solution is Profit Centered Maintenance. Full benefits come from complete implementation which will optimize the physical function of maintenance, reengineer maintenance administration, resolve recurring maintenance problems to reduce the need for maintenance, and enable the maintenance people to extract full measure from the developing integrated machinery information systems. To put this in a nutshell, it is to obtain maximum value in asset management instead of accepting least costs in maintenance.

Figure 3

Figure 4

Elizabeth A. Moler, “FERC and Deregulation of Electric Energy Sales.” Nuclear News, May 1996: 32. Ms Moler chairs the Federal Energy Regulatory Commission.

Paul Smith, “Trends for the Rest of the Century: An Even Dozen Predictions,” Maintenance Technology, January 1996: 15.

Thomas H. Bond, “Implementing Profit Centered Maintenance,” P/PM Technology, December 1994.

William G. Droms, Finance and Accounting for Nonfinancial Managers, 3rd ed., Addison-Wesley Publishing Co., Reading, MA, 1990: 84, 180.

Thomas H. Bond, “Selecting Profit Centered Maintenance Tasks,” The Proceedings of The Vibration Institute’s 19th Meeting, June, 1995: 69-75. Also published by P/PM Technology, December 1995.

Michael Hammer and James Champy, Reengineering the Corporation: A Manifesto for Business Revolution, Harper Collins, New York, 1993: 32.

Smith, “Trends” Pg. 16. He further says the maintenance organization will run on knowledge and information instead of skill and experience. The scope and numbre of users of these systems will be greatly expanded.

John S. Mitchell, “MIMOSA: Building the Foundation for 21st Century Optimized Asset Management,” Sound and Vibration, September 1995: 12. MIMOSA related information is available on the Internet world wide web at http://www.hsb.com/pcm/mimosa/mimosa.html

Adam M. Brandenburger and Barry J. Nalebuff, Co-opetition: A revolutionary mindset that combines competition and cooperation. The Game Theory strategy that’s changing the game of business, Currency-Doubleday, New York, 1996: 261-265.

Brandenburger and Nalebuff, Co-opetition. Discussion on Trade-Ons beginning on page 127 in which the opposite of trade-offs are examined.

Bond, “Selecting PCM Tasks.”

Bond, “Selecting PCM Tasks.” The Simplified Reliability Centered Maintenance Flow Chart is presented in this paper as Figure 4.