## SPReport_Definition (hidden)
0 | Instrument | Representation | Note
6 | Instrument | Representation | Note
|  | Instrument;Instrument.Representation | Instrument;Instrument.Note
| Active Instruments | Symbol Rep | Remarks Filter
| FALSE | FALSE | FALSE
| 20 | 2 | 1
| 1 | 0 | 0
3 | FALSE | FALSE | FALSE
| ItemTag | Drawing.Name | Body
Helios | InstrumentType | Drawing.DrawingNumber
1 | MaterialOfConstClass
FALSE | HoldStatus.StatusValue
ConstructionStatus
InstrumentClass
Location
SupplyBy
NominalDiameter
FailModeHigh.FailureAction
WP_InstrRemark6
WP_InstrRemark5
WP_InstrRemark4
WP_InstrRemark3
WP_InstrRemark2
WP_InstrRemark1
WP_AlarmLL
WP_AlarmL
WP_AlarmHH
WP_AlarmH
ItemTag,0
Note on A1: Defines the number of rows to skip between items in the report.
Note on B1: Item name
Note on A2: Defines the number of header rows in the report.
Note on B2: View name
Note on B3: Parent item name
Note on B4: Filter name
Note on B5: Repeat flag
Note on B6: Item property count
Note on B7: Sort property count
Note on A8: Version
Note on B8: Group flag
Note on B9: Property name, Display format
Note on A10: Plant name

## Sheet1
Instrument List
Instr Number | Instr Type | Instr Class | Location | Drawing Number | Supply By | Size | Fail Action | Instr Remark 1 | Instr Remark 2 | Instr Remark 3 | Instr Remark 4 | Instr Remark 5 | Instr Remark 6 | Alarm HH | Alarm H | Alarm L | Alarm LL | Construction Status | Hold Status | Materials of Construction
HS-11100A | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor |  |  | S/S |  |  |  |  | MOTOR |  |  |  |  | New
HS-11100B | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor |  |  | S/S |  |  |  |  | GRADE |  |  |  |  | New
HS-11101A | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor |  |  | S/S |  |  |  |  | MOTOR |  |  |  |  | New
HS-11101B | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor |  |  | S/S |  |  |  |  | GRADE |  |  |  |  | New
HS-11102A | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor |  |  | S/S |  |  |  |  | MOTOR |  |  |  |  | New
HS-11102B | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor |  |  | S/S |  |  |  |  | GRADE |  |  |  |  | New
HS-11103A | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor |  |  | S/S |  |  |  |  | MOTOR |  |  |  |  | New
HS-11103B | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor |  |  | S/S |  |  |  |  | GRADE |  |  |  |  | New
I-115 | Interlock function | System functions |  | 11-003 | By Contractor | [12 empty] | New
I-115 | Interlock function | System functions |  | 11-003 | By Contractor | [12 empty] | New
I-115 | Interlock function | System functions |  | 11-003 | By Contractor | [12 empty] | New
I-115 | Interlock function | System functions |  | 11-003 | By Contractor | [12 empty] | New
PSV-11115 | Angle press relief valve | Relief devices | Field | 11-003 | By Contractor | 0.75" | [11 empty] | New
SI-11102 | DCS function | System functions | In Main Board | 11-003 | By Contractor | [12 empty] | New
SI-11105 | DCS function | System functions | In Main Board | 11-003 | By Contractor | [12 empty] | New
SY-11102 | DCS function | System functions | In Main Board | 11-003 | By Contractor | [12 empty] | New
SY-11105 | DCS function | System functions | In Main Board | 11-003 | By Contractor | [12 empty] | New
TI-11120 | DCS function | System functions | In Main Board | 11-003 | By Contractor | [12 empty] | New
TI-11121 | DCS function | System functions | In Main Board | 11-003 | By Contractor | [12 empty] | New
TI-11122 | DCS function | System functions | In Main Board | 11-003 | By Contractor | [12 empty] | New
TIC-11119 | DCS function | System functions | In Main Board | 11-003 | By Contractor | [12 empty] | New
TIT-11119 | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
TIT-11120 | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
TIT-11121 | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
TIT-11122 | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
TW-11119A | Thermowell Flanged | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
TW-11119B | Thermowell Flanged | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
TW-11120 | Thermowell Flanged | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
TW-11121 | Thermowell Flanged | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
TW-11122 | Thermowell Flanged | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
VFD-11100 | Controller | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
VI-11100 | DCS function | System functions | In Main Board | 11-003 | By Contractor | [9 empty] | H |  |  | New
VI-11101 | DCS function | System functions | In Main Board | 11-003 | By Contractor | [9 empty] | H |  |  | New
VI-11102 | DCS function | System functions | In Main Board | 11-003 | By Contractor | [9 empty] | H |  |  | New
VI-11103 | DCS function | System functions | In Main Board | 11-003 | By Contractor | [9 empty] | H |  |  | New
VIT-11100 | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
VIT-11101 | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
VIT-11102 | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
VIT-11103 | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
VSHH-11100 | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
VSHH-11101 | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
VSHH-11102 | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New
VSHH-11103 | Discrete single-funct instr | Off-line instruments | Field | 11-003 | By Contractor | [12 empty] | New