Tech-File CRIS V2.2 Cross-Reference Matrix

27-Apr-2002

Key:

M = Main Table For This Technology

R = Reference Table For This Technology

TR = Trend

DY = Dynamic

SM = Sample

BL = BLOB

RG = Reg

DG = Diag

RL = Rel

WR = Work

| Tab Ref # | CRIS Table Description | TR | DY | SM | BL | DG | RG | RL | WR |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 12 | Row Status Type | R | R | R | R | R | R | R | R |
| 13 | Site | R | R | R | R | R | M | R | R |
| 15 | Site Database | R | R | R | R | R | M | R | R |
| 16 | Manufacturer |  |  |  |  |  | M | M |  |
| 17 | Service Segment Type |  |  |  |  |  | R | R |  |
| 18 | Service Segment |  |  |  |  |  | M | M |  |
| 19 | Service Segment Child |  |  |  |  |  | M | R |  |
| 22 | Reference Unit | R | R | R | R | R | R | R |  |
| 23 | Engineering Unit | R | R | R | R | R | R | R |  |
| 24 | Engineering Unit Enumerated | R | R | R | R | R | R | R |  |
| 25 | Segment Numeric Data Type |  |  |  |  |  | R |  |  |
| 26 | Segment Character Data Type |  |  |  |  |  | R |  |  |
| 27 | Segment Numeric Data |  |  |  |  |  | M |  |  |
| 28 | Segment Character Data |  |  |  |  |  | M |  |  |
| 29 | Segment/Asset Event Type | R | R | R | R | R |  |  |  |
| 30 | Segment Event History | M | M | M | M | M |  |  |  |
| 31 | Asset Type |  |  |  |  |  | R | R |  |
| 32 | Model/Part |  |  |  |  |  | M | M |  |
| 33 | Asset Numeric Data Type |  |  |  |  |  | R | R |  |
| 34 | Asset Character Data Type |  |  |  |  |  | R | R |  |
| 35 | Model Numeric Data |  |  |  |  |  | M | M |  |
| 36 | Model Character Data |  |  |  |  |  | M | M |  |
| 37 | Asset |  |  |  |  |  | M | M |  |
| 38 | Asset Child |  |  |  |  |  | M |  |  |
| 41 | Asset Numeric Data |  |  |  |  |  | M |  |  |
| 42 | Asset Character Data |  |  |  |  |  | M |  |  |
| 43 | Asset Event History | M | M | M | M | M |  |  |  |
| 44 | Asset Utilization on Segment History |  |  |  |  |  | M | M |  |
| 45 | Asset Owner History |  |  |  |  |  | M |  |  |
| 46 | Transducer Sensitive Axis Direction Type |  | R |  |  |  |  |  |  |
| 47 | Measurement Location | M | M | M | M | M |  |  |  |
| 48 | Ordered List | M | M | M | M | M |  |  | M |
| 49 | Ordered List of Measurement Locations | M | M | M | M | M |  |  |  |
| 50 | Ordered List of Eng. Units at Measurement Locations | M | M | M | M | M |  |  |  |
| 51 | Data Source Type | R | R | R | R | R |  |  |  |
| 52 | Data Source | M | M | M | M | M |  |  |  |
| 53 | Transducer Type | R | R | R | R | R |  |  |  |
| 54 | Transducer | M | M | M | M | M |  |  |  |
| 55 | Measurement Location Type | R | R | R | R | R |  |  |  |
| 56 | Measurement Event | M | M | M | M | M |  |  |  |
| 57 | Measurement Event Remarks | M | M | M | M | M |  |  |  |
| 58 | Measurement Event Numeric Data | M |  |  |  |  |  |  |  |
| 59 | Measurement Event Character Data | M |  |  |  |  |  |  |  |
| 60 | Alarm Severity | R | R | R | R |  |  |  |  |
| 61 | Alarm Type | R | R | R | R |  |  |  |  |
| 63 | Measurement Event Numeric Data Alarm | M |  |  |  |  |  |  |  |
| 64 | Signal Process Type |  | R |  |  |  |  |  |  |
| 65 | Signal Process Block |  | M |  |  |  |  |  |  |
| 66 | Signal Process Block Numeric Data Type |  | R |  |  |  |  |  |  |
| 67 | Signal Process Block Numeric Data |  | M |  |  |  |  |  |  |
| 68 | Signal Process Stream |  | M |  |  |  |  |  |  |
| 69 | Signal Processing Stream Block |  | M |  |  |  |  |  |  |
| 70 | Average Type |  | R |  |  |  |  |  |  |
| 71 | Average Weight Type |  | R |  |  |  |  |  |  |
| 72 | Average Synchronization Type |  | R |  |  |  |  |  |  |
| 73 | Source Signal Detector Type |  | R |  |  |  |  |  |  |
| 74 | Post-Processed Signal Processing Scaling Mode Type |  | R |  |  |  |  |  |  |
| 75 | Signal-Processed Frequency/Order Single Amplitude/Vector |  | M |  |  |  |  |  |  |
| 79 | Signal-Processed Frequency/Order Single Amplitude Alarm |  | M |  |  |  |  |  |  |
| 80 | Window Type |  | M |  |  |  |  |  |  |
| 81 | Signal-Processed, Real/Complex Frequency/Order FFT Spectrum Data |  | M |  |  |  |  |  |  |
| 83 | Signal-Processed, Real/Complex Linear Time Waveform Data |  | M |  |  |  |  |  |  |
| 85 | Signal-Processed, Real Linear Constant Percentage Band Spectrum |  |  |  |  |  |  |  |  |
| 88 | Data Quality Type | R | R | R | R | R |  |  |  |
| 89 | Collection Setup Parameters for Amplitude/Vector Data |  | M |  |  |  |  |  |  |
| 90 | Collection Setup Parameters for FFT Data |  | M |  |  |  |  |  |  |
| 91 | Collection Setup Parameters for Time Waveform Data |  | M |  |  |  |  |  |  |
| 92 | Collection Setup Parameters for CPB Spectrum Data |  | M |  |  |  |  |  |  |
| 93 | Collection Setup Parameters To Collect Amplitude Data For An Entry in the Ordered List of Eng. Units at Meas. Locations |  | M |  |  |  |  |  |  |
| 94 | Collection Setup Parameters To Collect FFT Data For An Entry in the Ordered List of Eng. Units at Meas. Locations |  | M |  |  |  |  |  |  |
| 95 | Collection Setup Parameters To Collect Time Waveform Data For An Entry in the Ordered List of Eng. Units at Meas. Locations |  | M |  |  |  |  |  |  |
| 96 | Collection Setup Parameters To Collect CPB Spectrum Data For An Entry in the Ordered List of Eng. Units at Meas. Locations |  | M |  |  |  |  |  |  |
| 97 | Model/Part Child |  |  |  |  |  | M | M |  |
| 98 | Segment Type Child |  |  |  |  |  | M |  |  |
| 99 | Asset Type Child |  |  |  |  |  | M |  |  |
| 100 | Measurement Event Association | M | M | M | M |  |  |  |  |
| 103 | Severity Type |  |  |  |  | R |  |  |  |
| 104 | Health Grade Type |  |  |  |  | R |  |  |  |
| 106 | Priority Level Type |  |  |  |  | R |  | R | R |
| 107 | Segment/Asset Event Numeric Data Type | R | R | R | R | R |  |  |  |
| 108 | Work Task Type |  |  |  |  |  |  |  | R |
| 109 | Agent Type |  |  |  |  | R | R | R | R |
| 110 | Agent Role Type |  |  |  |  |  |  |  | R |
| 111 | Segment Event Numeric Data |  |  |  |  | R |  |  |  |
| 113 | Asset Event Numeric Data |  |  |  |  | R |  |  |  |
| 117 | Agent |  |  | M |  | M | M | M | M |
| 118 | Agent Role |  |  |  |  |  |  |  | R |
| 119 | Work Audit Type |  |  |  |  |  |  |  | R |
| 120 | Measurement Event BLOB Grid Data Alarm |  |  |  | M |  |  |  |  |
| 121 | Segment/Asset Event Type Child | R | R | R | R | R |  |  |  |
| 122 | Measurement Sample Test |  |  | M |  |  |  |  |  |
| 127 | Segment Health Assessment |  |  |  |  | M |  |  |  |
| 128 | Work Management Type |  |  |  |  |  |  |  | R |
| 129 | Asset Health Assessment |  |  |  |  | M |  |  |  |
| 130 | Segment Recommendation Remark |  |  |  |  | M | M | M | M |
| 131 | Asset Recommendation Remark |  |  |  |  | M | M | M | M |
| 134 | Request for Work for Segment |  |  |  |  |  |  |  | M |
| 135 | Request for Work for Asset |  |  |  |  |  |  |  | M |
| 136 | Work Request |  |  |  |  |  |  |  | M |
| 139 | Work Order |  |  |  |  |  |  |  | M |
| 140 | Work Order Step |  |  |  |  |  |  |  | M |
| 141 | Associated Work Requests for Work Order Steps |  |  |  |  |  |  |  | M |
| 144 | Segment Completed Work |  |  |  |  |  |  |  | M |
| 145 | Asset Completed Work |  |  |  |  |  |  |  | M |
| 146 | Segment Remaining Life Assessment |  |  |  |  | M |  |  |  |
| 147 | Asset Remaining Life Assessment |  |  |  |  | M |  |  |  |
| 148 | Request for Work for Ordered List |  |  |  |  |  |  |  | M |
| 150 | Work Task Type Child |  |  |  |  |  |  |  | M |
| 151 | Change Pattern Type |  |  |  |  | R |  |  |  |
| 152 | Segment Event Causal Network Links |  |  |  |  | M |  |  |  |
| 153 | Asset Events Causal Network Links |  |  |  |  | M |  |  |  |
| 159 | Work Order Child |  |  |  |  |  |  |  | M |
| 160 | Sample Test Type |  |  | R |  |  |  |  |  |
| 161 | Test Results Numeric Data Type |  |  | R |  |  |  |  |  |
| 162 | Binary Large Object Data Type |  |  | R | R | R | R |  |  |
| 163 | Measurement Sample Child |  |  | M |  |  |  |  |  |
| 164 | Measurement Sample Test Numeric Results |  |  | M |  |  |  |  |  |
| 165 | Measurement Event BLOB Data |  |  |  | M |  |  |  |  |
| 166 | Measurement Sample |  |  | M |  |  |  |  |  |
| 167 | Test Result Binary Data Type |  |  | R |  |  |  |  |  |
| 168 | Measurement Sample Test BLOB Results |  |  | M |  |  |  |  |  |
| 170 | Work Management Numeric Data Type |  |  |  |  |  |  |  | R |
| 171 | Work Management Character Data Type |  |  |  |  |  |  |  | R |
| 172 | Work Request Numeric Data |  |  |  |  |  |  |  | M |
| 173 | Work Request Character Data |  |  |  |  |  |  |  | M |
| 174 | Work Request Audit |  |  |  |  |  |  |  | M |
| 175 | Work Order Numeric Data |  |  |  |  |  |  |  | M |
| 176 | Work Order Character Data |  |  |  |  |  |  |  | M |
| 177 | Work Order Audit |  |  |  |  |  |  |  | M |
| 178 | Work Order Step Numeric Data |  |  |  |  |  |  |  | M |
| 179 | Work Order Step Character Data |  |  |  |  |  |  |  | M |
| 180 | Work Order Step Audit |  |  |  |  |  |  |  | M |
| 181 | Work Management Solution Package |  |  |  |  |  |  |  | M |
| 182 | Work Management Solution Pack Type |  |  |  |  |  |  |  | R |
| 183 | Associated Solution Packages For a Work Request |  |  |  |  |  |  |  | M |
| 184 | Segment Recommendation |  |  |  |  | M | M | M | M |
| 185 | Asset Recommendation |  |  |  |  | M | M | M | M |
| 186 | Associated Segment Recommendation for a Work Request |  |  |  |  |  |  |  | M |
| 187 | Ordered List Completed Work |  |  |  |  |  |  |  | M |
| 188 | Segment BLOB Data |  |  |  |  |  | M |  |  |
| 189 | Asset BLOB Data |  |  |  |  |  | M |  |  |
| 190 | Ordered List BLOB Data |  |  |  |  |  | M |  |  |
| 191 | Measurement Sample Test Numeric Result Alarms |  |  | M |  |  |  |  |  |
| 192 | Measurement Sample Test BLOB Alarm |  |  | M |  |  |  |  |  |
| 197 | Associated Asset Recommendation for a Work Request |  |  |  |  |  |  |  | M |
| 201 | Associated Segment Recommendation for Work Order Step |  |  |  |  |  |  |  | M |
| 202 | Associated Asset Recommendation for Work Order Step |  |  |  |  |  |  |  | M |
| 208 | Segment Recommendation Linked to Actual Segment Events |  |  |  |  | M |  |  |  |
| 209 | Asset Recommendation Linked to Actual Asset Events |  |  |  |  | M |  |  |  |
| 212 | Sample Numeric Data Type |  |  | R |  |  |  |  |  |
| 213 | Measurement Sample Numeric Data |  |  | M |  |  |  |  |  |
| 214 | Measurement Sample Test Histogram |  |  | M |  |  |  |  |  |
| 215 | MIMOSA Technology Types | R | R | R | R | R | R | R | R |
| 216 | MIMOSA Support Levels | R | R | R | R | R | R | R | R |
| 217 | MIMOSA Data Categories | R | R | R | R | R | R | R | R |
| 220 | Model BLOB Data |  |  |  |  |  | M | M |  |
| 221 | Measurement Event BLOB Grid Data |  |  |  | M |  |  |  |  |
| 223 | Agent in Defined Role with Associated Agent |  |  |  |  |  |  |  | M |
| 224 | Segment Type BLOB Related to a Specific Database |  |  |  |  |  | M |  |  |
| 225 | Asset Type BLOB Data Related to a Specific Database |  |  |  |  |  | M | M |  |
| 226 | Segment Function |  |  |  |  | M |  | M |  |
| 227 | Asset Function |  |  |  |  | M |  | M |  |
| 228 | Segment Events Linked to Functions Affected |  |  |  |  | M |  | M |  |
| 229 | Asset Events Linked to Functions Affected |  |  |  |  | M |  | M |  |
| 230 | Hypothetical Segment Events |  |  |  |  | M |  | M |  |
| 231 | Hypothetical Asset Events |  |  |  |  | M |  | M |  |
| 232 | Hypothetical Segment Event Cause/Effect Links |  |  |  |  | M |  | M |  |
| 233 | Hypothetical Asset Event Cause/Effect Links |  |  |  |  | M |  | M |  |
| 234 | Segment Hypothetical Event Numeric Data |  |  |  |  | M |  | M |  |
| 235 | Asset Hypothetical Event Numeric Data |  |  |  |  | M |  | M |  |
| 236 | Segment Hypothetical Events Linked to Functions Affected |  |  |  |  | M |  | M |  |
| 237 | Asset Hypothetical Events Linked to Functions Affected |  |  |  |  | M |  | M |  |
| 240 | Hypothetical Segment Type Events |  |  |  |  |  |  | M |  |
| 241 | Hypothetical Asset Type Events |  |  |  |  |  |  | M |  |
| 242 | Hypothetical Segment Type Event Cause/Effect Links |  |  |  |  |  |  | M |  |
| 243 | Hypothetical Asset Type Event Cause/Effect Links |  |  |  |  |  |  | M |  |
| 244 | Segment Type Hypothetical Event Numeric Data |  |  |  |  |  |  | M |  |
| 245 | Asset Type Hypothetical Event Numeric Data |  |  |  |  |  |  | M |  |
| 246 | Hypothetical Model Events |  |  |  |  |  |  | M |  |
| 247 | Hypothetical Model Event Cause/Effect Links |  |  |  |  |  |  | M |  |
| 248 | Model Hypothetical Event Numeric Data |  |  |  |  |  |  | M |  |
| 250 | Proposed Segment Events |  |  |  |  | M |  |  |  |
| 251 | Proposed Asset Events |  |  |  |  | M |  |  |  |
| 252 | Proposed Segment Event Cause/Effect Links |  |  |  |  | M |  | M |  |
| 253 | Proposed Asset Event Cause/Effect Links |  |  |  |  | M |  | M |  |
| 254 | Segment Proposed Event Numeric Data |  |  |  |  | M |  |  |  |
| 255 | Asset Proposed Event Numeric Data |  |  |  |  | M |  |  |  |
| 256 | Proposed Segment Events Linked to Hypothetical Segment Events |  |  |  |  | M |  | M |  |
| 257 | Proposed Asset Events Linked to Hypothetical Asset Events |  |  |  |  | M |  | M |  |
| 258 | Proposed Segment Events Linked to Actual Segment Events – Evidence Link |  |  |  |  | M |  | M |  |
| 259 | Proposed Asset Events Linked to Actual Asset Events – Evidence Link |  |  |  |  | M |  | M |  |
| 261 | Signal Process Stream Type |  | R |  |  |  |  |  |  |
| 262 | Proposed Segment Events Linked to Functions Affected |  |  |  |  | M |  | M |  |
| 263 | Proposed Asset Events Linked to Functions Affected |  |  |  |  | M |  | M |  |
| 264 | Segment Type Function |  |  |  |  |  |  | M |  |
| 265 | Asset Type Function |  |  |  |  |  |  | M |  |
| 266 | Segment Type Hypothetical Events Linked to Functions Affected |  |  |  |  |  |  | M |  |
| 267 | Asset Type Hypothetical Events Linked to Functions Affected |  |  |  |  |  |  | M |  |
| 268 | Model Function |  |  |  |  |  |  | M |  |
| 269 | Model Hypothetical Events Linked to Functions Affected |  |  |  |  |  |  | M |  |
| 270 | Segment Recommendations Linked to Hypothetical Segment Events |  |  |  |  | M |  | M |  |
| 271 | Asset Recommendations Linked to Hypothetical Asset Events |  |  |  |  | M |  | M |  |
| 272 | Segment Recommendations Linked to Proposed Segment Events |  |  |  |  | M |  |  |  |
| 273 | Asset Recommendations Linked to Proposed Asset Events |  |  |  |  | M |  |  |  |
| 274 | Segment Type Recommendation |  |  |  |  |  |  | M |  |
| 275 | Asset Type Recommendation |  |  |  |  |  |  | M |  |
| 276 | Model Recommendation |  |  |  |  |  |  | M |  |
| 277 | Segment Type Recommendation Remarks |  |  |  |  |  |  | M |  |
| 278 | Asset Type Recommendation Remarks |  |  |  |  |  |  | M |  |
| 279 | Model Recommendation Remarks |  |  |  |  |  |  | M |  |
| 280 | Segment Type Recommendations Linked to Hypothetical Segment Type Events |  |  |  |  |  |  | M |  |
| 281 | Asset Type Recommendations Linked to Hypothetical Asset Events |  |  |  |  |  |  | M |  |
| 282 | Hypothetical Model Events Linked to Recommendations |  |  |  |  |  |  | M |  |
| 283 | Network Type |  |  |  |  | R | R | R |  |
| 284 | Network |  |  |  |  | M | M | M |  |
| 285 | Measurement Sample Test Character Results |  |  | M |  |  |  |  |  |
| 286 | Test Results Character Data Type |  |  | R |  |  |  |  |  |
| 287 | Measurement Sample Test Remark |  |  | M |  |  |  |  |  |
| 288 | Measurement Sample Character Data |  |  | M |  |  |  |  |  |
| 289 | Measurement Sample Remark |  |  | M |  |  |  |  |  |
| 290 | Sample Character Data Type |  |  | R |  |  |  |  |  |
| 291 | Measurement Event Binary Large Object Type |  |  |  | R |  |  |  |  |
| 292 | Highlight Area Types |  |  |  | R |  |  |  |  |
| 293 | Measurement Event BLOB Data Area in Alarm |  |  |  | M |  |  |  |  |
| 294 | Segment Event Associated With Meas. Events | M | M | M | M |  |  |  |  |
| 295 | Asset Event Associated With Meas. Events | M | M | M | M |  |  |  |  |
| 296 | Proposed Segment Events Linked to Measurement Events – Evidence Link |  |  |  |  | M |  |  |  |
| 297 | Proposed Asset Events Linked to Measurement Events – Evidence Link |  |  |  |  | M |  |  |  |
| 298 | Segment Health Assessment Linked To Actual Segment Events |  |  |  |  | M |  |  |  |
| 299 | Asset Health Assessment Linked To Actual Asset Events |  |  |  |  | M |  |  |  |
| 300 | Segment Health Assessment Linked To Proposed Segment Events |  |  |  |  | M |  |  |  |
| 301 | Asset Health Assessment Linked To Proposed Asset Events |  |  |  |  | M |  |  |  |
| 302 | Segment Recommendation Linked to Segment Health Assessment |  |  |  |  | M |  |  |  |
| 303 | Asset Recommendation Linked to Asset Health Assessment |  |  |  |  | M |  |  |  |
| 304 | Segment Recommendations Linked to Measurement Events |  |  |  |  | M |  |  |  |
| 305 | Asset Recommendations Linked to Measurement Events |  |  |  |  | M |  |  |  |
| 308 | Segment Network Connection |  |  |  |  | M | M | M |  |
| 309 | Asset Network Connection |  |  |  |  | M | M | M |  |
| 310 | Measurement Location Sample Test Numeric Results Alarm Region |  |  | M |  |  |  |  |  |
| 311 | Binary Data Related to a Segment Recommendation |  |  |  |  | M | M | M | M |
| 312 | Binary Data Related to an Asset Recommendation |  |  |  |  | M | M | M | M |
| 313 | Binary Data Related to a Segment Type Recommendation |  |  |  |  |  |  | M |  |
| 314 | Binary Data Related to an Asset Type Recommendation |  |  |  |  |  |  | M |  |
| 315 | Binary Data Related to a Model Recommendation |  |  |  |  |  |  | M |  |
| 316 | Ordered List Recommendation |  |  |  |  | M |  |  | M |
| 317 | Measurement Location Numeric Alarm Regions | M |  |  |  |  |  |  |  |
| 318 | Numeric Alarm Associated Regions In Alarm | M |  |  |  |  |  |  |  |
| 319 | Signal-Processed Amplitude Alarm Regions |  | M |  |  |  |  |  |  |
| 320 | Signal-Processed Amplitude Assoc. Regions in Alarm |  | M |  |  |  |  |  |  |
| 321 | Sample Test Alarm Associated Regions in Alarm |  |  | M |  |  |  |  |  |
| 322 | Ordered List Recommendation Remark |  |  |  |  | M |  |  | M |
| 323 | Purchase Condition Type |  |  |  |  |  | R |  |  |
| 324 | Asset Readiness Type |  |  |  |  |  | R | R |  |
| 325 | Meas. Location Data Calculation Type | R | R | R | R | R |  |  |  |
| 326 | MIMOSA Functionality Type | R | R | R | R | R | R | R | R |
| 327 | MIMOSA Interface Type | R | R | R | R | R | R | R | R |
| 328 | MIMOSA Interfaces Supported By a Database | M | M | M | M | M | M | M | M |
| 329 | Measurement Location Type Child | R | R | R | R | R |  |  |  |
| 330 | Solution Packages Associated With an Asset |  |  |  |  | M |  |  | M |
| 331 | Solution Packages Associated With a Segment |  |  |  |  | M |  |  | M |
| 332 | Solution Packages Associated With an Ordered List |  |  |  |  | M |  |  | M |
| 333 | Binary Large Object Content Type |  |  |  |  |  | R | R |  |
| 334 | Measurement Location Association | M | M | M | M | M |  |  |  |