## Sheet1
Asset | 0000000000000000.0.974
System | 0000000000000000.0.968
Machine Tool System | 0000000000000000.0.1006
Machine Tool System, Spindle Cluster System | 0000000000000000.0.994
Air Conditioning System | 0000000000000000.0.300
Air Conditioning System, Vapor Compression | 0000000000000000.0.846
Air Conditioning System, Vapor Compression, AC Unit | 0000000000000000.0.882
Air Conditioning System, Vapor Compression, AC Unit, Hermetic | 0000000000000000.0.883
Air Conditioning System, Vapor Compression, AC Unit, Hermetic, Direct Expansion | 0000000000000000.0.884
Air Conditioning System, Vapor Compression, AC Unit, Hermetic, Secondary Coolant (Chiller System) | 0000000000000000.0.885
Air Conditioning System, Vapor Compression, AC Unit, Semi-hermetic | 0000000000000000.0.886
Air Conditioning System, Vapor Compression, AC Unit, Semi-hermetic, Direct Expansion | 0000000000000000.0.887
Air Conditioning System, Vapor Compression, AC Unit, Semi-hermetic, Secondary Coolant (Chiller System) | 0000000000000000.0.888
Air Conditioning System, Vapor Compression, AC Unit, Open | 0000000000000000.0.978
Air Conditioning System, Vapor Compression, AC Unit, Open, Direct Expansion | 0000000000000000.0.889
Air Conditioning System, Vapor Compression, AC Unit, Open, Secondary Coolant | 0000000000000000.0.890
Air Conditioning System, Absorption (Chiller System) | 0000000000000000.0.869
Air Conditioning System, Absorption (Chiller System), Ammonia & Water | 0000000000000000.0.870
Air Conditioning System, Absorption (Chiller System), Ammonia & Water, Direct Fired | 0000000000000000.0.871
Air Conditioning System, Absorption (Chiller System), Ammonia & Water, Indirect Fired | 0000000000000000.0.872
Air Conditioning System, Absorption (Chiller System), Lithium Bromide & Water | 0000000000000000.0.873
Air Conditioning System, Absorption (Chiller System), Lithium Bromide & Water, Direct Fired | 0000000000000000.0.874
Air Conditioning System, Absorption (Chiller System), Lithium Bromide & Water, Indirect Fired | 0000000000000000.0.878
Air Conditioning System, Absorption (Chiller System), Lithium Bromide & Water, Indirect Fired, Double Effect | 0000000000000000.0.879
Air Conditioning System, Absorption (Chiller System), Lithium Bromide & Water, Indirect Fired, Single Effect | 0000000000000000.0.880
Air Conditioning System, Absorption (Chiller System), Lithium Bromide & Water, Indirect Fired, Triple Effect | 0000000000000000.0.881
Air Conditioning System, Absorption (Chiller System), Lithium Bromide & Water, Direct Fired, Double Effect | 0000000000000000.0.875
Air Conditioning System, Absorption (Chiller System), Lithium Bromide & Water, Direct Fired, Single Effect | 0000000000000000.0.876
Air Conditioning System, Absorption (Chiller System), Lithium Bromide & Water, Direct Fired, Triple Effect | 0000000000000000.0.877
Alarm System | 0000000000000000.0.302
CIM Cell | 0000000000000000.0.303
Compressor System | 0000000000000000.0.304
Conveyor System | 0000000000000000.0.305
Crusher/Grinder System | 0000000000000000.0.307
Debarker System | 0000000000000000.0.308
Dryer System | 0000000000000000.0.309
Drying System | 0000000000000000.0.310
Electrical System | 0000000000000000.0.311
Emission Control System | 0000000000000000.0.312
Exhaust System | 0000000000000000.0.313
Expander System | 0000000000000000.0.314
Extruder System | 0000000000000000.0.315
Fan/Blower System | 0000000000000000.0.316
Fan System, Cooling Tower | 0000000000000000.1.87
Fan System, Forced Draft | 0000000000000000.1.88
Fan System, Induced Draft | 0000000000000000.1.89
Fire Protection System | 0000000000000000.0.317
Fuel Feeder System | 0000000000000000.0.319
Fuel Firing System | 0000000000000000.0.320
Fuel Handling System | 0000000000000000.0.321
Fuel Transport System | 0000000000000000.0.323
Heating System | 0000000000000000.0.324
Heating System, Air | 0000000000000000.0.903
Heating System, Liquid | 0000000000000000.0.904
Heating System, Liquid, Water | 0000000000000000.0.905
Heating System, Steam | 0000000000000000.0.906
Injection Molding System | 0000000000000000.0.325
Kiln System | 0000000000000000.0.326
Lube Oil System | 0000000000000000.0.327
Lube Oil System, Pressurized | 0000000000000000.1.93
Lube Oil System, Bath | 0000000000000000.1.94
Lube Oil System, Splash | 0000000000000000.1.95
Lube Oil System, Ring | 0000000000000000.1.96
Lube Oil System, Mist | 0000000000000000.1.97
Lube Oil System, Gravity | 0000000000000000.1.98
Metal Separation System | 0000000000000000.0.331
Mill System | 0000000000000000.0.332
Mill System, Raw | 0000000000000000.0.345
Mill System, Plastic | 0000000000000000.0.842
Mill System, Rubber | 0000000000000000.0.843
Mining System | 0000000000000000.0.333
Mining System, Surface | 0000000000000000.0.352
Mixing System | 0000000000000000.0.334
Paper Conversion System | 0000000000000000.0.335
Paper Machine System | 0000000000000000.0.336
Process Control System | 0000000000000000.0.339
Product Handling System | 0000000000000000.0.340
Protection System | 0000000000000000.0.341
Pulverizer System | 0000000000000000.0.342
Pump System | 0000000000000000.0.343
Pump System, Boiler Feed | 0000000000000000.1.101
Refrigeration System | 0000000000000000.0.346
Refrigeration System, Vapor Compression | 0000000000000000.0.907
Security System | 0000000000000000.0.347
Silencing System | 0000000000000000.0.348
Sizing System | 0000000000000000.0.349
Steam Heating System | 0000000000000000.0.350
Steam/Water System | 0000000000000000.0.351
Turbine Generator Set | 0000000000000000.0.353
Waste Handling System | 0000000000000000.0.354
Water Heating System | 0000000000000000.0.355
Water Treatment System | 0000000000000000.0.356
Pulley System | 0000000000000000.0.375
Pulley System, Belt | 0000000000000000.1.118
Pulley System, Belt, V | 0000000000000000.1.120
Pulley System, Belt, Link V | 0000000000000000.1.121
Pulley System, Flat | 0000000000000000.1.122
Pulley System, Chain/Sprocket | 0000000000000000.1.119
Power Distribution System | 0000000000000000.0.827
Power Distribution System, AC | 0000000000000000.0.337
Power Distribution System, DC | 0000000000000000.0.338
Measurement Collection System | 0000000000000000.0.828
Measurement Collection System, Fixed | 0000000000000000.0.329
Measurement Collection System, Portable | 0000000000000000.0.330
Machine Train System | 0000000000000000.0.839
Machine Train System, Rotating | 0000000000000000.0.328
Corrugating Machine | 0000000000000000.0.840
Heat Exchange System | 0000000000000000.0.841
Air Conditioning and Heating System | 0000000000000000.0.864
Air Conditioning and Heating System, Heat Pump | 0000000000000000.0.865
Air Conditioning and Heating System, Heat Pump, Air | 0000000000000000.0.866
Air Conditioning and Heating System, Heat Pump, Liquid | 0000000000000000.0.867
Air Conditioning and Heating System, Heat Pump, Liquid, Water | 0000000000000000.0.868
Boiler System | 0000000000000000.0.900
Condenser System | 0000000000000000.0.901
Evaporation/Chiller System | 0000000000000000.0.902
Generator Set | 0000000000000000.1.90
Turbine Generator Set | 0000000000000000.0.353
Motor Generator Set | 0000000000000000.1.91
Oil System | 0000000000000000.1.92
Hydraulic Oil System | 0000000000000000.1.99
Hydraulic Oil System, Hydrostatic | 0000000000000000.1.100
Production Process Input/Output | 0000000000000000.0.970
Acetylene | 0000000000000000.0.136
Acrylic Monomers | 0000000000000000.0.140
Aerospace Equipment | 0000000000000000.0.141
Aircraft Equipment | 0000000000000000.0.143
Aluminum Products | 0000000000000000.0.145
Aluminum | 0000000000000000.0.146
Ambient Atmosphere | 0000000000000000.0.147
Ammonia | 0000000000000000.0.148
Appliance | 0000000000000000.0.149
Aromatic Derivitive | 0000000000000000.0.150
Aromatics | 0000000000000000.0.151
Asbestos Fiber | 0000000000000000.0.152
Asphault | 0000000000000000.0.153
Automobile Equipment | 0000000000000000.0.155
Beverages | 0000000000000000.0.156
Beverages, Alcoholic | 0000000000000000.0.144
Boilers | 0000000000000000.0.157
Books | 0000000000000000.0.158
Boots | 0000000000000000.0.159
Bottles | 0000000000000000.0.160
Brass Products | 0000000000000000.0.161
Brick Products | 0000000000000000.0.162
Bronze Products | 0000000000000000.0.163
Butter | 0000000000000000.0.164
Butylene | 0000000000000000.0.165
Butylene Derivitive | 0000000000000000.0.166
Candy | 0000000000000000.0.167
Carbon Black | 0000000000000000.0.169
Cement | 0000000000000000.0.170
Cereal | 0000000000000000.0.171
Cheese | 0000000000000000.0.172
Chlorine | 0000000000000000.0.173
Cigarettes | 0000000000000000.0.174
Cigars | 0000000000000000.0.175
Clay Products | 0000000000000000.0.177
Cleaning Agents (not Soap or Detergent) | 0000000000000000.0.178
Clothing Apparel | 0000000000000000.0.179
Coal | 0000000000000000.0.180
Gearset/Gearbox, Differential | 0000000000000000.0.181
Gearset/Gearbox, Parallel Shaft | 0000000000000000.0.183
Copper Products | 0000000000000000.0.184
Cumen | 0000000000000000.0.185
Cyanides | 0000000000000000.0.186
Cyclohexane | 0000000000000000.0.187
Cyclohexane Derivitive | 0000000000000000.0.188
Detergent | 0000000000000000.0.189
Diesel Fuel | 0000000000000000.0.190
Electricity | 0000000000000000.0.193
Electricity, DC | 0000000000000000.0.957
Electricity, AC | 0000000000000000.0.958
Electronic Instruments | 0000000000000000.0.194
Enamel Ware Products | 0000000000000000.0.196
Ethanol | 0000000000000000.0.197
Ether | 0000000000000000.0.198
Ethylene Derivitive | 0000000000000000.0.199
Ethylene Dichloride | 0000000000000000.0.200
Ethylene Polymer | 0000000000000000.0.201
Explosives | 0000000000000000.0.202
Farm Implements | 0000000000000000.0.203
Fireworks | 0000000000000000.0.204
Flatware | 0000000000000000.0.205
Furniture | 0000000000000000.0.210
Gasoline | 0000000000000000.0.214
Geothermal Heat | 0000000000000000.0.215
Gold | 0000000000000000.0.216
Gypsum | 0000000000000000.0.219
Hydrocarbon | 0000000000000000.0.220
Ice Cream | 0000000000000000.0.221
Jewelry | 0000000000000000.0.222
Leather Goods | 0000000000000000.0.223
Lumber | 0000000000000000.0.224
Meat Packing | 0000000000000000.0.226
Meat Processing | 0000000000000000.0.227
Metal | 0000000000000000.0.228
Methanol | 0000000000000000.0.231
Methanol Derivitive | 0000000000000000.0.232
Olefin | 0000000000000000.0.236
Ore Refining | 0000000000000000.0.237
Packaging Material | 0000000000000000.0.238
Particle Boards | 0000000000000000.0.243
Phenol | 0000000000000000.0.244
Plaster | 0000000000000000.0.246
Plastic | 0000000000000000.0.247
Plywood | 0000000000000000.0.248
Polystyrene | 0000000000000000.0.249
Pottery | 0000000000000000.0.250
Pressure Vessels | 0000000000000000.0.251
Propylene | 0000000000000000.0.252
Propylene Derivitive | 0000000000000000.0.253
Pulp | 0000000000000000.0.254
Renewable Biomass Fuel | 0000000000000000.0.255
Roofing Materials | 0000000000000000.0.257
Rubber, Synthetic | 0000000000000000.0.258
Semiconductors | 0000000000000000.0.259
Shoes | 0000000000000000.0.260
Silicon Wafers | 0000000000000000.0.261
Soap | 0000000000000000.0.262
Steam | 0000000000000000.0.263
Styrene | 0000000000000000.0.264
Sugar | 0000000000000000.0.265
Sulfur | 0000000000000000.0.267
Sunlight | 0000000000000000.0.268
Tallow | 0000000000000000.0.269
Terra Cotta | 0000000000000000.0.270
Textiles | 0000000000000000.0.271
Vinyl Chloride | 0000000000000000.0.276
Acid | 0000000000000000.0.953
Acid, Nitric | 0000000000000000.0.137
Acid, Phosphoric | 0000000000000000.0.138
Acid, Sulfuric | 0000000000000000.0.139
Blocks | 0000000000000000.0.955
Blocks, Cinder | 0000000000000000.0.176
Gearset/Gearbox, Planetary | 0000000000000000.0.182
Cans | 0000000000000000.0.956
Cans, Metal | 0000000000000000.0.168
Gas | 0000000000000000.0.959
Gas, Cryogenic | 0000000000000000.0.212
Gas, Natural | 0000000000000000.0.213
Grain | 0000000000000000.0.960
Grain, Milled | 0000000000000000.0.217
Grain, Unmilled | 0000000000000000.0.218
Machinery | 0000000000000000.0.961
Machinery, Electrical | 0000000000000000.0.192
Machinery, Industrial | 0000000000000000.0.225
Oil | 0000000000000000.0.962
Oil, Crude | 0000000000000000.0.233
Oil, Heating | 0000000000000000.0.234
Oil, Lubricating | 0000000000000000.0.235
Paper | 0000000000000000.0.963
Paper, Boxes | 0000000000000000.0.239
Paper, Containers | 0000000000000000.0.240
Paper, Corrugated | 0000000000000000.0.241
Paper, Newsprint | 0000000000000000.0.242
Pipes | 0000000000000000.0.964
Pipes, Concrete | 0000000000000000.0.245
Rubber | 0000000000000000.0.965
Tiles | 0000000000000000.0.966
Tiles, Ceramic | 0000000000000000.0.274
Tiles, Floor | 0000000000000000.0.275
Food | 0000000000000000.0.967
Food, Frozen | 0000000000000000.0.206
Food, Non-frozen | 0000000000000000.0.207
Physical Structure | 0000000000000000.0.971
Water | 0000000000000000.0.277
Wind | 0000000000000000.0.278
Barge | 0000000000000000.0.279
Bridge | 0000000000000000.0.280
Cavern | 0000000000000000.0.283
Control Center | 0000000000000000.0.284
Dam | 0000000000000000.0.285
Facility | 0000000000000000.0.286
Industrial Enclosure | 0000000000000000.0.288
Marine Craft | 0000000000000000.0.289
Mine | 0000000000000000.0.290
Ocean | 0000000000000000.0.291
Pond/Lake | 0000000000000000.0.292
River | 0000000000000000.0.293
Road | 0000000000000000.0.294
Stack | 0000000000000000.0.295
Tank | 0000000000000000.0.296
Tower | 0000000000000000.0.297
Tower, Cooling | 0000000000000000.0.863
Tunnel | 0000000000000000.0.298
Well | 0000000000000000.0.299
Chimney | 0000000000000000.0.861
Ground Source | 0000000000000000.0.862
Building | 0000000000000000.0.976
Building, Mobile | 0000000000000000.0.281
Building, Stationary | 0000000000000000.0.282
Mechanical Device | 0000000000000000.0.972
Bushing | 0000000000000000.0.1002
Armature | 0000000000000000.0.357
Bag House | 0000000000000000.0.358
Battery | 0000000000000000.0.359
Bearing | 0000000000000000.0.374
Bearing, Anti-friction | 0000000000000000.0.360
Bearing, Anti-friction, Ball | 0000000000000000.0.812
Bearing, Anti-friction, Ball, Self-aligning | 0000000000000000.0.810
Bearing, Anti-friction, Ball, Thrust | 0000000000000000.0.811
Bearing, Anti-friction, Ball, Deep-groove (Radial Contact) | 0000000000000000.0.820
Bearing, Anti-friction, Ball, Deep-groove (Radial Contact), Single Row | 0000000000000000.0.806
Bearing, Anti-friction, Ball, Deep-groove (Radial Contact), Double Row | 0000000000000000.0.807
Bearing, Anti-friction, Ball, Angular Contact | 0000000000000000.0.821
Bearing, Anti-friction, Ball, Angular Contact, Single Row | 0000000000000000.0.808
Bearing, Anti-friction, Ball, Angular Contact, Double Row | 0000000000000000.0.809
Bearing, Anti-friction, Roller | 0000000000000000.0.819
Bearing, Anti-friction, Roller, Needle | 0000000000000000.0.815
Bearing, Anti-friction, Roller, Spherical | 0000000000000000.0.816
Bearing, Anti-friction, Roller, Taper | 0000000000000000.0.817
Bearing, Anti-friction, Roller, Taper, Single Row | 0000000000000000.0.823
Bearing, Anti-friction, Roller, Taper, Double Row | 0000000000000000.0.824
Bearing, Anti-friction, Roller, Thrust | 0000000000000000.0.818
Bearing, Anti-friction, Roller, Cylindrical | 0000000000000000.0.822
Bearing, Anti-friction, Roller, Cylindrical, Single Row | 0000000000000000.0.813
Bearing, Anti-friction, Roller, Cylindrical, Double Row | 0000000000000000.0.814
Bearing, Bushing | 0000000000000000.0.361
Bearing, Journal | 0000000000000000.0.367
Bearing, Journal, Elliptical | 0000000000000000.0.363
Bearing, Journal, Plain | 0000000000000000.0.365
Bearing, Journal, Pressure Dam | 0000000000000000.0.366
Bearing, Magnetic | 0000000000000000.0.368
Bearing, Tilt Pad | 0000000000000000.0.373
Bearing, Tilt Pad, Journal | 0000000000000000.0.370
Bearing, Tilt Pad, Thrust | 0000000000000000.0.372
Bearing, Thrust | 0000000000000000.0.825
Blade, Fan | 0000000000000000.0.376
Blade/Bucket, Turbine | 0000000000000000.0.377
Fastener, Bolt | 0000000000000000.0.405
Fastener, Bolt, Hex Head | 0000000000000000.1.22
Burner | 0000000000000000.0.407
Calendar | 0000000000000000.0.409
Centrifuge/Extractor/Separator | 0000000000000000.0.410
Chipper | 0000000000000000.0.411
Clutch | 0000000000000000.0.412
Compressor | 0000000000000000.0.421
Compressor, Centrifugal | 0000000000000000.0.415
Compressor, Centrifugal, Single-stage | 0000000000000000.1.129
Compressor, Centrifugal, Multi-stage | 0000000000000000.1.130
Compressor, Displacement, Rotary, Gear | 0000000000000000.0.416
Compressor, Displacement, Reciprocating | 0000000000000000.0.418
Compressor, Displacement, Reciprocating, Single-stage | 0000000000000000.1.126
Compressor, Displacement, Reciprocating, Multistage | 0000000000000000.1.127
Compressor, Displacement, Rotary | 0000000000000000.0.419
Compressor, Displacement, Rotary, Vane | 0000000000000000.1.128
Compressor, Displacement, Rotary, Screw | 0000000000000000.0.420
Compressor, Displacement, Rotary, Screw, Double-Screw | 0000000000000000.1.10
Compressor, Displacement, Rotary, Screw, Single-Screw | 0000000000000000.1.9
Evaporator | 0000000000000000.0.467
Evaporator, Shell and Tube (Chiller) | 0000000000000000.1.14
Evaporator, Shell and Tube (Chiller), Refrigerant in Shell | 0000000000000000.1.15
Evaporator, Shell and Tube (Chiller), Refrigerant in Tube | 0000000000000000.1.16
Evaporator, Finned Coil | 0000000000000000.1.17
Evaporator, Spiral | 0000000000000000.1.18
Evaporator, Bautalet Cooler | 0000000000000000.1.19
Evaporator, Plate (Chiller) | 0000000000000000.1.20
Compressor, Displacement, Scroll | 0000000000000000.0.703
Compressor, Axial | 0000000000000000.0.829
Compressor, Axial, Multistage | 0000000000000000.0.413
Compressor, Axial, Single-stage | 0000000000000000.0.414
Eductor | 0000000000000000.1.11
Ejector | 0000000000000000.1.12
Compressor, Displacement | 0000000000000000.1.125
Fastener | 0000000000000000.1.21
Fastener, Cotter Pin | 0000000000000000.1.23
Fastener, Roll Pin | 0000000000000000.1.24
Filter | 0000000000000000.1.27
Filter, Magnetic | 0000000000000000.1.28
Filter, Magnetic, Absolute | 0000000000000000.1.29
Filter, Magnetic, Nominal | 0000000000000000.1.30
Filter, Paper | 0000000000000000.1.31
Filter, Paper, Absolute | 0000000000000000.1.32
Filter, Paper, Nominal | 0000000000000000.1.33
Filter, Synthetic | 0000000000000000.1.34
Filter, Synthetic, Absolute | 0000000000000000.1.35
Filter, Synthetic, Nominal | 0000000000000000.1.36
Filter, Fiber | 0000000000000000.1.37
Filter, Fiber, Absolute | 0000000000000000.1.38
Filter, Fiber, Nominal | 0000000000000000.1.39
Filter, Wire Mesh | 0000000000000000.1.40
Filter, Wire Mesh, Absolute | 0000000000000000.1.41
Filter, Wire Mesh, Nominal | 0000000000000000.1.42
Filter, Clay | 0000000000000000.1.43
Filter, Clay, Absolute | 0000000000000000.1.44
Filter, Clay, Nominal | 0000000000000000.1.45
Coupling | 0000000000000000.0.445
Coupling, Flexible, Mechanical, Chain | 0000000000000000.0.435
Coupling, Flexible | 0000000000000000.0.443
Coupling, Flexible, Metallic, Diaphragm | 0000000000000000.0.436
Coupling, Flexible, Metallic, Disk | 0000000000000000.0.437
Coupling, Flexible, Mechanical, Gear | 0000000000000000.0.438
Coupling, Flexible, Mechanical, Grid | 0000000000000000.0.439
Coupling, Flexible, Elastomeric, Rubber | 0000000000000000.0.441
Coupling, Flexible, Elastomeric, Torsion | 0000000000000000.0.442
Coupling, Flexible, Mechanical | 0000000000000000.1.107
Coupling, Flexible, Mechanical, Universal Joint | 0000000000000000.1.108
Coupling, Flexible, Metallic | 0000000000000000.1.109
Coupling, Flexible, Elastomeric | 0000000000000000.1.110
Coupling, Flexible, Tire | 0000000000000000.1.111
Coupling, Flexible, Donut | 0000000000000000.1.112
Coupling, Rigid | 0000000000000000.0.444
Crusher/Grinder | 0000000000000000.0.448
Crusher/Grinder, Gyratory | 0000000000000000.0.446
Cyclone | 0000000000000000.0.449
Debarker | 0000000000000000.0.450
Defibrator | 0000000000000000.0.451
Demineralizer | 0000000000000000.0.452
Diaphragm/Rotor Disk | 0000000000000000.0.453
Duct | 0000000000000000.0.455
Electrical Apparatus | 0000000000000000.0.456
Electrical Apparatus, Circuit Breaker | 0000000000000000.0.406
Electrical Apparatus, Cable | 0000000000000000.0.408
Electrical Apparatus, Distribution Panel | 0000000000000000.0.708
Electrical Apparatus, Instrument Transformer | 0000000000000000.0.709
Electrical Apparatus, Load Center | 0000000000000000.0.710
Electrical Apparatus, Main Disconnect Cabinet | 0000000000000000.0.711
Electrical Apparatus, Rectifier | 0000000000000000.0.712
Electrical Apparatus, Wire | 0000000000000000.0.713
Evaporator | 0000000000000000.0.467
Evaporator, Shell and Tube (Chiller) | 0000000000000000.1.14
Evaporator, Shell and Tube (Chiller), Refrigerant in Shell | 0000000000000000.1.15
Evaporator, Shell and Tube (Chiller), Refrigerant in Tube | 0000000000000000.1.16
Evaporator, Finned Coil | 0000000000000000.1.17
Evaporator, Spiral | 0000000000000000.1.18
Evaporator, Bautalet Cooler | 0000000000000000.1.19
Evaporator, Plate (Chiller) | 0000000000000000.1.20
Exciter | 0000000000000000.0.468
Fan/Blower | 0000000000000000.0.476
Fan/Blower, Centrifugal | 0000000000000000.0.474
Fan/Blower, Centrifugal, Air-solid | 0000000000000000.0.471
Fan/Blower, Centrifugal, Overhung | 0000000000000000.0.472
Fan/Blower, Centrifugal, Squirrel-cage | 0000000000000000.0.473
Fan/Blower, Axial | 0000000000000000.0.717
Fan/Blower, Axial, Multi-stage | 0000000000000000.0.469
Fan/Blower, Axial, Single-stage | 0000000000000000.0.470
Flywheel | 0000000000000000.0.477
Gearset/Gearbox | 0000000000000000.0.481
Gearset/Gearbox, Differential | 0000000000000000.0.181
Gearset/Gearbox, Parallel Shaft | 0000000000000000.0.183
Copper Products | 0000000000000000.0.184
Generator | 0000000000000000.0.484
Generator, AC | 0000000000000000.0.482
Generator, DC | 0000000000000000.0.483
Impeller | 0000000000000000.0.486
Injection Molder | 0000000000000000.0.487
Kiln | 0000000000000000.0.490
Kiln, Rotary/Tumbler | 0000000000000000.0.489
Machine Tool | 0000000000000000.0.497
Machine Tool, Quill | 0000000000000000.0.1000
Machine Tool, Spline | 0000000000000000.0.1001
Machine Tool, Jackshaft | 0000000000000000.0.1003
Machine Tool, Wheel Head | 0000000000000000.0.1004
Machine Tool, Work Head | 0000000000000000.0.1005
Machine Tool, Chucker | 0000000000000000.0.492
Machine Tool, Drill | 0000000000000000.0.493
Machine Tool, Lathe | 0000000000000000.0.494
Machine Tool, Mill | 0000000000000000.0.495
Machine Tool, Clamp | 0000000000000000.0.986
Machine Tool, Tailstock | 0000000000000000.0.987
Machine Tool, Grind Wheel | 0000000000000000.0.988
Machine Tool, Headstock | 0000000000000000.0.989
Machine Tool, Spindle | 0000000000000000.0.991
Machine Tool, Indexing Table | 0000000000000000.0.992
Machine Tool, Brake | 0000000000000000.0.993
Machine Tool, Compensator | 0000000000000000.0.995
Machine Tool, Cutter | 0000000000000000.0.996
Machine Tool, Drawbar | 0000000000000000.0.997
Machine Tool, Idler | 0000000000000000.0.999
Mill | 0000000000000000.0.505
Mill, Autogenous | 0000000000000000.0.498
Mill, Ball | 0000000000000000.0.499
Mill, Ball and Race (Pulverizer) | 0000000000000000.0.500
Mill, Bowl (Pulverizer) | 0000000000000000.0.501
Mill, Hammer | 0000000000000000.0.502
Mill, Rod | 0000000000000000.0.504
Mixer | 0000000000000000.0.506
Motor | 0000000000000000.0.512
Motor, AC | 0000000000000000.0.508
Motor, AC, Induction | 0000000000000000.0.737
Motor, AC, Induction, Polyphase, Squirrel Cage | 0000000000000000.0.735
Motor, AC, Induction, Polyphase, Wound Rotor | 0000000000000000.0.736
Motor, AC, Induction, Single Phase | 0000000000000000.1.184
Motor, AC, Induction, Single Phase, Shaded Pole | 0000000000000000.1.185
Motor, AC, Induction, Single Phase, Split Phase | 0000000000000000.1.186
Motor, AC, Induction, Single Phase, Capacitor | 0000000000000000.1.187
Motor, AC, Induction, Polyphase | 0000000000000000.1.188
Motor, AC, Induction, Polyphase, Squirrel Cage | 0000000000000000.0.735
Motor, AC, Induction, Polyphase, Wound Rotor | 0000000000000000.0.736
Motor, AC, Synchronous | 0000000000000000.0.738
Motor, DC | 0000000000000000.0.509
Motor, DC, Brushed | 0000000000000000.1.189
Motor, DC, Brushed, Shunt Wound | 0000000000000000.1.190
Motor, DC, Brushed, Series Wound | 0000000000000000.1.191
Motor, DC, Brushed, Compound Wound | 0000000000000000.1.192
Motor, DC, Brushed, Universal | 0000000000000000.1.193
Motor, DC, Brushless | 0000000000000000.1.194
Motor, DC, Brushless, Stepper | 0000000000000000.1.195
Motor, Linear | 0000000000000000.0.510
Nozzle/Vane, Turbine | 0000000000000000.0.513
Paper Conversion Device | 0000000000000000.0.514
Piping | 0000000000000000.0.515
Piping, Boiler | 0000000000000000.0.754
Piping, Boiler, Condensate | 0000000000000000.0.744
Piping, Boiler, Condensate Return Tank | 0000000000000000.0.745
Piping, Boiler, Economizer | 0000000000000000.0.746
Piping, Boiler, Expansion Tank | 0000000000000000.0.747
Piping, Boiler, Feedwater | 0000000000000000.0.748
Piping, Boiler, Indirect Water Heating | 0000000000000000.0.749
Piping, Boiler, Steam | 0000000000000000.0.753
Piping, Boiler, Steam, Reheat | 0000000000000000.0.750
Piping, Boiler, Steam, Saturated | 0000000000000000.0.751
Piping, Boiler, Steam, Superheated | 0000000000000000.0.752
Piping, Refrigeration | 0000000000000000.0.759
Piping, Refrigeration, Refrigerant | 0000000000000000.0.755
Piping, Refrigeration, Steam | 0000000000000000.0.756
Electrical Apparatus, Bus Structure | 0000000000000000.0.457
Piping, Refrigeration, Water | 0000000000000000.0.757
Piping, Refrigeration, Brine | 0000000000000000.0.758
Pulper | 0000000000000000.0.589
Pump | 0000000000000000.0.601
Pump, Centrifugal | 0000000000000000.0.593
Pump, Centrifugal, Single-stage | 0000000000000000.1.146
Pump, Centrifugal, Single-stage, Volute | 0000000000000000.1.147
Pump, Centrifugal, Single-stage, Diffuser | 0000000000000000.1.148
Pump, Centrifugal, Multistage | 0000000000000000.1.149
Pump, Centrifugal, Multistage, Volute | 0000000000000000.1.150
Pump, Centrifugal, Multistage, Diffuser | 0000000000000000.1.151
Pump, Displacement, Rotary, Gear | 0000000000000000.0.594
Pump, Moyno | 0000000000000000.0.595
Pump, Peristaltic | 0000000000000000.0.597
Pump, Displacement, Reciprocating | 0000000000000000.0.599
Pump, Displacement, Reciprocating, Piston | 0000000000000000.1.133
Pump, Displacement, Reciprocating, Piston, Power | 0000000000000000.1.134
Pump, Displacement, Reciprocating, Piston, Direct-acting | 0000000000000000.1.135
Pump, Displacement, Rotary | 0000000000000000.1.136
Pump, Displacement, Rotary, Gear | 0000000000000000.0.594
Pump, Displacement, Rotary, Screw | 0000000000000000.0.600
Pump, Displacement, Rotary, Piston/Plunger | 0000000000000000.0.785
Pump, Displacement, Rotary, Piston/Plunger, Radial | 0000000000000000.0.598
Pump, Displacement, Rotary, Piston/Plunger, Axial | 0000000000000000.0.784
Pump, Displacement, Rotary, Vane | 0000000000000000.1.137
Pump, Displacement, Rotary, Flexible Member | 0000000000000000.1.138
Pump, Displacement, Rotary, Flexible Member, Tube | 0000000000000000.1.139
Pump, Displacement, Rotary, Flexible Member, Vane | 0000000000000000.1.140
Pump, Displacement, Rotary, Flexible Member, Liner | 0000000000000000.1.141
Pump, Displacement, Rotary, Lobe | 0000000000000000.1.142
Pump, Displacement, Rotary, Lobe, Single | 0000000000000000.1.143
Pump, Displacement, Rotary, Lobe, Multiple | 0000000000000000.1.144
Pump, Displacement, Rotary, Circumferential Piston | 0000000000000000.1.145
Pump, Displacement, Rotary, Screw | 0000000000000000.0.600
Pump, Displacement, Rotary, Piston/Plunger | 0000000000000000.0.785
Pump, Displacement, Rotary, Piston/Plunger, Radial | 0000000000000000.0.598
Pump, Displacement, Rotary, Piston/Plunger, Axial | 0000000000000000.0.784
Pump, Axial | 0000000000000000.0.826
Pump, Axial, Multistage | 0000000000000000.0.591
Pump, Axial, Multistage, Volute | 0000000000000000.1.154
Pump, Axial, Multistage, Diffuser | 0000000000000000.1.155
Pump, Axial, Single-stage | 0000000000000000.0.592
Pump, Axial, Single-stage, Volute | 0000000000000000.1.152
Pump, Axial, Single-stage, Diffuser | 0000000000000000.1.153
Pump, Displacement | 0000000000000000.1.132
Pump, Displacement, Reciprocating | 0000000000000000.0.599
Pump, Displacement, Reciprocating, Piston | 0000000000000000.1.133
Pump, Displacement, Reciprocating, Piston, Power | 0000000000000000.1.134
Pump, Displacement, Reciprocating, Piston, Direct-acting | 0000000000000000.1.135
Pump, Displacement, Rotary | 0000000000000000.1.136
Pump, Displacement, Rotary, Gear | 0000000000000000.0.594
Pump, Displacement, Rotary, Screw | 0000000000000000.0.600
Pump, Displacement, Rotary, Piston/Plunger | 0000000000000000.0.785
Pump, Displacement, Rotary, Piston/Plunger, Radial | 0000000000000000.0.598
Pump, Displacement, Rotary, Piston/Plunger, Axial | 0000000000000000.0.784
Pump, Displacement, Rotary, Vane | 0000000000000000.1.137
Pump, Displacement, Rotary, Flexible Member | 0000000000000000.1.138
Pump, Displacement, Rotary, Flexible Member, Tube | 0000000000000000.1.139
Pump, Displacement, Rotary, Flexible Member, Vane | 0000000000000000.1.140
Pump, Displacement, Rotary, Flexible Member, Liner | 0000000000000000.1.141
Pump, Displacement, Rotary, Lobe | 0000000000000000.1.142
Pump, Displacement, Rotary, Lobe, Single | 0000000000000000.1.143
Pump, Displacement, Rotary, Lobe, Multiple | 0000000000000000.1.144
Pump, Displacement, Rotary, Circumferential Piston | 0000000000000000.1.145
Pump, Mixed-Flow | 0000000000000000.1.156
Pump, Mixed-Flow, Single-stage | 0000000000000000.1.157
Pump, Mixed-Flow, Single-stage, Diffuser | 0000000000000000.1.196
Pump, Mixed-Flow, Single-stage, Volute | 0000000000000000.1.197
Pump, Mixed-Flow, Multistage | 0000000000000000.1.158
Pump, Mixed-Flow, Multistage, Volute | 0000000000000000.1.159
Pump, Mixed-Flow, Multistage, Diffuser | 0000000000000000.1.160
Fastener, Screw | 0000000000000000.0.602
Fastener, Screw, Slotted Head | 0000000000000000.1.25
Fastener, Screw, Socket Head Cap | 0000000000000000.1.26
Shaft | 0000000000000000.0.603
Shaft Rider | 0000000000000000.0.604
Solar Collector | 0000000000000000.0.605
Thermocouple | 0000000000000000.0.607
Tire, Kiln | 0000000000000000.0.608
Transformer | 0000000000000000.0.614
Transformer, Dry | 0000000000000000.0.622
Transformer, Gas-filled | 0000000000000000.0.788
Transformer, Liquid-filled | 0000000000000000.0.837
Transformer, Liquid-filled, Oil | 0000000000000000.0.625
Transformer, Liquid-filled, Oil, Arc Furnace | 0000000000000000.0.623
Transformer, Liquid-filled, Oil, Induction Furnace | 0000000000000000.0.624
Transformer, Liquid-filled, Oil, Rectifier | 0000000000000000.0.627
Transformer, Liquid-filled, Oil, Generator Step Up | 0000000000000000.0.789
Transformer, Liquid-filled, Askarel | 0000000000000000.0.794
Transformer, Liquid-filled, Askarel, Arc Furnace | 0000000000000000.0.790
Transformer, Liquid-filled, Askarel, Generator Step Up | 0000000000000000.0.791
Transformer, Liquid-filled, Askarel, Induction Furnace | 0000000000000000.0.792
Transformer, Liquid-filled, Askarel, Rectifier | 0000000000000000.0.793
Trunion, Kiln | 0000000000000000.0.629
Turbine | 0000000000000000.0.636
Turbine, Expander | 0000000000000000.0.630
Turbine, Steam | 0000000000000000.0.635
Turbine, Wind | 0000000000000000.0.637
Turbine, Hydraulic | 0000000000000000.0.805
Turbine, Hydraulic, Reaction | 0000000000000000.0.657
Turbine, Hydraulic, Reaction, Francis | 0000000000000000.0.653
Turbine, Hydraulic, Reaction, Propeller | 0000000000000000.0.654
Turbine, Hydraulic, Reaction, Propeller, Adjustable Blades (Kaplan) | 0000000000000000.0.802
Turbine, Hydraulic, Reaction, Propeller, Fixed Blades | 0000000000000000.0.803
Turbine, Hydraulic, Reaction, Deriaz | 0000000000000000.0.655
Turbine, Hydraulic, Impulse | 0000000000000000.0.662
Turbine, Hydraulic, Impulse, Pelton | 0000000000000000.0.658
Turbine, Hydraulic, Impulse, Cross-Flow | 0000000000000000.0.659
Turbine, Hydraulic, Impulse, Turgo | 0000000000000000.0.660
Turbine, Hydraulic, Reversible Turbine and Pump | 0000000000000000.0.804
Turbine, Power | 0000000000000000.1.162
Vane, Pump | 0000000000000000.0.640
Washer | 0000000000000000.0.641
Wood Hog | 0000000000000000.0.644
Fuel Cell | 0000000000000000.0.652
Transducer | 0000000000000000.0.688
Transducer, Accelerometer | 0000000000000000.0.667
Transducer, Accelerometer, Triaxial | 0000000000000000.0.666
Transducer, Accelerometer, Single Axis | 0000000000000000.0.984
Transducer, Accelerometer, Single Axis, No Internal Integration | 0000000000000000.0.664
Transducer, Accelerometer, Single Axis, With Internal Integration | 0000000000000000.0.665
Transducer, Current Probe | 0000000000000000.0.668
Transducer, Displacement Probe | 0000000000000000.0.669
Transducer, Linear Voltage Differential Transformer (LVDT) | 0000000000000000.0.670
Transducer, Microphone | 0000000000000000.0.671
Transducer, Shaft Speed/Phase Reference Pickup | 0000000000000000.0.675
Transducer, Shaft Speed/Phase Reference Pickup, Optical | 0000000000000000.0.672
Transducer, Shaft Speed/Phase Reference Pickup, Magnetic | 0000000000000000.0.673
Transducer, Shaft Speed/Phase Reference Pickup, Displacement Probe | 0000000000000000.0.674
Transducer, Pressure Sensor, Dynamic | 0000000000000000.0.676
Transducer, Pressure Sensor, Static | 0000000000000000.0.677
Transducer, Pressure Sensor | 0000000000000000.0.678
Transducer, Strain Gage | 0000000000000000.0.679
Transducer, Temperature Sensor | 0000000000000000.0.682
Transducer, Temperature Sensor, Thermocouple | 0000000000000000.0.680
Transducer, Temperature Sensor, RTD | 0000000000000000.0.681
Transducer, Torque | 0000000000000000.0.683
Transducer, Torsional | 0000000000000000.0.684
Transducer, Velocity Pickup | 0000000000000000.0.685
Transducer, Voltage Probe | 0000000000000000.0.686
Transducer, Infrared Camera | 0000000000000000.0.687
Broadcasting Apparatus | 0000000000000000.0.701
Dryer | 0000000000000000.0.705
Dynamometer | 0000000000000000.0.706
Dynamotor | 0000000000000000.0.707
Extruder | 0000000000000000.0.716
Furnace | 0000000000000000.0.732
Furnace, Heat Treatment | 0000000000000000.0.730
Furnace, Heat Treatment, Batch | 0000000000000000.0.721
Furnace, Heat Treatment, Batch, Pit | 0000000000000000.0.718
Furnace, Heat Treatment, Batch, Bell | 0000000000000000.0.719
Furnace, Heat Treatment, Batch, Car-bottom | 0000000000000000.0.720
Furnace, Heat Treatment, Continuous | 0000000000000000.0.729
Furnace, Heat Treatment, Continuous, Cast Belt | 0000000000000000.0.722
Furnace, Heat Treatment, Continuous, Mesh Belt | 0000000000000000.0.723
Furnace, Heat Treatment, Continuous, Pusher | 0000000000000000.0.724
Furnace, Heat Treatment, Continuous, Roller Hearth | 0000000000000000.0.725
Furnace, Heat Treatment, Continuous, Rotary Hearth | 0000000000000000.0.726
Furnace, Heat Treatment, Continuous, Rotary Retort | 0000000000000000.0.727
Furnace, Heat Treatment, Continuous, Shaker Hearth | 0000000000000000.0.728
Furnace, Heat Treatment, Vacuum | 0000000000000000.0.731
Furnace, Cracking | 0000000000000000.1.46
Furnace, Pyrolysis | 0000000000000000.1.47
Hydrapulper | 0000000000000000.0.733
Incinerator | 0000000000000000.0.734
Oven | 0000000000000000.0.743
Oven, Convection | 0000000000000000.0.741
Oven, Microwave | 0000000000000000.0.742
Regulator | 0000000000000000.0.786
Stove | 0000000000000000.0.787
Controller | 0000000000000000.0.830
Controller, Instantaneous Overload | 0000000000000000.0.427
Controller, Instantaneous Overload, Breakered | 0000000000000000.0.423
Controller, Instantaneous Overload, Fused | 0000000000000000.0.424
Controller, Instantaneous Overload, Relayed | 0000000000000000.0.426
Controller, Thermal Overload | 0000000000000000.0.432
Controller, Thermal Overload, Breakered | 0000000000000000.0.428
Controller, Thermal Overload, Fused | 0000000000000000.0.429
Controller, Thermal Overload, Relayed | 0000000000000000.0.431
Converter | 0000000000000000.0.831
Converter, Frequency | 0000000000000000.0.704
Converter, Catalytic | 0000000000000000.0.910
Precipitator | 0000000000000000.0.832
Precipatator, Electrostatic | 0000000000000000.0.458
Engine | 0000000000000000.0.833
Engine, Reciprocating | 0000000000000000.0.465
Engine, Reciprocating, Diesel | 0000000000000000.0.459
Engine, Reciprocating, Gasoline | 0000000000000000.0.460
Engine, Reciprocating, Multi-fuel | 0000000000000000.0.461
Engine, Reciprocating, Natural Gas | 0000000000000000.0.462
Engine, Reciprocating, Steam | 0000000000000000.0.464
Engine, Rotary | 0000000000000000.0.466
Arrestor | 0000000000000000.0.834
Arrestor, Lightening | 0000000000000000.0.491
Arrestor, Flame | 0000000000000000.1.2
Arrestor, Flame, In-Line | 0000000000000000.1.3
Arrestor, Flame, End of Line | 0000000000000000.1.4
Control Center | 0000000000000000.0.835
Control Center, Motor | 0000000000000000.0.507
Power Supply | 0000000000000000.0.836
Power Supply, AC | 0000000000000000.0.516
Power Supply, DC | 0000000000000000.0.517
Scrubber | 0000000000000000.0.838
Scrubber, Dry | 0000000000000000.0.454
Scrubber, Wet | 0000000000000000.0.643
Accumulator | 0000000000000000.0.849
Accumulator, Bladder | 0000000000000000.0.847
Accumulator, Gas-filled | 0000000000000000.0.848
Boiler | 0000000000000000.0.853
Boiler, Fire Tube | 0000000000000000.0.392
Boiler, Fire Tube, Economy | 0000000000000000.0.381
Boiler, Fire Tube, Firebox | 0000000000000000.0.382
Boiler, Fire Tube, Flueless | 0000000000000000.0.383
Boiler, Fire Tube, Scotch Marine | 0000000000000000.0.390
Boiler, Fire Tube, Vertical Tube | 0000000000000000.0.393
Boiler, Fire Tube, Waste Heat | 0000000000000000.0.394
Boiler, Fire Tube, Horizontal Return Tube (HRT) | 0000000000000000.0.851
Boiler, Heat Transfer | 0000000000000000.0.401
Boiler, Heat Transfer, Oil | 0000000000000000.0.398
Boiler, Heat Transfer, Oil, Dowtherm | 0000000000000000.0.397
Boiler, Heat Transfer, Oil, Therminol | 0000000000000000.0.400
Boiler, Heat Transfer, Non-Oil | 0000000000000000.0.852
Boiler, Water Tube | 0000000000000000.0.403
Boiler, Water Tube, Chemical Recovery | 0000000000000000.0.395
Boiler, Water Tube, Coil | 0000000000000000.0.396
Boiler, Water Tube, Waste Heat | 0000000000000000.0.404
Boiler, Water Tube, Fluidized Bed | 0000000000000000.0.693
Boiler, Water Tube, Fluidized Bed, Bubbling | 0000000000000000.0.690
Boiler, Water Tube, Fluidized Bed, Circulating | 0000000000000000.0.691
Boiler, Water Tube, Fluidized Bed, Pressurized | 0000000000000000.0.692
Boiler, Water Tube, HRSG | 0000000000000000.0.696
Boiler, Water Tube, HRSG, Duct Firing | 0000000000000000.0.694
Boiler, Water Tube, HRSG, Non-Duct Firing | 0000000000000000.0.695
Boiler, Water Tube, Packaged Boiler | 0000000000000000.0.700
Boiler, Water Tube, Packaged Boiler, A Type | 0000000000000000.0.697
Boiler, Water Tube, Packaged Boiler, D Type | 0000000000000000.0.698
Boiler, Water Tube, Packaged Boiler, FM Type | 0000000000000000.0.699
Boiler, Water Tube, Field Erected | 0000000000000000.0.859
Boiler, Water Tube, Field Erected, Subcritical | 0000000000000000.0.856
Boiler, Water Tube, Field Erected, Subcritical, Stoker Fired | 0000000000000000.0.854
Boiler, Water Tube, Field Erected, Subcritical, Suspension Fired | 0000000000000000.0.855
Boiler, Water Tube, Field Erected, Subcritical, Waste to Energy | 0000000000000000.0.857
Boiler, Water Tube, Field Erected, Supercritical | 0000000000000000.0.858
Boiler, Cast Iron | 0000000000000000.0.850
Economizer | 0000000000000000.0.911
Heat Recovery Steam Generator | 0000000000000000.0.938
Heat Exchanger | 0000000000000000.0.980
Heat Exchanger, Condenser (Gas to Liquid State Change) | 0000000000000000.0.422
Heat Exchanger, Condenser, Air-cooled (Gas to Liquid State Change) | 0000000000000000.0.912
Heat Exchanger, Condenser, Evaporative (Gas to Liquid State Change) | 0000000000000000.0.913
Heat Exchanger, Condenser, Water-cooled (Gas to Liquid State Change) | 0000000000000000.0.914
Heat Exchanger, Condenser, Water-cooled, Shell and Tube (Gas to Liquid State Change) | 0000000000000000.0.915
Heat Exchanger, Condenser, Water-cooled, Plate (Gas to Liquid State Change) | 0000000000000000.0.916
Heat Exchanger, Evaporator (Liquid to Gas State Change) | 0000000000000000.0.917
Heat Exchanger, Evaporator, Direct Expansion (Liquid to Gas State Change) | 0000000000000000.0.918
Heat Exchanger, Evaporator, Direct Expansion, Finned (Liquid to Gas State Change) | 0000000000000000.0.919
Heat Exchanger, Evaporator, Direct Expansion, Plate (Liquid to Gas State Change) | 0000000000000000.0.922
Heat Exchanger, Evaporator, Direct Expansion, Shell and Tube (Liquid to Gas State Change) | 0000000000000000.0.925
Heat Exchanger, Evaporator, Direct Expansion, Shell and Tube, Ammonia (Liquid to Gas State Change) | 0000000000000000.0.926
Heat Exchanger, Evaporator, Direct Expansion, Shell and Tube, Fluoro-carbon (Liquid to Gas State Change) | 0000000000000000.0.927
Heat Exchanger, Evaporator, Direct Expansion, Plate, Ammonia (Liquid to Gas State Change) | 0000000000000000.0.923
Heat Exchanger, Evaporator, Direct Expansion, Plate, Fluoro-carbon (Liquid to Gas State Change) | 0000000000000000.0.924
Heat Exchanger, Evaporator, Direct Expansion, Finned, Ammonia (Liquid to Gas State Change) | 0000000000000000.0.920
Heat Exchanger, Evaporator, Direct Expansion, Finned, Fluoro-carbon (Liquid to Gas State Change) | 0000000000000000.0.921
Heat Exchanger, Evaporator, Flooded (Liquid to Gas State Change) | 0000000000000000.0.928
Heat Exchanger, Evaporator, Flooded, Shell and Tube (Liquid to Gas State Change) | 0000000000000000.0.929
Heat Exchanger, Evaporator, Flooded, Shell and Tube, Ammonia (Liquid to Gas State Change) | 0000000000000000.0.930
Heat Exchanger, Evaporator, Flooded, Shell and Tube, Fluoro-carbon (Liquid to Gas State Change) | 0000000000000000.0.931
Heat Exchanger, Liquid to Liquid Heating/Cooling | 0000000000000000.0.937
Heat Exchanger, Gas to Gas Heating/Cooling | 0000000000000000.0.981
Heat Exchanger, Gas to Gas Heating/Cooling, Finned | 0000000000000000.0.932
Heat Exchanger, Gas to Gas Heating/Cooling, Heat Pipe | 0000000000000000.0.933
Heat Exchanger, Gas to Gas Heating/Cooling, Wheel | 0000000000000000.0.934
Heat Exchanger, Gas to Gas Heating/Cooling, Wheel, Dessicant | 0000000000000000.0.935
Heat Exchanger, Gas to Gas Heating/Cooling, Wheel, Plain | 0000000000000000.0.936
Press | 0000000000000000.0.982
Press, Air | 0000000000000000.0.518
Press, Hydraulic | 0000000000000000.0.519
Press, Mechanical | 0000000000000000.0.520
Press, Steam | 0000000000000000.0.521
Press, Isostatic | 0000000000000000.0.760
Press, Printing | 0000000000000000.0.763
Press, Printing, Sheet | 0000000000000000.0.761
Press, Printing, Web | 0000000000000000.0.762
Pressure Vessel | 0000000000000000.0.983
Pressure Vessel, Fired | 0000000000000000.0.532
Pressure Vessel, Fired, Air Heater | 0000000000000000.0.522
Pressure Vessel, Fired, Chemical Vessel | 0000000000000000.0.523
Pressure Vessel, Fired, Reformer | 0000000000000000.0.527
Pressure Vessel, Fired, Startup Heater | 0000000000000000.0.528
Pressure Vessel, Fired, Steam Jenny | 0000000000000000.0.529
Pressure Vessel, Fired, Sterilizer | 0000000000000000.0.530
Pressure Vessel, Fired, Superheater | 0000000000000000.0.531
Pressure Vessel, Fired, Water Heater | 0000000000000000.0.533
Pressure Vessel, Unfired | 0000000000000000.0.779
Pressure Vessel, Unfired, Autoclave | 0000000000000000.0.535
Pressure Vessel, Unfired, Cooker | 0000000000000000.0.542
Pressure Vessel, Unfired, Devulcanizer | 0000000000000000.0.545
Pressure Vessel, Unfired, Digester | 0000000000000000.0.548
Pressure Vessel, Unfired, Digester, Batch | 0000000000000000.0.767
Pressure Vessel, Unfired, Digester, Continous | 0000000000000000.0.768
Pressure Vessel, Unfired, Filter Tank | 0000000000000000.0.550
Pressure Vessel, Unfired, Kettle/Pot | 0000000000000000.0.563
Pressure Vessel, Unfired, Heater Plate/Platen | 0000000000000000.0.565
Pressure Vessel, Unfired, Rendering Tank | 0000000000000000.0.569
Pressure Vessel, Unfired, Rendering Tank, Rotating | 0000000000000000.0.567
Pressure Vessel, Unfired, Rendering Tank, Stationary | 0000000000000000.0.568
Pressure Vessel, Unfired, Roll | 0000000000000000.0.575
Pressure Vessel, Unfired, Roll, Pressure | 0000000000000000.0.573
Pressure Vessel, Unfired, Roll, Paper Machine | 0000000000000000.0.777
Pressure Vessel, Unfired, Roll, Paper Machine, Calendar | 0000000000000000.0.570
Pressure Vessel, Unfired, Roll, Paper Machine, Corrugating | 0000000000000000.0.571
Pressure Vessel, Unfired, Roll, Paper Machine, Yankee | 0000000000000000.0.576
Pressure Vessel, Unfired, Steam Chest | 0000000000000000.0.577
Pressure Vessel, Unfired, Vulcanizer | 0000000000000000.0.585
Pressure Vessel, Unfired, Water Heater | 0000000000000000.0.586
Pressure Vessel, Unfired, Water Heater, Electric | 0000000000000000.0.772
Pressure Vessel, Unfired, Water Heater, Gas | 0000000000000000.0.773
Pressure Vessel, Unfired, Air Tank | 0000000000000000.0.764
Pressure Vessel, Unfired, Chemical | 0000000000000000.0.766
Pressure Vessel, Unfired, Chemical, Storage Tank | 0000000000000000.0.537
Pressure Vessel, Unfired, Chemical, Processing Tank | 0000000000000000.0.765
Pressure Vessel, Unfired, Steam Generator | 0000000000000000.0.771
Pressure Vessel, Unfired, Steam Generator, Electric | 0000000000000000.0.769
Pressure Vessel, Unfired, Steam Generator, Gas | 0000000000000000.0.770
Pressure Vessel, Unfired, Feedwater Vessel | 0000000000000000.0.775
Pressure Vessel, Unfired, Feedwater Vessel, Dearator | 0000000000000000.0.543
Pressure Vessel, Unfired, Feedwater Vessel, Demineralizer | 0000000000000000.0.544
Pressure Vessel, Unfired, Extractor | 0000000000000000.0.776
Pressure Vessel, Unfired, Rotating Vessel | 0000000000000000.0.778
Valve | 0000000000000000.0.985
Valve, Gate | 0000000000000000.1.68
Valve, Globe | 0000000000000000.1.69
Valve, Needle | 0000000000000000.1.70
Valve, Plug | 0000000000000000.1.71
Valve, Ball | 0000000000000000.1.72
Valve, Butterfly | 0000000000000000.1.73
Valve, Pinch | 0000000000000000.1.74
Valve, Check | 0000000000000000.1.75
Valve, Diaphragm | 0000000000000000.1.76
Guard | 0000000000000000.0.998
Agitator | 0000000000000000.1.1
Chain | 0000000000000000.1.106
Combustor | 0000000000000000.1.124
Intercooler | 0000000000000000.1.131
Reheater | 0000000000000000.1.161
Turbine System | 0000000000000000.1.163
Turbine System, Combustion Gas | 0000000000000000.1.164
Turbine System, Combustion Gas, Aeroderivative | 0000000000000000.1.165
Turbine System, Combustion Gas, Aeroderivative, Combined Cycle | 0000000000000000.1.166
Turbine System, Combustion Gas, Aeroderivative, Simple Cycle | 0000000000000000.1.167
Turbine System, Combustion Gas, Heavy Frame Industrial | 0000000000000000.1.168
Turbine System, Combustion Gas, Heavy Frame Industrial, Combined Cycle | 0000000000000000.1.169
Turbine System, Combustion Gas, Heavy Frame Industrial, Simple Cycle | 0000000000000000.1.170
Gear | 0000000000000000.1.171
Gear, Bevel | 0000000000000000.1.172
Gear, Helical | 0000000000000000.1.173
Gear, Hypoid | 0000000000000000.1.174
Gear, Rack | 0000000000000000.1.175
Gear, Spiral Bevel | 0000000000000000.1.176
Gear, Spur | 0000000000000000.1.177
Gear, Spur, Internal | 0000000000000000.1.178
Gear, Spur, External | 0000000000000000.1.179
Gear, Worm | 0000000000000000.1.180
Machining Center | 0000000000000000.1.48
Profiler | 0000000000000000.1.49
Belt | 0000000000000000.1.5
Belt, Timing | 0000000000000000.1.102
Belt, V | 0000000000000000.1.103
Belt, Link V | 0000000000000000.1.104
Belt, Flat | 0000000000000000.1.105
Propeller | 0000000000000000.1.50
Pulley/Sheave | 0000000000000000.1.51
Pulley/Sheave, Belt | 0000000000000000.1.113
Pulley/Sheave, Belt, V | 0000000000000000.1.114
Pulley/Sheave, Belt, Link V | 0000000000000000.1.115
Pulley/Sheave, Belt, Flat | 0000000000000000.1.116
Pulley/Sheave, Chain/Sprocket | 0000000000000000.1.117
Roll | 0000000000000000.1.52
Roll, Bow | 0000000000000000.1.53
Roll, Couch | 0000000000000000.1.54
Roll, Granite | 0000000000000000.1.55
Roll, Guide | 0000000000000000.1.56
Roll, Lead Out | 0000000000000000.1.57
Roll, Pickup | 0000000000000000.1.58
Roll, Press-Suction | 0000000000000000.1.59
Roll, V-Nip | 0000000000000000.1.60
Roll, Wire Turning | 0000000000000000.1.61
Crane | 0000000000000000.1.6
Crane, Overhead | 0000000000000000.1.7
Crane, Overhung | 0000000000000000.1.8
Shaker | 0000000000000000.1.62
Steam Trap | 0000000000000000.1.63
Steam Trap, Inverted Bucket | 0000000000000000.1.64
Steam Trap, Float and Thermostatic | 0000000000000000.1.65
Steam Trap, Controlled Disc | 0000000000000000.1.66
Steam Trap, Bi-metallic | 0000000000000000.1.67
Mechanical Device Area | 0000000000000000.0.973
Stage | 0000000000000000.0.651
Housing, Bearing | 0000000000000000.0.663
Housing, Bearing, Pillow Block | 0000000000000000.0.990
Section, Rotor | 0000000000000000.0.939
Section, Stator | 0000000000000000.0.940
Section, Internal Gear Area | 0000000000000000.1.123
Section, Bull Gear Area | 0000000000000000.1.77
Section, Pinion Gear Area | 0000000000000000.1.78
Return Line | 0000000000000000.1.79
Sump / Reservoir | 0000000000000000.1.80
Physical Structure Area | 0000000000000000.0.975
Facility Section/Area | 0000000000000000.0.287
Spares Area/Storeroom/Stock Room/Parts Crib | 0000000000000000.1.0
Floor | 0000000000000000.0.977
ISA-95 / ISA-88 Segment | 0000000000000000.1.200
ISA-95 Enterprise | 0000000000000000.1.201
ISA-95 Site | 0000000000000000.1.202
ISA-95 Area | 0000000000000000.1.203
ISA-95 / ISA-88 Work Center | 0000000000000000.1.204
ISA-88 Process Cell | 0000000000000000.1.205
ISA-95 Production Unit | 0000000000000000.1.206
ISA-95 Production Line | 0000000000000000.1.207
ISA-95 Storage Zone | 0000000000000000.1.208
ISA-88 Unit | 0000000000000000.1.209
ISA-88 Equipment Module | 0000000000000000.1.210
ISA-88 Control Module | 0000000000000000.1.211
ISA-95 Work Cell | 0000000000000000.1.212
ISA-95 Storage Module | 0000000000000000.1.213