## Sheet1
Measurement Location | 0000000000000000.1.312
Torque | 0000000000000000.0.10
Voltage | 0000000000000000.0.11
Voltage, DC Gap | 0000000000000000.0.12
Voltage, Phase 1 and Phase 2 | 0000000000000000.1.286
Voltage, Phase 1 and Phase 3 | 0000000000000000.1.287
Voltage, Phase 1 and Phase 3 | 0000000000000000.1.288
Voltage, Phase Imbalance, Percentage | 0000000000000000.1.289
Voltage, Phase Imbalance, Percentage, Phase 1 and Phase 2 | 0000000000000000.1.290
Voltage, Phase Imbalance, Percentage, Phase 2 and Phase 3 | 0000000000000000.1.291
Voltage, Phase Imbalance, Percentage, Phase 1 and Phase 3 | 0000000000000000.1.292
Load, Full Load Percentage | 0000000000000000.0.13
Uptime, Since Startup | 0000000000000000.0.14
Uptime, Since Major Maintenance | 0000000000000000.0.15
Uptime, Since Lubricant Adjustment | 0000000000000000.0.16
Current | 0000000000000000.0.3
Current, Phase 1 | 0000000000000000.1.25
Current, Phase 2 | 0000000000000000.1.26
Current, Phase 3 | 0000000000000000.1.27
Pressure | 0000000000000000.0.5
Pressure, Differential | 0000000000000000.1.55
Pressure, Discharge | 0000000000000000.1.56
Pressure, High Pressure Side | 0000000000000000.1.57
Pressure, Low Pressure Side | 0000000000000000.1.58
Pressure, Total Head | 0000000000000000.1.59
Speed | 0000000000000000.0.7
Speed, Shaft | 0000000000000000.0.4
Speed, Shaft, @First Radial Bearing | 0000000000000000.1.100
Speed, Shaft, @Second Radial Bearing | 0000000000000000.1.101
Speed, Shaft, @Front Bearing | 0000000000000000.1.102
Speed, Shaft, @Back Bearing | 0000000000000000.1.103
Speed, Shaft, @Gear Shaft B First Radial Bearing | 0000000000000000.1.104
Speed, Shaft, @Gear Shaft B Second Radial Bearing | 0000000000000000.1.105
Speed, Shaft, @Gear Shaft C First Radial Bearing | 0000000000000000.1.106
Speed, Shaft, @Gear Shaft C Second Radial Bearing | 0000000000000000.1.107
Speed, Shaft, @Gear Shaft D First Radial Bearing | 0000000000000000.1.108
Speed, Shaft, @Gear Shaft D Second Radial Bearing | 0000000000000000.1.109
Speed, Shaft, @Gear Shaft E First Radial Bearing | 0000000000000000.1.110
Speed, Shaft, @Gear Shaft E Second Radial Bearing | 0000000000000000.1.111
Speed, Shaft, @Gear Shaft F First Radial Bearing | 0000000000000000.1.112
Speed, Shaft, @Gear Shaft F Second Radial Bearing | 0000000000000000.1.113
Speed, Shaft, Input Shaft | 0000000000000000.1.92
Speed, Shaft, Gear Shaft B | 0000000000000000.1.93
Speed, Shaft, Gear Shaft C | 0000000000000000.1.94
Speed, Shaft, Gear Shaft D | 0000000000000000.1.95
Speed, Shaft, Gear Shaft E | 0000000000000000.1.96
Speed, Shaft, Gear Shaft F | 0000000000000000.1.97
Speed, Shaft, @End Thrust Bearing | 0000000000000000.1.98
Speed, Shaft, @In-line Thrust Bearing | 0000000000000000.1.99
Strain | 0000000000000000.0.8
Temperature | 0000000000000000.0.9
Temperature, Ambient | 0000000000000000.1.114
Temperature, Surface | 0000000000000000.1.115
Temperature, Internal | 0000000000000000.1.116
Temperature, Internal, First Re-heat | 0000000000000000.1.117
Temperature, Internal, Second Re-heat | 0000000000000000.1.118
Temperature, Internal, Inlet | 0000000000000000.1.119
Temperature, Internal, Outlet | 0000000000000000.1.120
Temperature, Internal, High Pressure Side | 0000000000000000.1.121
Temperature, Internal, Low Pressure Side | 0000000000000000.1.122
Vibration | 0000000000000000.1.123
Vibration, Absolute | 0000000000000000.1.124
Vibration, Absolute, Casing | 0000000000000000.0.2
Vibration, Absolute, Casing, Broadband | 0000000000000000.1.125
Vibration, Absolute, Casing, Narrowband | 0000000000000000.1.126
Vibration, Absolute, Casing, @Discrete Frequency | 0000000000000000.1.127
Vibration, Absolute, Casing, @1X Running Speed Frequency | 0000000000000000.1.128
Vibration, Absolute, Casing, @2X Running Speed Frequency | 0000000000000000.1.129
Vibration, Absolute, Casing, @AC Line Frequency | 0000000000000000.1.130
Vibration, Absolute, Casing, @Background Frequency #1 | 0000000000000000.1.131
Vibration, Absolute, Casing, @Background Frequency #2 | 0000000000000000.1.132
Vibration, Absolute, Casing, @Background Frequency #3 | 0000000000000000.1.133
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, End Thrust Bearing | 0000000000000000.1.134
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, In-line Thrust Bearing | 0000000000000000.1.135
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, First Radial Bearing | 0000000000000000.1.136
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Second Radial Bearing | 0000000000000000.1.137
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Front Bearing | 0000000000000000.1.138
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Back Bearing | 0000000000000000.1.139
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Gear Shaft B First Radial Bearing | 0000000000000000.1.140
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Gear Shaft B Second Radial Bearing | 0000000000000000.1.141
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Gear Shaft C First Radial Bearing | 0000000000000000.1.142
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Gear Shaft C Second Radial Bearing | 0000000000000000.1.143
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Gear Shaft D First Radial Bearing | 0000000000000000.1.144
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Gear Shaft D Second Radial Bearing | 0000000000000000.1.145
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Gear Shaft E First Radial Bearing | 0000000000000000.1.146
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Gear Shaft E Second Radial Bearing | 0000000000000000.1.147
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Gear Shaft F First Radial Bearing | 0000000000000000.1.148
Vibration, Absolute, Casing, @Ball Pass Outer Race Frequency, Gear Shaft F Second Radial Bearing | 0000000000000000.1.149
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, End Thrust Bearing | 0000000000000000.1.150
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, In-line Thrust Bearing | 0000000000000000.1.151
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, First Radial Bearing | 0000000000000000.1.152
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Second Radial Bearing | 0000000000000000.1.153
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Front Bearing | 0000000000000000.1.154
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Back Bearing | 0000000000000000.1.155
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Gear Shaft B First Radial Bearing | 0000000000000000.1.156
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Gear Shaft B Second Radial Bearing | 0000000000000000.1.157
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Gear Shaft C First Radial Bearing | 0000000000000000.1.158
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Gear Shaft C Second Radial Bearing | 0000000000000000.1.159
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Gear Shaft D First Radial Bearing | 0000000000000000.1.160
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Gear Shaft D Second Radial Bearing | 0000000000000000.1.161
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Gear Shaft E First Radial Bearing | 0000000000000000.1.162
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Gear Shaft E Second Radial Bearing | 0000000000000000.1.163
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Gear Shaft F First Radial Bearing | 0000000000000000.1.164
Vibration, Absolute, Casing, @Ball Pass Inner Race Frequency, Gear Shaft F Second Radial Bearing | 0000000000000000.1.165
Vibration, Absolute, Casing, @Ball Spin Frequency, End Thrust Bearing | 0000000000000000.1.166
Vibration, Absolute, Casing, @Ball Spin Frequency, In-line Thrust Bearing | 0000000000000000.1.167
Vibration, Absolute, Casing, @Ball Spin Frequency, First Radial Bearing | 0000000000000000.1.168
Vibration, Absolute, Casing, @Ball Spin Frequency, Second Radial Bearing | 0000000000000000.1.169
Vibration, Absolute, Casing, @Ball Spin Frequency, Front Bearing | 0000000000000000.1.170
Vibration, Absolute, Casing, @Ball Spin Frequency, Back Bearing | 0000000000000000.1.171
Vibration, Absolute, Casing, @Ball Spin Frequency, Gear Shaft B First Radial Bearing | 0000000000000000.1.172
Vibration, Absolute, Casing, @Ball Spin Frequency, Gear Shaft B Second Radial Bearing | 0000000000000000.1.173
Vibration, Absolute, Casing, @Ball Spin Frequency, Gear Shaft C First Radial Bearing | 0000000000000000.1.174
Vibration, Absolute, Casing, @Ball Spin Frequency, Gear Shaft C Second Radial Bearing | 0000000000000000.1.175
Vibration, Absolute, Casing, @Ball Spin Frequency, Gear Shaft D First Radial Bearing | 0000000000000000.1.176
Vibration, Absolute, Casing, @Ball Spin Frequency, Gear Shaft D Second Radial Bearing | 0000000000000000.1.177
Vibration, Absolute, Casing, @Ball Spin Frequency, Gear Shaft E First Radial Bearing | 0000000000000000.1.178
Vibration, Absolute, Casing, @Ball Spin Frequency, Gear Shaft E Second Radial Bearing | 0000000000000000.1.179
Vibration, Absolute, Casing, @Ball Spin Frequency, Gear Shaft F First Radial Bearing | 0000000000000000.1.180
Vibration, Absolute, Casing, @Ball Spin Frequency, Gear Shaft F Second Radial Bearing | 0000000000000000.1.181
Vibration, Absolute, Casing, @Fundamental Train Frequency, End Thrust Bearing | 0000000000000000.1.182
Vibration, Absolute, Casing, @Fundamental Train Frequency, In-line Thrust Bearing | 0000000000000000.1.183
Vibration, Absolute, Casing, @Fundamental Train Frequency, First Radial Bearing | 0000000000000000.1.184
Vibration, Absolute, Casing, @Fundamental Train Frequency, Second Radial Bearing | 0000000000000000.1.185
Vibration, Absolute, Casing, @Fundamental Train Frequency, Front Bearing | 0000000000000000.1.186
Vibration, Absolute, Casing, @Fundamental Train Frequency, Back Bearing | 0000000000000000.1.187
Vibration, Absolute, Casing, @Fundamental Train Frequency, Gear Shaft B First Radial Bearing | 0000000000000000.1.188
Vibration, Absolute, Casing, @Fundamental Train Frequency, Gear Shaft B Second Radial Bearing | 0000000000000000.1.189
Vibration, Absolute, Casing, @Fundamental Train Frequency, Gear Shaft C First Radial Bearing | 0000000000000000.1.190
Vibration, Absolute, Casing, @Fundamental Train Frequency, Gear Shaft C Second Radial Bearing | 0000000000000000.1.191
Vibration, Absolute, Casing, @Fundamental Train Frequency, Gear Shaft D First Radial Bearing | 0000000000000000.1.192
Vibration, Absolute, Casing, @Fundamental Train Frequency, Gear Shaft D Second Radial Bearing | 0000000000000000.1.193
Vibration, Absolute, Casing, @Fundamental Train Frequency, Gear Shaft E First Radial Bearing | 0000000000000000.1.194
Vibration, Absolute, Casing, @Fundamental Train Frequency, Gear Shaft E Second Radial Bearing | 0000000000000000.1.195
Vibration, Absolute, Casing, @Fundamental Train Frequency, Gear Shaft F First Radial Bearing | 0000000000000000.1.196
Vibration, Absolute, Casing, @Fundamental Train Frequency, Gear Shaft F Second Radial Bearing | 0000000000000000.1.197
Vibration, Absolute, Casing, @Belt Frequency | 0000000000000000.1.198
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 1 | 0000000000000000.1.199
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 2 | 0000000000000000.1.200
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 3 | 0000000000000000.1.201
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 4 | 0000000000000000.1.202
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 5 | 0000000000000000.1.203
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 6 | 0000000000000000.1.204
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 7 | 0000000000000000.1.205
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 8 | 0000000000000000.1.206
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 9 | 0000000000000000.1.207
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 10 | 0000000000000000.1.208
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 11 | 0000000000000000.1.209
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 12 | 0000000000000000.1.210
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 13 | 0000000000000000.1.211
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 14 | 0000000000000000.1.212
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 15 | 0000000000000000.1.213
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 16 | 0000000000000000.1.214
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 17 | 0000000000000000.1.215
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 18 | 0000000000000000.1.216
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 19 | 0000000000000000.1.217
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 20 | 0000000000000000.1.218
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 21 | 0000000000000000.1.219
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 22 | 0000000000000000.1.220
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 23 | 0000000000000000.1.221
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 24 | 0000000000000000.1.222
Vibration, Absolute, Casing, @Blade Pass Frequency, Stage 25 | 0000000000000000.1.223
Vibration, Absolute, Casing, @Chain Frequency | 0000000000000000.1.224
Vibration, Absolute, Casing, @Critical Frequency #1 | 0000000000000000.1.225
Vibration, Absolute, Casing, @Critical Frequency #2 | 0000000000000000.1.226
Vibration, Absolute, Casing, @Critical Frequency #3 | 0000000000000000.1.227
Vibration, Absolute, Casing, @Ghost Frequency, Shaft A-B Gears | 0000000000000000.1.228
Vibration, Absolute, Casing, @Ghost Frequency, Shaft B-C Gears | 0000000000000000.1.229
Vibration, Absolute, Casing, @Ghost Frequency, Shaft C-D Gears | 0000000000000000.1.230
Vibration, Absolute, Casing, @Ghost Frequency, Shaft D-E Gears | 0000000000000000.1.231
Vibration, Absolute, Casing, @Ghost Frequency, Shaft E-F Gears | 0000000000000000.1.232
Vibration, Absolute, Casing, @Gear, Hunting Tooth Frequency, Input Shaft Driver Gear | 0000000000000000.1.233
Vibration, Absolute, Casing, @Gear, Hunting Tooth Frequency, Shaft B Driven Gear | 0000000000000000.1.234
Vibration, Absolute, Casing, @Gear, Hunting Tooth Frequency, Shaft B Driver Gear | 0000000000000000.1.235
Vibration, Absolute, Casing, @Gear, Hunting Tooth Frequency, Shaft C Driven Gear | 0000000000000000.1.236
Vibration, Absolute, Casing, @Gear, Hunting Tooth Frequency, Shaft C Driver Gear | 0000000000000000.1.237
Vibration, Absolute, Casing, @Gear, Hunting Tooth Frequency, Shaft D Driven Gear | 0000000000000000.1.238
Vibration, Absolute, Casing, @Gear, Hunting Tooth Frequency, Shaft D Driver Gear | 0000000000000000.1.239
Vibration, Absolute, Casing, @Gear, Hunting Tooth Frequency, Shaft E Driven Gear | 0000000000000000.1.240
Vibration, Absolute, Casing, @Gear, Hunting Tooth Frequency, Shaft E Driver Gear | 0000000000000000.1.241
Vibration, Absolute, Casing, @Gear, Hunting Tooth Frequency, Shaft F Driven Gear | 0000000000000000.1.242
Vibration, Absolute, Casing, @Lobe Frequency, Stage 1 | 0000000000000000.1.243
Vibration, Absolute, Casing, @Lobe Frequency, Stage 2 | 0000000000000000.1.244
Vibration, Absolute, Casing, @Lobe Frequency, Stage 3 | 0000000000000000.1.245
Vibration, Absolute, Casing, @Lobe Frequency, Stage 4 | 0000000000000000.1.246
Vibration, Absolute, Casing, @Lobe Frequency, Stage 5 | 0000000000000000.1.247
Vibration, Absolute, Casing, @Lobe Frequency, Stage 6 | 0000000000000000.1.248
Vibration, Absolute, Casing, @Mesh Frequency, Sun Gear | 0000000000000000.1.249
Vibration, Absolute, Casing, @Mesh Frequency, Ring Gear | 0000000000000000.1.250
Vibration, Absolute, Casing, @Mesh Frequency, Planetary Gear A | 0000000000000000.1.251
Vibration, Absolute, Casing, @Mesh Frequency, Planetary Gear B | 0000000000000000.1.252
Vibration, Absolute, Casing, @Mesh Frequency, Planetary Gear C | 0000000000000000.1.253
Vibration, Absolute, Casing, @Mesh Frequency, Planetary Gear D | 0000000000000000.1.254
Vibration, Absolute, Casing, @Mesh Frequency, Planetary Gear E | 0000000000000000.1.255
Vibration, Absolute, Casing, @Mesh Frequency, Planetary Gear F | 0000000000000000.1.256
Vibration, Absolute, Casing, @Mesh Frequency, Input Shaft Driver Gear | 0000000000000000.1.257
Vibration, Absolute, Casing, @Mesh Frequency, Shaft B Driven Gear | 0000000000000000.1.258
Vibration, Absolute, Casing, @Mesh Frequency, Shaft B Driver Gear | 0000000000000000.1.259
Vibration, Absolute, Casing, @Mesh Frequency, Shaft C Driven Gear | 0000000000000000.1.260
Vibration, Absolute, Casing, @Mesh Frequency, Shaft C Driver Gear | 0000000000000000.1.261
Vibration, Absolute, Casing, @Mesh Frequency, Shaft D Driven Gear | 0000000000000000.1.262
Vibration, Absolute, Casing, @Mesh Frequency, Shaft D Driver Gear | 0000000000000000.1.263
Vibration, Absolute, Casing, @Mesh Frequency, Shaft E Driven Gear | 0000000000000000.1.264
Vibration, Absolute, Casing, @Mesh Frequency, Shaft E Driver Gear | 0000000000000000.1.265
Vibration, Absolute, Casing, @Mesh Frequency, Shaft F Driven Gear | 0000000000000000.1.266
Vibration, Absolute, Casing, @Natural Frequency #1 | 0000000000000000.1.267
Vibration, Absolute, Casing, @Natural Frequency #2 | 0000000000000000.1.268
Vibration, Absolute, Casing, @Natural Frequency #3 | 0000000000000000.1.269
Vibration, Absolute, Casing, @Rotor Bar Pass Frequency | 0000000000000000.1.270
Vibration, Absolute, Casing, @Slip Frequency | 0000000000000000.1.271
Vibration, Absolute, Casing, @Stator Slot Frequency | 0000000000000000.1.272
Vibration, Absolute, Casing, @Torsional Resonance Frequency | 0000000000000000.1.273
Vibration, Absolute, Casing, @Vane Pass Frequency, Stage 1 | 0000000000000000.1.274
Vibration, Absolute, Casing, @Vane Pass Frequency, Stage 2 | 0000000000000000.1.275
Vibration, Absolute, Casing, @Vane Pass Frequency, Stage 3 | 0000000000000000.1.276
Vibration, Absolute, Casing, @Vane Pass Frequency, Stage 4 | 0000000000000000.1.277
Vibration, Absolute, Casing, @Vane Pass Frequency, Stage 5 | 0000000000000000.1.278
Vibration, Absolute, Casing, @Vane Pass Frequency, Stage 6 | 0000000000000000.1.279
Vibration, Absolute, Casing, @3X Running Speed Frequency | 0000000000000000.1.296
Vibration, Absolute, Casing, @4X Running Speed Frequency | 0000000000000000.1.297
Vibration, Absolute, Casing, @5X Running Speed Frequency | 0000000000000000.1.298
Vibration, Absolute, Casing, @6X Running Speed Frequency | 0000000000000000.1.299
Vibration, Absolute, Casing, @7X Running Speed Frequency | 0000000000000000.1.300
Vibration, Absolute, Casing, @8X Running Speed Frequency | 0000000000000000.1.301
Vibration, Absolute, Casing, @9X Running Speed Frequency | 0000000000000000.1.302
Vibration, Absolute, Casing, @10X Running Speed Frequency | 0000000000000000.1.303
Vibration, Absolute, Shaft | 0000000000000000.1.313
Vibration, Absolute, Shaft, Broadband | 0000000000000000.1.314
Vibration, Absolute, Shaft, Narrowband | 0000000000000000.1.315
Vibration, Absolute, Shaft, @Discrete Frequency | 0000000000000000.1.316
Vibration, Absolute, Shaft, @1X Running Speed Frequency | 0000000000000000.1.317
Vibration, Absolute, Shaft, @2X Running Speed Frequency | 0000000000000000.1.318
Vibration, Absolute, Shaft, @3X Running Speed Frequency | 0000000000000000.1.319
Vibration, Absolute, Shaft, @4X Running Speed Frequency | 0000000000000000.1.320
Vibration, Absolute, Shaft, @5X Running Speed Frequency | 0000000000000000.1.321
Vibration, Absolute, Shaft, @6X Running Speed Frequency | 0000000000000000.1.322
Vibration, Absolute, Shaft, @7X Running Speed Frequency | 0000000000000000.1.323
Vibration, Absolute, Shaft, @8X Running Speed Frequency | 0000000000000000.1.324
Vibration, Absolute, Shaft, @9X Running Speed Frequency | 0000000000000000.1.325
Vibration, Absolute, Shaft, @10X Running Speed Frequency | 0000000000000000.1.326
Vibration, Relative | 0000000000000000.1.280
Vibration, Relative, Shaft | 0000000000000000.0.6
Vibration, Relative, Shaft, Broadband | 0000000000000000.1.281
Vibration, Relative, Shaft, Narrowband | 0000000000000000.1.282
Vibration, Relative, Shaft, @Discrete Frequency | 0000000000000000.1.283
Vibration, Relative, Shaft, @1X Running Speed Frequency | 0000000000000000.1.284
Vibration, Relative, Shaft, @2X Running Speed Frequency | 0000000000000000.1.285
Vibration, Relative, Shaft, @3X Running Speed Frequency | 0000000000000000.1.304
Vibration, Relative, Shaft, @4X Running Speed Frequency | 0000000000000000.1.305
Vibration, Relative, Shaft, @5X Running Speed Frequency | 0000000000000000.1.306
Vibration, Relative, Shaft, @6X Running Speed Frequency | 0000000000000000.1.307
Vibration, Relative, Shaft, @7X Running Speed Frequency | 0000000000000000.1.308
Vibration, Relative, Shaft, @8X Running Speed Frequency | 0000000000000000.1.309
Vibration, Relative, Shaft, @9X Running Speed Frequency | 0000000000000000.1.310
Vibration, Relative, Shaft, @10X Running Speed Frequency | 0000000000000000.1.311
Altitude | 0000000000000000.1.13
Capacitance | 0000000000000000.1.14
Capacitance to Ground | 0000000000000000.1.15
Capacitance to Ground, Armature | 0000000000000000.1.16
Capacitance to Ground, Field 1 Circuit | 0000000000000000.1.17
Capacitance to Ground, Field 2 Circuit | 0000000000000000.1.18
Capacitance to Ground, Field 3 Circuit | 0000000000000000.1.19
Capacitance to Ground, Phase 1 | 0000000000000000.1.20
Capacitance to Ground, Phase 2 | 0000000000000000.1.21
Capacitance to Ground, Phase 3 | 0000000000000000.1.22
Conductivity | 0000000000000000.1.23
Current Phase Imbalance, Percentage | 0000000000000000.1.28
Current Phase Imbalance, Percentage, Phase 1 and Phase 2 | 0000000000000000.1.29
Current Phase Imbalance, Percentage, Phase 2 and Phase 3 | 0000000000000000.1.30
Current Phase Imbalance, Percentage, Phase 1 and Phase 3 | 0000000000000000.1.31
Volume | 0000000000000000.1.293
Work | 0000000000000000.1.294
Electrical Circuit | 0000000000000000.1.295
Diameter | 0000000000000000.1.32
Distance | 0000000000000000.1.33
Distance, Position, Shaft | 0000000000000000.1.34
Distance, Position, Shaft, Axial | 0000000000000000.0.1
Efficiency Percentage | 0000000000000000.1.35
Flow | 0000000000000000.1.36
Flow, Inlet | 0000000000000000.1.37
Flow, Outlet | 0000000000000000.1.38
Flow, High Pressure Side | 0000000000000000.1.39
Flow, Low Pressure Side | 0000000000000000.1.40
Inductance | 0000000000000000.1.41
Inductance, Armature | 0000000000000000.1.42
Inductance, Field 1 Circuit | 0000000000000000.1.43
Inductance, Field 2 Circuit | 0000000000000000.1.44
Inductance, Field 3 Circuit | 0000000000000000.1.45
Inductance, Phase 1 and Phase 2 | 0000000000000000.1.46
Inductance, Phase 2 and Phase 3 | 0000000000000000.1.47
Inductance, Phase 1 and Phase 3 | 0000000000000000.1.48
Inductance, Phase Imbalance, Percentage | 0000000000000000.1.49
Inductance, Phase Imbalance, Percentage, Phase 1 and Phase 2 | 0000000000000000.1.50
Inductance, Phase Imbalance, Percentage, Phase 2 and Phase 3 | 0000000000000000.1.51
Inductance, Phase Imbalance, Percentage, Phase 1 and Phase 3 | 0000000000000000.1.52
Mass | 0000000000000000.1.53
Power Factor Percentage | 0000000000000000.1.54
Resistance | 0000000000000000.1.60
Resistance, Conductor Path | 0000000000000000.1.61
Resistance, Conductor Path, Armature | 0000000000000000.1.62
Resistance, Conductor Path, Field 1 Circuit | 0000000000000000.1.63
Resistance, Conductor Path, Field 2 Circuit | 0000000000000000.1.64
Resistance, Conductor Path, Field 3 Circuit | 0000000000000000.1.65
Resistance, Conductor Path, Phase 1 and Phase 2 | 0000000000000000.1.66
Resistance, Conductor Path, Phase 2 and Phase 3 | 0000000000000000.1.67
Resistance, Conductor Path, Phase 1 and Phase 3 | 0000000000000000.1.68
Resistance, Conductor Path, Phase Imbalance, Percentage | 0000000000000000.1.69
Resistance, Conductor Path, Phase Imbalance, Percentage, Phase 1 and Phase 2 | 0000000000000000.1.70
Resistance, Conductor Path, Phase Imbalance, Percentage, Phase 2 and Phase 3 | 0000000000000000.1.71
Resistance, Conductor Path, Phase Imbalance, Percentage, Phase 1 and Phase 3 | 0000000000000000.1.72
Resistance, Lead to Ground | 0000000000000000.1.73
Resistance, Lead to Ground, Armature | 0000000000000000.1.74
Resistance, Lead to Ground, Field 1 Circuit | 0000000000000000.1.75
Resistance, Lead to Ground, Field 2 Circuit | 0000000000000000.1.76
Resistance, Lead to Ground, Field 3 Circuit | 0000000000000000.1.77
Resistance, Lead to Ground, Phase 1 and Phase 2 | 0000000000000000.1.78
Resistance, Lead to Ground, Phase 2 and Phase 3 | 0000000000000000.1.79
Resistance, Lead to Ground, Phase 1 and Phase 3 | 0000000000000000.1.80
Resistance, Resistance to Ground | 0000000000000000.1.81
Resistance, Resistance to Ground, Armature | 0000000000000000.1.82
Resistance, Resistance to Ground, Field 1 Circuit | 0000000000000000.1.83
Resistance, Resistance to Ground, Field 2 Circuit | 0000000000000000.1.84
Resistance, Resistance to Ground, Field 3 Circuit | 0000000000000000.1.85
Thermographic | 0000000000000000.1.7
Acoustic | 0000000000000000.1.8
Acoustic, Narrowband | 0000000000000000.1.10
Acoustic, @Discrete Frequency | 0000000000000000.1.11
Acoustic, Ultrasonic | 0000000000000000.1.12
Acoustic, Broadband | 0000000000000000.1.9
Sample | 0000000000000000.1.86
Sample, Gas | 0000000000000000.1.1
Sample, Liquid | 0000000000000000.1.2
Sample, Liquid, Aqueous | 0000000000000000.1.3
Sample, Liquid, Fuel | 0000000000000000.1.4
Sample, Liquid, Lubrication | 0000000000000000.1.5
Sample, Solid | 0000000000000000.1.6
Size, Diameter | 0000000000000000.1.87
Size, Height | 0000000000000000.1.88
Size, Length | 0000000000000000.1.89
Size, Total Area Occupied | 0000000000000000.1.90
Size, Width | 0000000000000000.1.91