## Slide 1
Using Asset Management Standards and the Open Industrial Interoperability Ecosystem (OIIE) to enable Critical Infrastructure Management on a Cross Sector Basis
— Alan T. Johnston, MIMOSA
— Markus Stumptner, UniSA and Co-CTO MIMOSA
@ Asset Institute
Standardization Workshop
November 8, 2018

## Slide 2: Asset Management Standardization for Critical Infrastructure Management: Workshop Outline – Part A
Introduction: What is MIMOSA and Workshop Leaders
Understanding Critical Infrastructure: What is Critical Infrastructure?-Alan
  Critical Infrastructure Scope – From US PPD 21- 2013
  Interdependent and Heterogenous Nature of Critical Infrastructure
  Need for Public and Private Sector coordination with shared responsibilities for Risk Management
    Cooperation with US NIST and US DOE
    Public Sector includes Federal, State and Local Governments (National and Multi-Lateral)
    Private Sector includes all private owner/operators in sectors of critical infrastructure and their key suppliers
  Key Interrelated Problems
Proposed Solution
  Model, Monitor and Manage the Processes, Systems and Components
  Supplier-Neutral industrial Digital Ecosystem
  Open Industrial Interoperability Ecosystem (OIIE)
  OIIE Oil and Gas Interoperability (OGI) Pilot
  Greenfield versus Brownfield (and the need for infrastructure and information remediation)

## Slide 3: Asset Management Standardization for Critical Infrastructure Management: Workshop Outline – Part B
Group Background and Ecosystem Projects
New Open Industrial Interoperability Ecosystem (OIIE) Use Cases-Markus
  Standard OIIE Use Case Architecture
  RFI/RFI Response for both Greenfield and Brownfield Asset Model Information
Industry Standard Datasheet Definition (ISDDs)- Major Developments- Markus
  ISDD Build Process
  ISDD Mapping
  ISDD Use and Re-Use
  Major Breakthrough in Instrumentation ISDDs – Top 100 Now Achievable by Q2 2019
Working with Land O’ Lakes, NIST and Open Applications Group (OAGi) –Markus
  Industrial Internet of Things (IIOT) and other Sensor Data
  New CBM Use Case
  Contextualization based on MIMOSA CCOM and the OIIE
  CCOM and Breakdown Structure

## Slide 4: Asset Management Standardization for Critical Infrastructure Management: Workshop Outline – Part C
Initiation of the next phase of the OIIE/Oil and Gas Interoperability (OGI) Pilot – Alan
  Shared Piloting environment for OOs, EPCs and OEMs working with many software suppliers
  Next phase Includes 7 key OIIE Use Cases spanning CAPEX and OPEX (RFI through CBM)
  Engineering models developed by EPCs, as in a real project
  Validates all parts of OIIE, providing R&D Testbed for Digitalization and Interoperability
Collaboration with other Industry Associations, ISO and IEC - Alan
Q&A

## Slide 5: MIMOSA Organizational Summary
MIMOSA is a 501 (c) 6 mutual benefit association formed in 1997 to develop supplier-neutral standards enabling complex industrial assets, systems and associated processes to be modeled, monitored and managed, wherever they may be operated.
  Early funding: Office of Naval Research for Dual Use Technology (Industry and Military/Aerospace)
  Focus on “Asset Intensive” industries (often process industries and their suppliers)
  Members include Owner/Operators, OEMs and major industrial Software Suppliers
MIMOSA identifies and/or develops fit for purpose IM and IT standards to enable good practices (defined by other groups) to be deployed in a supplier-neutral manner.
MIMOSA’s recent focus: Industry Digital Business Transformation
  Based on the Digital Ecosystem paradigm
  Open Industrial Interoperability Ecosystem (OIIE): A supplier neutral ecosystem specification
  Adaptable, Repeatable, Scalable & Sustainable: decreasing costs & risks across the asset life-cycle
  Oil and Gas Interoperability Pilot (OGI Pilot): OIIE instance with Oil and Gas asset classes
  Enabling cross-sector Critical Infrastructure Management

## Slide 6: What is Critical Infrastructure
Critical infrastructure (or critical national infrastructure (CNI) in the UK) is a term used by governments to describe assets that are essential for the functioning of a society and economy – the infrastructure. – Wikipedia
Government led efforts have addressed key aspects of Security (physical and cyber) and Resilience (usually focused on disaster and emergency preparedness).
A key aspect of Critical Infrastructure is that it is Highly Interdependent.

## Slide 7: Critical Infrastructure Sectors – From US PPD 21-2013
Chemical
Commercial facilities
Communications
Critical manufacturing
Dams
Defense industrial base
Emergency services
Energy
Financial services (including insurance)
Food and agriculture
Government facilities
Healthcare and public health
Information technology
Nuclear reactors, materials, and waste
Transportation systems
Water and wastewater systems

## Slide 8: Critical Infrastructure Management
Critical Infrastructure Management Process
IIOT Sensors
Trusted Systems
Industrial Process Models
Systems Models
Components Models
Risk Models
Business Process Models
$

## Slide 9: Critical Infrastructure Management Process Public/Private Cross-Sector
Energy, Wastewater Management, Transport, IT
Enterprise 1 (Energy)
Plant 1
Plant 2
Enterprise 2 (Agriculture, Chemicals)
Facility 1
Multiple Sectors
Enterprises
Plant/Platform/Facility
Facility 2
Enterprise/Area/Unit
Industrial Process Models
Systems Models
Components Models
Business Process Models
Risk Models
Industrial Process Models
Systems Models
Components Models
Business Process Models
Risk Models
Industrial Process Models
Systems Models
Components Models
Business Process Models
Risk Models
Industrial Process Models
Systems Models
Components Models
Business Process Models
Risk Models

## Slide 10: Critical Infrastructure Interdependencies-1
IEEE Journal- Dec 2001
Identifying, Understanding, and Analyzing
Critical Infrastructure Interdependencies
Steven M. Rinaldi
James P. Peerenboom
Terrence K. Kelly

## Slide 11: Critical Infrastructure Interdependencies-1a
IEEE Journal- Dec 2001
Identifying, Understanding, and Analyzing
Critical Infrastructure Interdependencies
Steven M. Rinaldi
James P. Peerenboom
Terrence K. Kelly

## Slide 12: Critical Infrastructure Interdependencies-2
NIST Special Publication 1190
Community Resilience Planning Guide
For Buildings and Infrastructure Systems
Volume II
October 2015

## Slide 13: Critical Infrastructure Interdependencies-3
State Energy Resilience Framework
Global Security Sciences Division
December 2016
J. Philips, M. Finster, J. Pillon, F. Petit and J. Trail

## Slide 14: Critical Infrastructure Interdependencies-4
Incorporating Prioritization in Critical Infrastructure Security and Resilience Programs
Homeland Security Affairs 13, Article 7
(https://www.hsaj.org/articles/14091)
October 2017
Duane Verner, Frederic Petit, and Kibaek Kim

## Slide 15: Critical Infrastructure Interdependencies-5
NSW Critical Infrastructure
Resilience Strategy
Partner, Prepare, Provide
NSW Department of Justice | Office of Emergency Management
2018

## Slide 16: The Critical 5
The Critical Five was established in 2012 to enhance information sharing and work on issues of mutual interest between Australia, Canada, New Zealand, the United Kingdom and the United States.
One of the first efforts was to understand how each country addresses critical infrastructure as a basis for clearly articulating and communicating a common message on the value, meaning, and importance of critical infrastructure.
“Forging a Common Understanding of Critical Infrastructure” published March 2014.
“The Role of Critical Infrastructure in National Prosperity” published October 2015

## Slide 17: Australia, Japan and United States Trilateral Partnership
Announced July 31, 2018
  Australia: Minister for Foreign Affairs-The Hon Julie Bishop MP
  Japan: Japanese Bank for International Cooperation
  United States: United States Overseas Private Investment Corporation (OPIC)
Indo-Pacific region
Cooperation on Investment to:
  Build infrastructure
  Address development challenges
  Increase connectivity
  Promote economic growth

## Slide 19: Interrelated Problems
Critical Infrastructure Management is inherently Cross-Sector and has mostly been focused on Security (physical and cyber) and Disaster Mitigation, while discussing Resilience
Due to the interdependent nature of Critical Infrastructure, the consequences of failure of the key sector activities may be broad reaching and catastrophic (no matter the cause of the failure).
Major capital projects are routinely experiencing 25-50 percent cost overruns
Current Process for life-cycle management of Asset Information is highly fragmented and inefficient
Methods for modeling, monitoring and managing Processes, Systems and Components (Assets) are fragmented, even within a single industry sector

## Slide 20: The Proposed Solution
We propose a standardized approach to Model, Monitor and Manage the associated Processes, Systems, Components and Risks
Use Supplier-neutral Standards for Digitalization and Interoperability
Cooperation with Public and Private Sectors and Academia
Cooperation with NIST and DOE, results flow to ISO
When done as an integrated part of industrial life-cycle asset management
  Helps lower costs and risks in both CAPEX and OPEX
  Provides a basis for Cross-Sector Critical Infrastructure Management
  Provides the basis for a Supplier-Neutral industrial digital ecosystem specification
Open Industrial Interoperability Ecosystem (OIIE)-MIMOSA Branded, Supplier-Neutral
Oil and Gas Interoperability (OGI) Pilot
  Interoperability R&D Proving Grounds
  Gate Keeper for ISO 18101 (ISO OGI TS)

## Slide 21
P to B Stack:
Automation ERP
system
Primary business process: Operations
Secondary business process:
Establish and Maintain Operations Capability
Level R4
Level R3
Level R2
Level R0
Level R1

## Slide 22: Full Asset Life-cycle Management
Operate & Maintain (O&M)
End of Life
Product Model/Product=Component/Systems(Packages)/System of Systems/Plant/Facility/Platform Life-Cycles
Product
Design
Process
Engineer
Simulate
Completion,
Commission and Startup
Product
MFG
Continuous Improvement Feedback Loops
Construct
Procure
Device/Equip
Manufacturing
Platform Integrator
Capital Project
Owner/Operators
Derived from ISO TC 184
Manufacturing Asset Management Integration Task Force Final Report
Engineer
Design

## Slide 23: Standard OIIE/OGI Use Cases
Capital Projects
Complete/ Commission/ Startup
Operate/ Maintain
Decommission/ Dispose
Sustained Life-cycle Digital Asset Management
OIIE Use Case 1: Information handovers to O&M
OIIE Use Case 2: Recurring Engineering Updates to O & M
OIIE Use Case 3: Field Changes to Plant/Facility engineering
OIIE Use Case 4: Enterprise Product Data Library management (tied to ISDDs)
OIIE Use Case 5: Asset Installation/Removal Updates
OIIE Use Case 6: Preventive Maintenance Triggering
OIIE Use Case 7: Condition Based Maintenance Triggering
OIIE Use Case 8: Early Warning Notifications
OIIE Use Case 9: Incident Management/Accountability
OIIE Use Case 10: Automated Provisioning of O & M systems
Opportunistic Handover of Structured Digital Assets
Cross Project Activities
OIIE Use Case 11: Enterprise RDL Management
OIIE Use Case 12: RFI and RFI Response (Models Meeting Requirements and Model Information, Green and Brown Field)
OIIE Use Case 13: Lockout/Tagout
Yellow Use Cases in Phase 3 – Sub-Phase 1

## Slide 24: Digital Ecosystem-Why?
Wikipedia: The concept of Digital Business Ecosystem was put forward in 2002 by a group of European researchers and practitioners, including Francesco Nachira, Paolo Dini and Andrea Nicolai, who applied the general notion of digital ecosystems to model the process of adoption and development of ICT-based products and services in competitive, highly fragmented markets like the European one.
More recently, the term has been shortened to Digital Ecosystem

## Slide 25: Ecosystems and Interoperability
Supplier-specific Interoperability
  Lego
  Enterprise Resource Planning (ERP)
  Apple Ecosystem
Open Source
  Linux
  Android
Standards-based Interoperability
  Intermodal Transport
  Internet
  Industrial Internet of Things (IIOT)
  Open Industrial Interoperability Ecosystem (OIIE) – Embraces COTS & Open Source

## Slide 26: Supplier Neutral Industrial Digital Ecosystem Digital Ecosystem Concept Specialized For Process Industries
Enterprise Ecosystem Nodes
Com-ponents
Systems
Network of Enterprise Ecosystems
EPC
Ecosystem
Owner
Operator
Ecosystem
Interoperating Enterprise Digital Ecosystems
Supplier Neutral
Industrial Digital Ecosystem
OEM
Ecosystem
Systems
Com-ponents
Major suppliers of IT Infrastructure and Industrial Applications and Systems all want their ecosystem to be THE Ecosystem.

## Slide 27
Manufacturers
IT Networks
Automation and Control
Enterprise Business Systems
EPC Firms
IT Networks
Engineering , Procurement and Construction
Owner/Operators
IT Networks
Automation and Control
Enterprise Business Systems
Manufactured Asset Data
(Make/Model Information, Serial #)
Operations & Maintenance Data
(Monitoring, Diagnostics Prognostics)
PFD, P&ID, Tags, Docs
& Requirements
OEMs
Functional and Technical Requirements
Business Requirements
Model and Instance Information
OIIE Inter-Enterprise Systems Connectivity and Services Architecture
Enabling Industry 4.0
Notes: 7ohnyMy liukmhmmmm

## Slide 28: OIIE Intra-Enterprise Systems Connectivity and Services Architecture
Enterprise Business Systems
Engineering Design
IEC 62264 Messaging Service Model /OpenO&M Information Service Bus Model
Construction Management
Automation and Control
HSE and Operation Monitoring
Prognostic & Health Management
Automation Control Bus
Device
Sensor/ Transducer
Planning
Operations Management
Operations Risk Management
Maintenance Management
Trusted
Systems
Enterprise Reference Data Libraries
IIoT Device Metadata
OIIE Administration
Device
IIOT Device
Standard, Cloud Friendly Enterprise Solutions Architecture For Digital Business Ecosystems
IIoT Connections
ISBM Web Services
Industry Reference Data Libraries
IIoT Device Metadata
(ISO 15926, OTD, CDD…)
Shared Information and Semantic Context
(Constrained)
(Constrained)
Connectivity Legend
Inter-Enterprise Connections
Trusted IT/OT connections

## Slide 29: Contextualization for Open Industrial Interoperability Ecosystem using MIMOSA CCOM 4.x, ISA, OAGi, ISO and IEC Standards
Process Engineering-(CCOM Segment Networks)- PFDs
  Work Processes followed for CAPEX and OPEX (Intra and Inter-Enterprise)
  Production Process to be supported by Plant/Platform/Facility
Functional/Systems Engineering-(CCOM Segment Networks)- P&IDs , other schema
  System of Systems
  Systems (Functional Packages)
  Functional Locations (P&ID Tag)
  Components
  Sensors
Models - (CCOM Model) – Used for MFG Model and Package Model
Serialized Equipment & Devices-(CCOM Assets installed in CCOM Functional Locations)
Multiple Breakdown Structures as Needed- Taxonomic views of same CCOM objects
  Enterprise Breakdown – Enterprise/Area/Unit (ISA 95/88)
  Maintenance Breakdown Structure - (eg ISO 14224)
ISDDs - Property Sets for ALL Functional Locations, Equipment and Devices
IIOT- Data captured by Sensors is Contextualized by ALL of Above

## Slide 30: OIIE OGI Pilot Next Phase (s)
Objective- Drive Industry Digital Business Transformation
  Reach agreed “industry digitalization inflection point” by 2020
  Aligned with CII/Fiatech, IOGP and NIST Priorities
3 Sub-phases – 5 months each
  1st sub-phase– Validate ISDD Process, Add 50+ISDDs, Core OIIE Use Cases covering asset life-cycle
  Sub-phases 2 and 3 add AWP, 2 JIP 33 Packages, More OIIE Use Cases, ISDDs and suppliers, add target unit(s)
Sub-Phase 1 - Priority Use Cases covering key parts of life-cycle, using ISDDs for properties
  RFI/RFI Response (Greenfield) – Main source of information for Model Selection
  Install Assets on Functional Locations (Greenfield Capital Project)
  CBM Information Capture and Triggering (2 Device Classes with ISDDs, Instrument and Drive/Motor)
  Remove and Replace Use Case
  RFI/RFI Response (Brownfield) – Core for Information Remediation
Use Existing Debutanizer Tower Engineering Dataset (Originally provided by Worley Parsons) and Add To It
Focus on Condenser Unit which includes the instrument and equipment classes with existing ISDDs

## Slide 31: Debutanizer Tower P&IDs – Worley Parsons

## Slide 32: OIIE OGI Pilot Sub-Phase 1 Activities 1-4 (October 2018 – February 2019)
Debutanizer Tower Condenser Unit P&ID
Worley Parsons, Fluor
Bentley (CCOM XML)
P&ID Logical Connection information
MIMOSA Structured Digital Asset Interoperability Registry
RFI/RFI Response (Greenfield)
RFI Response – Models
RFI – Functional requirements
Capital Project Asset Installation
Request for Model properties (ISDDs)
Asset instances selected from RFI Response (defined using ISDDs)
Installed on P&ID Tag locations (defined using ISDDs)
Aveva, Hexagon (Proteus XML)
EPC
OEM
Procure

## Slide 33: OIIE OGI Pilot Sub-Phase 1 Activities 5-8 (October 2018 – February 2019)
Information Handover
From Capital Project to Operations and Maintenance
Condition Based Maintenance
Remove and Replace
Diagnostics
RFI/RFI Response (Brownfield)
Information Remediation
Over ISBM (Information Service Bus Model)
Prognostics
Advisory Generation

## Slide 34: Section End

## Slide 35: Digital Ecosystems and the OIIE
Markus Stumptner
Advanced Computing Research Centre
AI and Software Engineering Group

## Slide 36
AI and Software Engineering Group
About 20 members
AI + Software Engineering + Data Management
Major topics
  Reasoning about system behaviour
  Information and knowledge management in distributed ecosystems

## Slide 37
Projects in the Ecosystem Space
OT/IT Interoperability
Digital Information Energy Australia Gateway
OGI Pilot
Genetic Data Curation
SOA for Future Combat Systems
Automated Modelling for Combat Simulation Ecosystems
Integrated Law Enforcement – Federated Data Platform

## Slide 38
Activities in the OIIE Space
New Use Case for RFI/RFI Response in Greenfield and Brownfield
Industry Standard Datasheet Definitions (ISDDs) Project
  ISDD Build
  ISDD Management and Mapping
  ISDD Use and Reuse
Teaming with Land O'Lakes, OAGi and NIST
  CBM Use Case (Use of JSON and ISO 13374)

## Slide 39: Use Case 12: Request for Information and Response in Greenfield and Brownfield (RFI/RFI Response)

## Slide 40: Use Case 12
RFI/RFI Response in Greenfield
RFI/RFI Response in Brownfield Information Remediation
EPC
OEM
Functional Requirements (RFI)
Models Meeting Requirements (RFI Response)
O/O
OEM
Serial No, Requirements, Known Properties (RFI)
Matching Model(s) (RFI Response)

## Slide 41: User Stories for Use Case 12 in Greenfield

## Slide 42: Story M100: Start Unit Functional Requirements
Client Business Person
1.We need to build a light ends unit to remove butane from our incoming crude supply
Client Engineer
2.a How Much Capacity Do We Need?
b. What will the incoming crude spec be?
Debutanizer
PFD and P&ID
Functional Requirements
A

## Slide 43: Story M101: Model Selection
Client Engineering Person
1. We need to buy equipment and instruments meeting or exceeding functional requirements taken from PFD and P&IDs for the new Debutanizer Tower.
Client
Purchasing
2. Send me the Requirements from those documents and I will check with our preferred suppliers.
Debutanizer
PFD and P&ID
Instrument or Equipment Supplier Portals
Requirements (RFI)
Models Meeting Requirements (RFI Response)
Requirements
A
B
3.P2M Dialog

## Slide 44: User Story for Use Case 12 in Brownfield Information Remediation

## Slide 45: Story M102: Make/Model Match-up
Maintenance and Reliability
Manager
1. We have a large number of instruments in our Debutanizer Tower, but we do not know the Models or many of the Properties.
Asset Information Manager
2. I will send RFIs requesting Manufacturer to send us their corresponding Models and the properties for those models
Equipment and Instrument OEM
3. RFIs
4. RFI Responses

## Slide 46: Industry Standard Datasheet Definition (ISDD)

## Slide 47: Industry Standard Datasheet Definition (ISDD)
Capture existing Industry Standard Datasheets (ISDs) as machine interpretable business objects that are then fully re-usable, mappable and extensible.
  Provide standard XML exchange schema for exchanging datasheet oriented information
  Mappable to existing OEM and O/O Datasheets
Capture high-value properties from existing, high-value ISDs published by credible industry associations including API, ASME, IEC, ISA, ISO, NORSOK and PIP.
Support Asset’s full life-cycle information management
  Data sheets are not used just for procurement
  Improves ability to procure, install, commission, operate and maintain assets with reduced effort, cost and schedule

## Slide 48: Data Sheets
Functional Segments can be associated with data sheets to specify functional requirements
Models can be associated with data sheets to specify characteristics of equipment of that model
Equipment Assets can be associated with data sheets to specify characteristics of that equipment
Segment and Asset Types can have data sheet templates (AttributeSetDefinitions) to support class libraries

## Slide 49: Industry Standard Data Sheets (ISDs)
Currently have identified 263 source ISDs in common use
Most commonly identified ISD publishers are listed below
API | 15 (+20 ISO equivalents)
ASME | 2 (+1 ISO equivalent)
IEC | 10
ISA | 166
ISO | 28
NORSOK | 31
PIP | 11

## Slide 50: Condenser Unit of Debutanizer Tower P&ID
API 660 Shell and Tube Heat Exchanger Data-sheet
ISA 20T2221 RTD/Thermocouple Temperature Transmitter or Switch Revision 1 Data-sheet
Equipment class ISD
Instrument class ISD

## Slide 51: Industry Standard Datasheet Example (ISA Rev 0)
ISA 20T2221 Device Specifications
Temperature Transmitter
ISA 20T1001 Operating Parameters
Datasheet
Picklist
Datasheet
Picklist

## Slide 52: Industry Standard Datasheet Example (ISA Rev 1)
ISA 20T2221 Operating Parameters + Device Specifications
Temperature Transmitter
Datasheet + Picklist
Datasheet + Picklist

## Slide 53: ISDD Phases
Use
  XML
  Excel
  JSON (Work-in-progress)
Publish
  MIMOSA Website
Map
  ISO 15926 PCA RDL
  Energistics Unit of Measure
  MIMOSA CCOM Reference Data
  ISA 20 Picklists
  USPI CFIHOS RDL
  IEC Common Data Dictionary
  ECCMA Open Technical Dictionary
Build

## Slide 54: Building ISDDs

## Slide 55: Current ISDD Build Process
Applies to ISDs from all sources ISA (Rev 0, Rev 1), API, IEC..
Degree of automation differs based on the complexity/consistency of the datasheet
ISA highly automatable, API much more difficult
Manual QA review identifies issues with extracted properties and issues/ambiguities in source datasheets
XML–primary CCOM format
Excel Spreadsheet–for Human Readability
JSON–for IoT, light-weight data exchange

## Slide 56: Estimated ISDD Build Process Efforts
Estimated level of effort per class for ISA and API ISDs
  ISA-Build ISDDs - 3.5 Hours/Class
  API-Build ISDDs - 3, 7 or 10 Days/Class/Sub-Class
Estimated level of effort per class to “convert” CFIHOS classes
  2 Hours/class assuming CFIHOS logically correct and consistent
  Automated conversion with manual QC review

## Slide 57: Current ISDD Status

## Slide 58
ISDD
Equipment Type
Temperature Transmitter
Attribute Set Definition
20T2221 Device Specifications
Attribute Group Definition
RESPONSIBLE ORGANIZATIONS
Attribute Definition
Housing Type (Line 12)
Attribute Type
Housing Type
Enumeration
Housing Type
Enumeration Items
Extruder bolt
High pressure
Attribute Group Definition
PROTECTIVE SHEATH AND FITTING
Attribute Set Definition
20T1001 Operating Parameters
Attribute Definition
Pad/Collar Type (Line 13)
Attribute Type
Pad/Collar Type
ISA 20T2221 Datasheet
ISA 20T2221 Picklist

## Slide 59
ISDD Instance
Equipment Type
Temperature Transmitter
Attribute Set
20T2221 Device Specifications
Attribute Group
RESPONSIBLE ORGANIZATIONS
Attribute
Housing Type = high pressure
Attribute Group
PROTECTIVE SHEATH AND FITTING
Attribute Set
20T1001 Operating Parameters
Attribute
Pad/Collar Type = 1x1 flat parallel
ISA 20T2221 Datasheet
ISA 20T2221 Picklist
Attribute Type
Housing Type
Enumeration
Housing Type
Enumeration Items
Extruder bolt
High pressure
Attribute
Fitting conn nominal size = ½ in
Attribute
Mounting fitting type = compression
….

## Slide 60
ISDD Definition
ISDD Instance
AttributeSet, AttributeGroup and Attribute in an ISDD instance will refer to its definition in the ISDD definition.
AttributeSet and Attribute in an ISDD Definition will have their type set to their respective AttributeSetType and AttributeType.

## Slide 61
Temperature Transmitter
20T2221 Device Specifications
20T2221 Device Specifications
RESPONSIBLE ORGANIZATIONS
PROTECTIVE SHEATH AND FITTING
Housing Type (Line 12)
Pad/Collar Type (Line 13)
Housing Type = high pressure
RESPONSIBLE ORGANIZATIONS
PROTECTIVE SHEATH AND FITTING
Pad/Collar Type = 1x1 flat parallel
Housing Type
Pad/Collar Type

## Slide 62: Conformance Testing using ISDD
DATA SHEET DEFINITION (ISDD)
DATA SHEET (ISD)
MAX OPERATING TEMPERATURE
MAX OPERATING PRESSURE
MECHANICAL SEAL DIAMETER
SHAFT MATERIAL
MAX OPERATING TEMPERATURE
MAX OPERATING PRESSURE
Property
Property
Value
140
°C
13
bar
Req’d
Y
Y
Y
N

## Slide 63: Mapping ISDDs

## Slide 64: Mapping ISDDs
Equipment Type
Temperature Transmitter
Attribute Set Definition
20T2221 Device Specifications
Attribute Group Definition
RESPONSIBLE ORGANIZATIONS
Attribute Definition
Housing Type
Attribute Type
Housing Type
Enumeration
Housing Type
Enumeration Items
Extruder bolt
High pressure
Attribute Group Definition
PROTECTIVE SHEATH AND FITTING
Shared Reference Data Library
Temperature Device
(Equipment Type)
Organisation Metadata (Property Class)
Sheath and Fitting Data
(Property Class)
Temp. Device Housing
(Property Type)
Temp. Device Housing Values
(Picklist)
Extruder Bolt Housing
High Pressure Bolt Housing
Mappings defined and queried based on MIMOSA CIR specification.
Supports terminological mappings and resolution within an OIIE
Modified CIR spec to enable ISO 22745 conformance.
mapping

## Slide 65: Vendor/Supplier-to-ISDD Mapping Process
  E.g. ISA 20P2301 Differential Pressure Device Specifications
  Map the model Properties, “Picklist” values, etc. to those of the identified ISDDs in the CCOM representation
  Relevant Properties, “Picklist” Values, UoMs, etc., for the model
  Similar to building an ISDD
  E.g. Yokogawa EJX110A Differential Pressure Transmitter
1. Select Model Specification/ Datasheet
2. Create CCOM Representation
3. Identify Relevant ISDDs
4. Map Model Information to ISDD Properties

## Slide 66: 1. Select a Model Specification
The EJX110A Differential Pressure Transmitter specification defines a type of differential pressure transmitter, where any physical device of this type is in a particular configuration as described by model specification suffix code.
Only when a particular configuration or ‘model variant’ is selected do all of the properties defined by the specification have concrete values.

## Slide 67: 2. Create CCOM Representation
Equipment Type
Diff. Pressure Transmitter
Attribute Set Definition
EJX110A General Specifications
Attribute Definition
Output signal [Level 1]
Attribute Type
Output Signal
Enumeration
Output Signal
Enumeration Items
4 to 20 mA DC, w/ digital (BRAIN) [-D]
Digital, FOUNDATION protocol [-F]
Attribute Group Definition
OPTIONAL CODES
Attribute Definition
Measurement span (capsule) [level 2]
Attribute Type
Measurement span
Model
Yokogawa - EJX110A
Attribute Group Definition
MODEL AND SUFFIX CODES
Enumeration
Measurement span
Enumeration Items
0.1 to 5kPA (0.4 to 20 inH2O) [F]
0.1 to 10kPa (0.4 to 40 inH2O) [L]

## Slide 68: 3. Identify Relevant ISDDs
20P2301 Device Specifications
Datasheet
Equipment Type
Diff. Pressure Transmitter
Attribute Set Definition
20P2301 Device Specifications
Attribute Definition
Output signal type (Line 35)
Attribute Type
Output signal type
Enumeration
Output signal type
Enumeration Items
analog current
digital multi-variable
Attribute Group Definition
TRANSMITTER
Picklist
Attribute Definition
Min diff pressure span (Line 28)
Attribute Type
Min diff pressure span
Enumeration
Min diff pressure span
Enumeration Items
0.4

## Slide 69: 4. Map Model Information to ISDD Properties
Equipment Type
Diff. Pressure Transmitter
Attribute Set Definition
EJX110A General Specifications
Attribute Definition
Output signal [Level 1]
Attribute Type
Output Signal
Enumeration
Output Signal
Enumeration Items
4 to 20 mA DC, w/ digital (BRAIN) [-D]
Digital, FOUNDATION protocol [-F]
Attribute Group Definition
OPTIONAL CODES
Attribute Definition
Measurement span (capsule) [level 2]
Attribute Type
Measurement span
Model
Yokogawa - EJX110A
Attribute Group Definition
MODEL AND SUFFIX CODES
Enumeration
Measurement span
Enumeration Items
0.1 to 5kPA (0.4 to 20 inH2O) [F]
0.1 to 10kPa (0.4 to 40 inH2O) [L]

## Slide 70: Publishing ISDDs

## Slide 71: Publishing ISDDs
Downloadable from MIMOSA website as a set of ZIP archives.
Each (version of an) ISDD will have its own archive containing the following four files:
  “Load” file in Excel format - provides a simplified view for aiding understanding.
  CCOM XML - the normative data.
  CCOM data in Excel format - non-normative, considered as documentation to aid understanding.
  Reverse engineered single column datasheet in Excel - produced from the ISDD load file, similar to the original datasheet.
Additional CCOM XML files containing reference data shared across ISDDs will also be provided, for example, a CCOM XML file for ISA-based property types will be provided. All ISA-based ISDDs will reference this file.
Due to copyright and licensing, original ISDs will not be made available

## Slide 72: Using ISDDs
Re-visiting User Stories for RFI/RFI response
Show-casing the use of ISDDs

## Slide 73: Story M001:OIIE Configuration – ISDD Selection
Client Ecosystem Admin
1. What datasheets (ISDDs) do we need in our OIIE instance?
Client Engineer??
(May be EPC)
2. We need API 610 Centrifugal Pump, ISA 20C1001 (Control Valve, OP), …
ISDD Defns.
MIMOSA Reference OIIE Instance
(InteropRegister and ISBM @ mimosa.org)
Client OIIE System
3. ISDD selection
4. Provisioning of local system with ISDD definitions

## Slide 74: Story M002:OIIE Configuration – ISDD Customisation
ISDD defns.
5. Properties A, B, C should only be shared with partners.
4. Do we need to restrict the export of any datasheet properties?
Client Ecosystem Admin
1. What non-standard properties do we need in the datasheets?
Client Engineer??
(May be EPC)
2. We need properties X, Y, Z for the Centrifugal Pump
Client OIIE System
3. ISDD extension dialog
6. Property restriction config dialog
Extended ISDD definitions
Client Business Manager??

## Slide 75: Story M100:Start Unit Functional Requirements
Client Business Person
1.We need to build a light ends unit to remove butane from our incoming crude supply
Client Engineer
(May be EPC)
2.a How Much Capacity Do We Need?
b. What will the incoming crude spec be?
Debutanizer
PFD and P&ID
Functional Requirements
A
ISDD Instances
Notes: It is critical to understand how the functional requirements are established during a capital project and later included in the O&M environment, as they provide the requirements which drive purchases of devices and also establish the operational context for devices once they have been installed. It is also important to know that owner/operators generally assign their own Asset Tags, which they use instead of Serial Numbers provided by any OEM. In an IIOT or Industry 4.0 scenario, the owner/operator will generally be seeking help associated with a Functional Location Tag and/or an Asset Tag, rather than a Serial Number. The OEM needs to be prepared to participate in M2M dialogs with this understanding and to help the Owner/Operator establish the pairing between Serial Numbers and Asset Tags, as well as understanding how to help diagnose problems associated with Functional Location Tags. There may also be a business opportunity to help populate the Owner/Operator systems with more information about the devices and equipment, which they will otherwise be forced to enter on a manual basis or try to operate with incomplete information. The Functional Requirements information which is started in this Storyboard is often capture in a PFD and that information will be flowing into all of the subsequent Storyboard Interactions. The first step in that flow starts with connector A.

## Slide 76: Story M101:Model Selection
Client Engineering Person
1. We need to buy equipment and instruments meeting or exceeding functional requirements taken from PFD and P&IDs for the new Debutanizer Tower.
Client
Purchasing
(May be EPC)
2. Send me the Requirements from those documents and I will check with our preferred suppliers.
Debutanizer
PFD and P&ID
Instrument or Equipment Supplier Portals
Requirements
Models Meeting Requirements
Requirements
A
B
3.P2M Dialog
ISDD Instances
Functional places
ISDD Instances
for Models
ISDD defns.
for Models
Notes: The preliminary Functional Requirements information established in Storyboard Slide 1 is flowing to Slide 2 using Connector A. In this case, we are assuming that Client Engineering Person is starting with PFD information generated in Slide 1. This is then converted into P&ID level information, where a Functional/Physical level of detail is included. The Functional/Physical level of detail is where specific Functional Locations are identified for specific equipment and devices, (in this case, specifically including Instruments), which is where the functional/business requirements come from for OEM devices and equipment. This information flows through Connector B to the subsequent Storyboard Slide 3, where As Built information is added to the same Functional/Physical requirements. Over time this results in what is called a “Digital Twin” digitally modeling the physical Unit.

## Slide 77: OIIE/OGI Standardized Use Case Structure
Use Cases
Scenarios
Events
Background
Actors
Individual Message Exchange
Scope
Preconditions
Successful End Condition
Data Content
Data Formats
Reference Data
(OIIE) Events
Information Service Bus Configuration
Specific Data Content
CCOM BODS are an implementation of Events
Required data processing
Expected Response Event (if any)
  Actors
  Triggers
  Process Workflows
  Scenarios
User Stories
High-level
Pictographic
Depict 1 or more Use Cases, Scenarios, and/or Events
Actors, Systems, Exchanges, Data
User Stories

## Slide 78: Use Case 12: RFI/RFI Response in Brownfield Information Remediation
Scenario: RFI for Possible Models of an Asset
Scenario: RFI Standard Model Properties
Event 1: Process Model Request For Asset
Event 2: Acknowledge Model Request For Asset
Event 4: Show Standard Datasheets
Event 3: Get Model Datasheets

## Slide 79
Use Case 12:
Brownfield Information Remediation
Scenario: RFI for Possible Models of an Asset
Scenario: RFI Standard Model Properties
Event 1: Process Model Request For Asset
Event 2: Acknowledge Model Request For Asset
Event 4: Show Standard Datasheets
Event 3: Get Model Datasheets

## Slide 80
XSLT
instance
ISDD
ISDD Instance
CCOM
CCOM
Simplified Schema of ISDD
Simplified ISDD Instance
CCOM
CCOM
XSLT
instance
<?xml version="1.0" encoding="UTF-8"?>
<xs:schema xmlns:xs="http://www.w3.org/2001/XMLSchema" xmlns="http://www.mimosa.org/ccom4-isdd">
<xs:include schemaLocation="isdd.xsd"/>
<xs:complexType name="ISA-20T2201" abstract="false">
<xs:complexContent>
<xs:extension base="ISDDInstance">
<xs:sequence>
<xs:element name="RESPONSIBLE-ORGANIZATIONS" minOccurs="1" maxOccurs="1">
<xs:complexType>
<xs:complexContent>
<xs:extension base="ISDDGroup">
<xs:sequence>
<xs:element name="RESPONSIBLE-ORGANIZATION-1" minOccurs="0">
<xs:complexType>
<xs:simpleContent> <xs:restriction base="ISDDAttribute"/> </xs:simpleContent>
</xs:complexType>
</xs:element>
……..
…….
</xs:sequence>
</xs:extension>
</xs:complexContent>
</xs:complexType>
</xs:element>
<xs:element name="SPECIFICATION-IDENTIFICATIONS" minOccurs="1" maxOccurs="1">
<xs:complexType>
<xs:complexContent>
<xs:extension base="ISDDGroup">
<xs:sequence>
<xs:element name="Document-No." minOccurs="0">
<xs:complexType>
<xs:simpleContent><xs:restriction base="ISDDAttribute"/></xs:simpleContent>
</xs:complexType>
</xs:element>
……..
……..
</xs:sequence>
</xs:extension>
</xs:complexContent>
</xs:complexType>
</xs:element>
……..
………
</xs:sequence>
</xs:extension>
</xs:complexContent>
</xs:complexType>
</xs:schema>
Simplified Schema of ISDD

## Slide 81: CCOM BODs Conceptual Approach Example
*Request For Information
Respond By = 2018-06-06
Request Type
Model Request for Asset
Asset
Serial No. = XYZ0001
Attribute Set
Attribute Group
Attribute
Model Spec. No. = …
Attribute Group
Attribute
Temp. Min. = -15o
Segment
Functional Location TS001
Attribute Set
ISDD Instance
Attribute
Temp. Max. = 90o
Agent
Owner/Operator
Asset Installation Event
Installed At: 2017-06-06
BOD Noun
Process Model Request For Asset
from
about
installed asset
installed location
type
has
has
has
has
has
has
Model Request (Request For Information)
From Agent (Agent: Owner/Operator)
Asset (Asset: with S/N XYZ0001)
From Agent (Agent: Owner/Operator)
Serial Number (XYZ0001)
Functional Location (Segment: Functional Location TS001)
Asset Installation Date (2017-06-06)
Functional Requirements (Attribute Set: ISDD Instance)
Group (Attribute Group)
Attribute (Attribute: Temp. Min. = -15o)
Attribute (Attribute: Temp. Max. = 90o)
Respond By (2018-06-06)
Notes: * Indicates object of interest
A standard CCOM XML dump of the left-hand side would result in a deeply nested structure containing everything on the left.
For a BOD, the depth is restricted and important information explicitly represented at the top-level of the “noun”, even if it is far away from the main object of interest (i.e. the Request for Information object)
If the first degree of separation is always nested for the primary object of interest, there may be some duplication of references. (e.g. ‘From Agent’)
This nested information can be left out as it can be reconstructed from the BOD contents.

## Slide 82
BOD: ProcessModelRequestForAsset
Application Area
Data Area
Verb: Process
Noun: ModelRequestForAsset
MIMOSA CCOM
ISDD Instance
(Functional Requirements)
ISDD Instance
(Model Information)
Entity
(e.g. Asset, Functional Location)
ISDD Instance
(Functional Requirements)
ISDD Instance
(Model Information)
Simplified ISDD Instance XML (Model Information)
<ISDDInstance xsi:type="ISA20T2201"
xmlns="http://www.mimosa.org/ccom4-isdd"
xmlns:xsi="http://www.w3.org/2001/XMLSchema-instance">
<UUID>83641788-187f-4be1-96bf-c1bfe517f94f</UUID>
<EntityUUID>78807960-cf6a-4524-94bd-b06d0cc1405d</EntityUUID>
<EntityShortName>RTD Assembly-T1</EntityShortName>
<RESPONSIBLE-ORGANIZATIONS>
<RESPONSIBLE-ORGANIZATION-1>Example O/O</RESPONSIBLE-ORGANIZATION-1>
</RESPONSIBLE-ORGANIZATIONS>
<SPECIFICATION-IDENTIFICATIONS>
<DocumentNo>1002468</DocumentNo>
…
</SPECIFICATION-IDENTIFICATIONS>
<PROTECTIVE-SHEATH-AND-FITTING>
<HousingType>extruder bolt</HousingType>
<PadCollarType>1x1 flat parallel</PadCollarType>
<FittingConnNominalSize>1/8 inch</FittingConnNominalSize>
<FittingConnTermnStyle>NF thd</FittingConnTermnStyle>
…
</PROTECTIVE-SHEATH-AND-FITTING>
…
</ISDDInstance>
Brownfield Information Remediation
Business Object Document
Scenario: RFI for Possible Models of an Asset
Scenario: RFI Standard Model Properties
Event 1: Process Model Request For Asset
Event 2: Acknowledge Model Request For Asset
Event 4: Show Standard Datasheets
Event 3: Get Model Datasheets

## Slide 83
BOD: ProcessModelRequestForAsset
Application Area
Data Area
Verb: Process
Noun: ModelRequestForAsset
Scenario: RFI for Possible Models of an Asset
Scenario: RFI Standard Model Properties
Event 1: Process Model Request For Asset
Event 2: Acknowledge Model Request For Asset
Event 4: Show Standard Datasheets
Event 3: Get Model Datasheets
MIMOSA CCOM
Entity: Temperature Transmitter
ISDD Instance
ISDD Instance
(Operating Parameters)
ISDD Instance
ISDD Instance
(Device Specifications)
MIMOSA CCOM
Entity: Pressure Transmitter
ISDD Instance
ISDD Instance
(Operating Parameters)
ISDD Instance
ISDD Instance
(Device Specifications)
ISA 20P2201
Operating Parameters
ISA 20P1001
Device Specifications
ISA 20T2201
Operating Parameters
ISA 20T1001
Device Specifications
Brownfield Information Remediation
With Multiple Devices

## Slide 84: How do Owner/Operators and Suppliers use ISDDs?
Use ISDD as-is
Extend ISDDs (for custom properties)
Re-use ISDDs (for common properties)
Restrict ISDDs

## Slide 85: Extending an ISDD

## Slide 86: ISDDs Support Extensions
Extensions through single inheritance
Allow common properties to be “grouped” together at an equipment super class
  Thus changes at a super class ISDD are also reflected in sub class ISDD
  Reduces work for ISDD authoring (as long as a suitable equipment taxonomy is in place)
Owner/Operator Extensions
Project Extensions

## Slide 87: Re-using ISDDs

## Slide 88: ISDDs Support Re-use (CCOM 4.1 onwards)
Reuse of Attribute (Set/Group) Definitions across many different entity types
More flexible reuse than single inheritance ‘parent’ relationship
Ability to reuse multiple attribute sets
Reduce duplication of Attribute (Set/Group) Definitions
parent
Device (Type)
OEM Metadata
Temperature Transmitter
Temp. Trans. Properties
OEM Model XJC Temp. Trans.
XJC Properties
Pressure Transmitter
Cannot modify
for
for
for
OEM Metadata
group
Copy of
Aim to avoid this type of duplication.
includes
parent
Extended Metadata
includes

## Slide 89: ISDD Path Forward
Use ISDDs to define the property sets associated with all Functional Locations, Models and Uniquely Identified Assets
Allow new ISDD versions to be applied to existing Sites, Areas and Units under an MoC process
Use ISDDs for packages
ISDD Team will
  develop, publish and maintain most important ISDDs
  develop and publish associated documentation for each ISDD it publishes.
  develop and publish requirements documentation
  develop associated validation process, using OIIE/OGI Pilot testbed
Future candidate ISDDs can then be built by anyone and submitted as candidates for validation and publication by MIMOSA

## Slide 90: ISDD Build and Use Plan for 2018/2019
75 ISA Rev 1 Sheets
OIIE/OGI Pilot
Sub-Phase 1
A
Numbers of Properties on ISDs
All properties needed for digitalization
ISA- 150-350
API- 100-900*
CFIHOS
Limited number of properties based on current industry use practices
+ISDDs based on CFIHOS Classes
+15
O
t
h
e
r
I
S
D
D
S
D
+5
O
t
h
e
r
I
S
D
D
S
B
Will work with members and industry to prioritize Sets B and D and work around strategy for all remaining classes.
Business-Driven Work Arounds
ISA Rev 1 Sheets can now be converted to ISDDs through mostly automatic processing.
+25 ISA Rev 1 Sheets
OIIE/OGI Pilot
Sub-Phase 2
C

## Slide 91: Package ISDDs: The Bigger Picture
Devices &
Equipment
Complex Unit
Equipment
Packages
ISDDs for Devices & Equipment
Standardised ISDD Group for Package
Pumping Package

## Slide 92: Business Object Document for Packages
BOD: ProcessModelRequestforPackage ProcessModelRequestForPackage
Application Area
Data Area
Verb: Process
Noun: ModelRequestForPackage
MIMOSA CCOM
Entity: VF AC Drive
ISDD Instances
Entity: Controller
ISDD Instances
Use Case:
Make-Model Match-Up (Package)
Scenario: RFI for Possible Models for Package
Scenario: RFI Standard Model Properties
Event 1: Process Model Request For Package
Event 2: Acknowledge Model Request For Package
Event 4: Show Standard Datasheets
Event 3: Get Model Datasheets
Entity: Centrifugal Pump
ISDD Instances
Use case for Make-Model Match-Up
Scenarios for individual devices, equipment and packages.
Scenario for retrieving model datasheets is reused across use cases.
BOD for packages ensures the request is treated as a whole
Package
ISDD Instance

## Slide 93: Use Cases 7 & 14: Condition Based Maintenance & IIoT

## Slide 94: Open Industrial Interoperability Ecosystem Use Cases for Condition Based Maintenance
Currently, three use cases related to CBM:
  Use Case 5: Asset Installation/Removal Updates
  Use Case 7: Condition Based Maintenance Triggering
  Use Case 14: Condition Based Maintenance Information Collection
Collectively describe the:
  collection of measurement data: Scenarios 29, 30, 31, 32
  generation of diagnostics, prognostics, and advisories: Scenarios 14
  creation of a work order to repair/replace the equipment: Scenarios 15, 16
  replacement of the equipment that will/has fail(ed): Scenarios 10, 11
Assume other use cases (handover/provisioning) as prerequisites that set up the context in which CBM operates
  Context maintained on event-driven basis (Configuration Change)

## Slide 95: Contextualization for Open Industrial Interoperability Ecosystem using MIMOSA CCOM 4.x, ISA, OAGi, ISO and IEC Standards
Process Engineering – (CCOM Segment Networks) – PFDs
  Work Processes followed for CAPEX and OPEX (Intra and Inter-Enterprise)
  Production Process to be supported by Plant/Platform/Facility
Functional/Systems Engineering – (CCOM Segment Networks) – P&IDs , other schema
  System of Systems
  Systems (Functional Packages)
  Functional Locations (P&ID Tag)
  Components
  Sensors
Models – (CCOM Model) – Used for MFG Model and Package Model
Serialized Equipment & Devices – (CCOM Assets installed in CCOM Functional Locations)
Multiple Breakdown Structures as Needed – Taxonomic views of same CCOM objects
  Enterprise Breakdown – Enterprise/Area/Unit (ISA 95/88)
  Maintenance Breakdown Structure – (eg ISO 14224)
ISDDs – (Standardized) Property Sets for ALL Functional Locations, Equipment and Devices
IIOT – Data captured by Sensors is Contextualized by ALL of Above

## Slide 96: Example—Segments and Asset Configuration
Segment
Holding Tank
T-001
AssetSegmentEvent
Install
8 Jan 2018
Asset
Tank
Serial # TXZ-738
Segment
Pasteurizer
P-001
AssetSegmentEvent
Install 30 Jan 2018
Asset
Pasteurizer
Serial # PZR-3246
Organization
UniSA Farm Co.
Site
Mawson Lakes
Breakdown Structure
Primary
Segment
Holding Tank
T-002
AssetSegmentEvent
Remove 10 Jan 2018
AssetSegmentEvent
Install 12 Jan 2018
Asset
Tank
Serial # TYA-234
Asset
Tank
Serial # TYA-637
Model
Tank TYA
Model
Pasteurizer PZR 5000
Manufacturer
UniSA Parts Services
Manufacturer
Parts and Associated
Model
Tank TXZ Series

## Slide 97: Example—Components & Measurement Locations
Asset
Pasteurizer
Serial # PZR-3246
Model
Pasteurizer PZR 5000
Breakdown Structure
Primary
Segment
Feed Tank T1
Segment
Feed Pump P2
Segment
Product In Tube
PIT 3
Segment
Temperature Sensor TS-1
Asset
Tank
Serial # MT-456
Asset
Pump
Serial # PF332
Asset
Tube
Asset
Temp. Sensor
Serial # TS-999
AssetSegmentEvent
Install
1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
Measurement Location
Temp. Loc. 1
Measurement Location
Temp. Loc. 1
Supports both Asset-
and Segment-based
MeasurementLocations
Transducer
Segment
Temperature Sensor TS-2

## Slide 98: Example—Mesh Networks
Model
Pasteurizer PZR 5000
Segment Mesh
PZR Connections
Segment
Feed Tank T1
Segment
Feed Pump P2
Segment
Product In Tube
PIT 3
Segment Connection
Segment Connection
Segment
T1 Outlet
Segment
P2 Inlet
Segment
PIT 3 Inlet
Segment
P2 Outlet
parent
parent
parent
parent
from
to
from
to
And similar at
the Asset level

## Slide 99: OIIE Systems and Scenarios Landscape
SDAIR

## Slide 100: Condition Based Maintenance and IIoT
Inter-Enterprise via ISBM
Automated System Bus
Operational Risk Management System
Device Manufacturer Supplying Remote Diagnostic/Prognostic/Advisory Support
Owner/Operator
Intra-Enterprise ISBM
IIoT Device
IIoT Device
Automation and Control
HSE and Operation Monitoring
Prognostic & Health Management
Sensor/ Transducer
Device
Device
HSE and Operation Monitoring
Prognostic & Health Management
Maintenance Management System
IIoT Device
May be same physical instance as the intra-enterprise ISBM
Internally may have some or none of these systems.
Support for different protocols as required by industry.
Support for different protocols as required by industry.
Supports remote queries for measurement data and publishes advisories via ISBM.
SDAIR
Registry of digital asset data for contextualisation.
ERP
Notes: Architectural diagram
Sensors -> Measurements -> Diagnostics/Prognostics (Analysis) -> Advisory (Operational Risk Management System) -> Maintenance Management System
Diagnostics/Prognostics may come from same “chip”
Local diagnostic/advisory (Control System and/or ISBM)
Inter-enterprise diagnostic/measurement info: query-based over ISBM
Show both OPC UA and CCOM REST/JSON API

## Slide 101: User Stories for CBM Use Cases

## Slide 102: CBM According to ISO 13374
ADVISORY GENERATION (AG)
PROGNOSTICS ASSESSMENT (PA)
HEALTH ASSESSMENT (HA)
STATE DETECTION (SD)
DATA MANIPULATION (DM)
DATA ACQUISITION (DA)
External Systems,
Data Archiving, & Block Configuration
Technical Displays & Information Presentation
Machine condition assessment data processing & information flow blocks.
Sensor / Transducer / Manual Entry

## Slide 103: Story M200: Condition Information Collection (Trusted)
Operational Risk Management
(ORM) System
Equipment XXX
1. Condition Information
Device/Instrument
2a. Measurements
2b. Condition Information
B
* CMS could be running autonomously or
responding to human requests
Condition Monitoring System (CMS)
Sensor/Instrument

## Slide 104: Story M201a: Condition Information Collection (IIoT) Authorization
Maintenance Engineer
A1. I need to obtain entry to the Trusted Systems to send my data to ORM*
Equipment XXX
Sensor/Instrument
OIIE
Authentication (through ISBM)
OIIE Authorization
A2. Request Access
A3. Authorization Granted
OIIE Authorization
B3. Authorization Granted
B2. Request Access
B1. I need to obtain entry to the Trusted Systems to send my data to ORM*
* Operational Risk Management System
Notes: IIoT == edge connection

## Slide 105: Story M201b: Condition Information Collection (IIoT)
Maintenance Engineer
1. I need to check the condition of equipment XXX
Operational Risk Management System
Equipment XXX
4a. Condition Information
(Assigned by Human)
Sensor/Instrument
2. Take vibration measurements
(Triggered by Human)
4b. Condition Information
(Assigned by CMS)
B
3a. Vibration
measurements
* Condition Monitoring System could be
running autonomously or responding to
human requests
Condition Monitoring System
OIIE Authorization
OIIE Authorization
3b. Measurements

## Slide 106: Story M202: CBM Diagnostic/Prognostic/Advisory Generation
Operational Risk Management System
B
Maintenance Management System
1. I have detected an incipient failure of equipment XXX
2. Lodge Request for Work for equipment XXX
3b. Confirm request with Work Request
Work Request YYY
C
3a. Generate Work
Request

## Slide 107: Story M203: Plan Corrective Maintenance (Remove/Replace)
Maintenance Planner
1. I need to schedule the maintenance of equipment XXX according to Work Request YYY before it fails.
Work Order ZZZ
C
2. Generate and schedule Work Order
Maintenance Management System
Operational Risk Management System
3. Notify ORM of Work Order ZZZ
4. I need to keep track of the Work Order so I know when it is time to shut down the machine and when it is complete.
D
Work Request YYY

## Slide 108: Story M204: Maintenance & Status Updates
Maintenance Technician
1. I need to perform maintenance on equipment XXX according to Work Order ZZZ
D
Work Order ZZZ
Maintenance Management System (MMS)
3. Publish update
4. Record Installation*
Work Status “Removed”
2. Record Removal*
Work Status
“Installed”
5. Publish update
Maintenance Supervisor
6. The work looks complete. I will sign off on it and close the Work Order ZZZ.
Work Status
“Closed”
7. Publish update
E
6. Close work
order ZZZ
3, 5. Work order ZZZ
Status Updates
* Asset Remove and Asset Install Events (dis-)establish relationship between Assets and Functional Locations

## Slide 109: Story M205: Work Order Closed
E
Work Order ZZZ
Operational Risk Management System
Maintenance Management System
1. I have detected that Work Order ZZZ is complete. (Either by querying MMS or through notifications)
Control System
2. Notify that equipment XXX is ready to come back online
Work Status
“Closed”
0. Notification or query.
0. Notification or query.

## Slide 110: CCOM Contextualisation—Maintained by SDAIR
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Asset
Debutanizer
Serial # DZR-3246
Model
Debutanizer DZR 5000
Breakdown Structure
Primary
Segment
Debutanizer Tower T100
Segment
Debutanizer Feed
Segment
Condenser C200
Segment
Temperature Sensor TS-1
Asset
Tower
Serial # T-456
Asset
Pipe Section
Asset
Condenser
Serial # CF332
Asset
Temp. Sensor
Serial # TS-999
AssetSegmentEvent
Install
1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
Supports both Asset-
and Segment-based
MeasurementLocations
Transducer
Segment
Temperature Sensor TS-2
AttributeSet
Custom Measurement Data
Measurement
Recorded at: 2018-06-01:01:00
Measurement
10oC at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
4oC at: 2018-06-01:01:00
Measurement Location
Temp. Loc. 2
Measurement Location
Temp. Loc. 1
Each object uniquely identified by a UUID. Also refer back to the system of record.

## Slide 111: CCOM Contextualisation—Configuration Change Remove/Replace
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Asset
Debutanizer
Serial # DZR-3246
Model
Debutanizer DZR 5000
Breakdown Structure
Primary
Segment
Debutanizer Tower T100
Segment
Debutanizer Feed
Segment
Condenser C200
Segment
Temperature Sensor TS-1
Asset
Tower
Serial # T-456
Asset
Pipe Section
Asset
Condenser
Serial # CF332
Asset
Temp. Sensor
Serial # TS-999
AssetSegmentEvent
Install
1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
Supports both Asset-
and Segment-based
MeasurementLocations
Transducer
Segment
Temperature Sensor TS-2
AttributeSet
Custom Measurement Data
Measurement
Recorded at: 2018-06-01:01:00
Measurement
10oC at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
4oC at: 2018-06-01:01:00
Measurement Location
Temp. Loc. 2
Measurement Location
Temp. Loc. 1
AssetSegmentEvent
Remove 2 Jan 2018
Asset
Pipe Section
AssetSegmentEvent
Install 3 Jan 2018

## Slide 112: Message Exchanges

## Slide 113: (Web Service) Information Service Bus Model
Information Service Bus Model is the centre of messaging in the OIIE
Purpose: to facilitate interoperability by providing a standardized set of web services for the sending/receiving of messages via a bus—leads to application and supplier agnostic ecosystem administration
Supports publish/subscribe and request/response modalities
  Includes Notification web services: avoids polling the bus for messages
OpenO&M ws-ISBM specification v1.0 based on SOAP web services
Current SOAP API already RESTful: each request includes all information required
RESTful architectures are technically protocol and data format agnostic
Revised specification, v1.1, will support plain HTTP/JSON REST interface
  To be proven in the upcoming stage of the OGI pilot
  MQTT or AMQP

## Slide 114: ws-ISBM REST API—Resources
ISBM is payload data agnostic
Resources are NOT payload data types such as MeasurementLocation
Resources in the ISBM include:
  Channels
  Security Tokens
  Sessions
  Messages
Revision 1.2 will consider configurable mappings for payload-based interfaces
  There are several potential challenges in developing such a mapping

## Slide 115: ws-ISBM Channel Management Service
Service Operation | SOAP Interface | RESTful Interface
Create Channel | HTTP method: POST URL: /ChannelManagement Data: Specified in HTTP body | HTTP method: POST URL: /channels Data: Specified in HTTP body
Add Security Tokens | HTTP method: POST URL: /ChannelManagement Data: Specified in HTTP body | HTTP method: POST URL: /channels/{channel-id}/security-tokens Token data is specified in HTTP body
Remove Security Tokens | HTTP method: POST URL: /ChannelManagement Data: Specified in HTTP body | HTTP method: DELETE URL: /channels/{channel-id}/security-tokens/{token-id} Data: Specified in URL
Delete Channel | HTTP method: POST URL: /ChannelManagement Data: Specified in HTTP body | HTTP method: DELETE URL: /channels/{channel-id} Data: Specified in URL
Get Channel | HTTP method: POST URL: /ChannelManagement Data: Specified in HTTP body | HTTP method: GET URL: /channels/{channel-id} Data: Specified in URL
Get Channels | HTTP method: POST URL: /ChannelManagement Data: N/A | HTTP method: GET URL: /channels Data: N/A

## Slide 116: ws-ISBM Consumer Request Service
Service Operation | SOAP Interface | RESTful Interface
Open Consumer Request Session | HTTP method: POST URL: /OpenConsumerRequestSession Data: Specified in HTTP body | HTTP method: POST URL: /channels/{channel-id}/consumer-request-sessions[?listenerUrl={URL}] Data: Specified in URL (channel-id, optional listenerUrl)
Post Request | HTTP method: POST URL: /PostRequest Data: Specified in HTTP body | HTTP method: POST URL: /sessions/{session-id}/requests?topic={string}[&expiry={duration}] Data: Message specified in HTTP body, filters in URL
Expire Request | HTTP method: POST URL: /ExpireRequest Data: Specified in HTTP body | HTTP method: DELETE URL: /sessions/{session-id}/requests/{message-id} Data: Specified in URL
Read Response | HTTP method: POST URL: /ReadResponse Data: Specified in HTTP body | HTTP method: GET URL: /sessions/{session-id}/responses?requestMessageId={string} Data: Specified in URL
Remove Response | HTTP method: POST URL: /RemoveResponse Data: Specified in HTTP body | HTTP method: DELETE URL: /sessions/{session-id}/responses/{response-message-id} Data: Specified in URL
Close Consumer Request Session | HTTP method: POST URL: /CloseConsumerRequestSession Data: Specified in HTTP body | HTTP method: DELETE URL: /sessions/{session-id} Data: Specified in URL

## Slide 117: ws-ISBM Provider Request Service
Service Operation | SOAP Interface | RESTful Interface
Open Provider Request Session | HTTP method: POST URL: /OpenProviderRequestSession Data: Specified in HTTP body | HTTP method: POST URL: /channels/{channel-id}/provider-request-sessions Data: Session config specified in HTTP body (topics[1..*], listener-url[?], XPathExpression[0..1], XPathNamespace[*])
Read Request | HTTP method: POST URL: /ReadRequest Data: Specified in HTTP body | HTTP method: GET URL: /sessions/{session-id}/request Data: Specified in URL
Remove Request | HTTP method: POST URL: /RemoveRequest Data: Specified in HTTP body | HTTP method: DELETE URL: /sessions/{session-id}/request Data: Specified in URL
Post Response | HTTP method: POST URL: /PostResponse Data: Specified in HTTP body | HTTP method: POST URL: /sessions/{session-id}/responses?requestMessageId={string} Data: Message specified in HTTP body, filters in URL
Close Provider Request Session | HTTP method: POST URL: /CloseProviderRequestSession Data: Specified in HTTP body | HTTP method: DELETE URL: /sessions/{session-id} Data: Specified in URL

## Slide 118: OIIE Use Case Message Requirements
Response messages must include contextual parameters to support:
  Redistribution
  Load balancing
  Archival
  Analytics
Standardized application level status (errors, etc.)
  Through appropriate CCOM reference data
Extensible application level status:
  Different providers/systems may have their own error codes that need to be describable, exchangeable, and interpretable
  Through vendor reference data, for example

## Slide 119: OIIE Use Case Message Structure
Utilise the BOD architecture
  Fulfils most requirements out-of-the-box
  Extensibility allows support for the rest
Supported Verbs
  Get, Show, Sync, Confirm
Specify additional header properties in the Application Area as required
  For example, Show including the original filters from the Get message.
  User Area is preferred for meta-data, rather than modifying the Data Area
Application Area
Data Area
Verb
Noun
MIMOSA CCOM Payload
Business Object Document

## Slide 120: Example Publish Configuration Change (Remove): Scenario 10
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Asset
Debutanizer
Serial # DZR-3246
Model
Debutanizer DZR 5000
Breakdown Structure
Primary
Segment
Debutanizer Tower T100
Segment
Debutanizer Feed
Segment
Condenser C200
Segment
Temperature Sensor TS-1
Asset
Tower
Serial # T-456
Asset
Pipe Section
Asset
Condenser
Serial # CF332
Asset
Temp. Sensor
Serial # TS-999
AssetSegmentEvent
Install
1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
Supports both Asset-
and Segment-based
MeasurementLocations
Transducer
Segment
Temperature Sensor TS-2
AttributeSet
Custom Measurement Data
Measurement
Recorded at: 2018-06-01:01:00
Measurement
10oC at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
4oC at: 2018-06-01:01:00
Measurement Location
Temp. Loc. 2
Measurement Location
Temp. Loc. 1
POST: /sessions/{session-id}/publications?topic={topic-name}
SyncAssetSegmentEvents
"dataArea": { "sync": {},
"assetSegmentEvents": [ {
"assetSegmentEvent": [ {
"@@type": "AssetSegmentEvent",
"UUID": "3a79dbc5-4801-8fd7-8645-2de5faef4780",
"ShortName": "Flow Meter S/N TS-189 Removed on FM-8",
"Created": "2018-10-01T03:28:20Z",
"Start": "2018-10-01T03:40:20Z",
"End": "2018-10-01T03:28:40Z",
"InfoSource": { "UUID": "19a137cf-a70d-2888-343a-bc1158bf7f9f" },
"EventType": {
"UUID": "3a45e126-b234-42a0-b3b1-07c29522d02d",
"ShortName": "Removal of Asset on Segment",
"InfoSource": { "UUID": "cf3f3a8a-1e42-4f15-9288-9cf2241e163d" }
},
"Asset": {
"UUID": "35e17dde-6e82-4591-50a3-f553b6185292",
"ShortName": "Flow Meter FM-189"
},
"Segment": {
"UUID": "ec5a2f64-1c3a-34ef-766d-eb69ba865d59",
"ShortName": "Flow Meter FM-8"
}
} ] } ] }

## Slide 121: Example Query for Context/Configuration: Scenario 11
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Asset
Debutanizer
Serial # DZR-3246
Model
Debutanizer DZR 5000
Breakdown Structure
Primary
Segment
Debutanizer Tower T100
Segment
Debutanizer Feed
Segment
Condenser C200
Segment
Temperature Sensor TS-1
Asset
Tower
Serial # T-456
Asset
Pipe Section
Asset
Condenser
Serial # CF332
Asset
Temp. Sensor
Serial # TS-999
AssetSegmentEvent
Install
1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
Supports both Asset-
and Segment-based
MeasurementLocations
Transducer
Segment
Temperature Sensor TS-2
AttributeSet
Custom Measurement Data
Measurement
Recorded at: 2018-06-01:01:00
Measurement
10oC at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
4oC at: 2018-06-01:01:00
Measurement Location
Temp. Loc. 2
Measurement Location
Temp. Loc. 1
POST: /sessions/{session-id}/requests?topic={topic-name}
GetAssetSegmentEvents
{
"@@type": "GetAssetSegmentEvents", "@releaseID": "9.0", "@versionID": "1.0",
"applicationArea": {
"sender": {
"logicalId": "466aa22b-ffce-4ea0-acf4-587e372d7ba5"
},
"creationDateTime": "2018-10-22T08:34:15Z",
"bodID": "0e4bd242-77b6-476c-9105-c63fc078b595"
},
"dataArea": {
"get": {},
"assetSegmentEventsCriteria": [
{
"segmentUuid": { "value": "ec5a2f64-1c3a-34ef-766d-eb69ba865d59" }
}
]
}
}

## Slide 122: Example Query for Context/Configuration: Scenario 11
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Asset
Debutanizer
Serial # DZR-3246
Model
Debutanizer DZR 5000
Breakdown Structure
Primary
Segment
Debutanizer Tower T100
Segment
Debutanizer Feed
Segment
Condenser C200
Segment
Temperature Sensor TS-1
Asset
Tower
Serial # T-456
Asset
Pipe Section
Asset
Condenser
Serial # CF332
Asset
Temp. Sensor
Serial # TS-999
AssetSegmentEvent
Install
1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
Supports both Asset-
and Segment-based
MeasurementLocations
Transducer
Segment
Temperature Sensor TS-2
AttributeSet
Custom Measurement Data
Measurement
Recorded at: 2018-06-01:01:00
Measurement
10oC at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
4oC at: 2018-06-01:01:00
Measurement Location
Temp. Loc. 2
Measurement Location
Temp. Loc. 1
GET: /sessions/{session-id}/responses?requestMessageId=0e4bd242-…-c63fc078b595
GetAssetSegmentEvents
{ "dataArea": { "show": {},
"assetSegmentEvents": {
"count": 2,
"assetSegmentEvent": [
{
"@@type": "AssetSegmentEvent",
"UUID": "3a79dbc5-4801-8fd7-8645-2de5faef4780",
"ShortName": "Flow Meter S/N TS-189 Removed on FM-8",
"Created": "2018-10-01T03:28:20Z",
"Start": "2018-10-01T03:40:20Z",
"End": "2018-10-01T03:28:40Z",
"InfoSource": { "UUID": "19a137cf-a70d-2888-343a-bc1158bf7f9f" },
"EventType": {
"UUID": "3a45e126-b234-42a0-b3b1-07c29522d02d",
"ShortName": "Removal of Asset on Segment",
"InfoSource": { "UUID": "cf3f3a8a-1e42-4f15-9288-9cf2241e163d" }
},
"Asset": {
"UUID": "35e17dde-6e82-4591-50a3-f553b6185292",
"ShortName": "Flow Meter FM-189"
},
"Segment": {
"UUID": "ec5a2f64-1c3a-34ef-766d-eb69ba865d59",
"ShortName": "Flow Meter FM-8"
}
},
{ … }
] } } }

## Slide 123: Push (Current) Condition/Operation Information: Scenarios 29/30
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Asset
Debutanizer
Serial # DZR-3246
Model
Debutanizer DZR 5000
Breakdown Structure
Primary
Segment
Debutanizer Tower T100
Segment
Debutanizer Feed
Segment
Condenser C200
Segment
Temperature Sensor TS-1
Asset
Tower
Serial # T-456
Asset
Pipe Section
Asset
Condenser
Serial # CF332
Asset
Temp. Sensor
Serial # TS-999
AssetSegmentEvent
Install
1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
Supports both Asset-
and Segment-based
MeasurementLocations
Transducer
Segment
Temperature Sensor TS-2
AttributeSet
Custom Measurement Data
Measurement
Recorded at: 2018-06-01:01:00
Measurement
10oC at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
4oC at: 2018-06-01:01:00
Measurement Location
Temp. Loc. 2
Measurement Location
Temp. Loc. 1
POST: /sessions/{session-id}/publications?topic={topic-name}
SyncMeasurements [including MeasurementLocation context]
GET: /sessions/{session-id}/publication
SyncMeasurements

## Slide 124: Get (Historical) Condition/Operation Information: Scenarios 31/32
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Asset
Debutanizer
Serial # DZR-3246
Model
Debutanizer DZR 5000
Breakdown Structure
Primary
Segment
Debutanizer Tower T100
Segment
Debutanizer Feed
Segment
Condenser C200
Segment
Temperature Sensor TS-1
Asset
Tower
Serial # T-456
Asset
Pipe Section
Asset
Condenser
Serial # CF332
Asset
Temp. Sensor
Serial # TS-999
AssetSegmentEvent
Install
1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
AssetSegmentEvent
Install 1 Jan 2018
Supports both Asset-
and Segment-based
MeasurementLocations
Transducer
Segment
Temperature Sensor TS-2
AttributeSet
Custom Measurement Data
Measurement
Recorded at: 2018-06-01:01:00
Measurement
10oC at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
Recorded at: 2018-06-01:01:00
Measurement
4oC at: 2018-06-01:01:00
Measurement Location
Temp. Loc. 2
Measurement Location
Temp. Loc. 1
POST: /sessions/{session-id}/requests?topic={topic-name}
GetMeasurementLocations[filtered by Asset UUID]
GET: /sessions/{session-id}/responses?requestMessageId={id}
ShowMeasurementLocations
POST: /sessions/{session-id}/requests?topic={topic-name}
GetMeasurements[filtered by MeasurementLocation UUID & date/time]
GET: /sessions/{session-id}/responses?requestMessageId={id}
ShowMeasurements
Could also be filtered by Asset or Segment.

## Slide 125: Collaboration Update

## Slide 126: Solution: Open Standards Fill The Gaps
Physical Asset Control
Real-time Systems
Enterprise Business Systems
Enterprise Resource Planning (ERP)
OPERATIONS
MAINTENANCE
OpenO&M™
Notes: Rather than using proprietary, point-to-point interfaces to integrate the large number of military platforms and their associated technical applications with each other and the SAP Enterprise Resource Planning (ARP) applications, MIMOSA Open Standards provide a standards-based abstraction and integration layer. SAP NetWeaver can leverage the MIMOSA standards with a wide range of Technical Applications providing logistics integration between the true real-time platform control environment and the transaction processing ERP environment. Adoption of Non-proprietary, Open Standards such as MIMOSA will enable cost effective transition management for many different technical applications and military platforms as they must change over time in the transformational military services.

## Slide 127: OpenO&M Joint Working Group – Current Activities
Functional Requirements
Channel Management
Service API
Message support for IIoT sensor data
Process support (e.g., BPEL)
Non-Functional Requirements
Performance
Easy Administration
Scalability
Supplier Neutrality
Reliability
Security (e.g., ISA99)
Intra-/Inter-Enterprise comm.
Implementation Requirements
Publish/Subscribe vs Request/Response
REST vs SOAP
Support for XML and JSON
OpenAPI
MQTT
ISBM Update in alignment with ISA 95/IEC 62264 MSM
Version 1.0 being updated to Version 1.x
OIIE Use Cases Provide Functional and Non-Functional Requirements
OpenO&M Website

## Slide 128: Proper evaluation of requirements from IIoT perspective necessary
XML vs JSON
Large differences between XML Schema and JSON Schema definition
Required for verification
Challenges if support for both at the same time
OpenAPI
Proposal for JSON and XML schema in an OpenAPI document (not yet accepted)
Current OpenAPI refers to early JSON Schema version
Each requirement is evaluated against OIIE Use Cases
  Examples: XML vs JSON and OpenAPI

## Slide 129: MIMOSA/OIIE Documentation Strategy
MIMOSA Website (http://www.mimosa.org/)
- General Description of Initiatives
- Downloads of versioned releases of documents and specifications
- Current Documents as HTML pages
- Current Examples as HTML pages
MS Teams Environment
- Members only discussion of in progress specifications
- Open discussion on joint initiatives, e.g., OpenO&M
GitHub (members only)
- Version controlled source documents and specifications
- Issue tracking
- Summary of discussion and rationale based on outcome of discussion in MS Teams

## Slide 130: Many related ISO and IEC Activities
WG 6

## Slide 131: ISO 18101-1 Concept Map Being Developed By ISO TC 184/WG 6 CD/DTS Ballot Completed (12 Yes Votes)
Capital
Project
O&M
Shared Semantic Context
Information and Data Quality
Reference
Environment
Execution
Environment
OGI Pilot
Use Cases
ISO 8000
Interoperability
Validated
Digital Twin/Event/Time Series Data Sets
Digital Transformation
Supplier Neutral
IEC 62264 MSM/OpenO&M ISBM

## Slide 132: Global Collaboration
Asset Institute
NIST (Smart Manufacturing Team for Industry 4.0)
POSC Caesar, USPI