## SPReport_Definition (hidden)
0 | Instrument
1 | Instrument
Active Instruments
FALSE
22
0
3 | FALSE
ActuatorType
MIMOSA | AlarmH
0 | AlarmHH
AlarmL
AlarmLL
FailModeHigh.FailureAction
InstrumentClass
InstrDetail
InstrRemark1
InstrRemark2
InstrRemark3
InstrRemark4
InstrRemark5
InstrRemark6
InstrumentType
InstrFunction
Location
ItemTag
Representation.Drawing.DrawingNumber
SPIInstrDef
SPIInstrClass
SupplyBy
Note on A1: Defines the number of rows to skip between items in the report.
Note on A2: Defines the number of header rows in the report.
Note on A8: Version
Note on A10: Plant name
Note on B1: Item name
Note on B2: View name
Note on B3: Parent item name
Note on B4: Filter name
Note on B5: Repeat flag
Note on B6: Item property count
Note on B7: Sort property count
Note on B8: Group flag
Note on B9: Property name, Display format

## Sheet1
Tag Number | Instr Class | Instr Type | Location | Drawing Number | Supply By | Actuator Type | Alarm HH | Alarm H | Alarm L | Alarm LL | Fail Action | Remark 1 | Remark 2 | Remark 3 | Remark 4 | Remark 5 | Remark 6 | Function | SPI Instr Def | SPI Instr Class
ACT-11100 | Actuator | Diaphragm |  | 11-002 | Contractor | [14 empty] | C
ACT-11101 | Actuator | Diaphragm |  | 11-001 | Contractor | [14 empty] | C
ACT-11102 | Actuator | Diaphragm |  | 11-004 | Contractor | [14 empty] | C
ACT-11111 | Actuator | Diaphragm |  | 11-004 | Contractor | [14 empty] | C
ACT-11113 | Actuator | Diaphragm |  | 11-004 | Contractor | [14 empty] | C
FE-11100 | Other in-line instruments | Orifice plate & flanges | Field | 11-002 | Contractor | [14 empty] | C
FE-11101 | Other in-line instruments | Vortex flow instr | Field | 11-001 | Contractor | [14 empty] | C
FE-11102 | Other in-line instruments | Vortex flow instr | Field | 11-004 | Contractor | [14 empty] | C
FE-11105 | Other in-line instruments | Vortex flow instr | Field | 11-004 | Contractor | [14 empty] | C
FI-11105 | System functions | DCS function | DCS - Main Panel | 11-004 | Contractor | [14 empty] | C
FIC-11100 | System functions | DCS function | DCS - Main Panel | 11-002 | Contractor | [6 empty] | SP | [7 empty] | C
FIC-11101 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [6 empty] | SP | [7 empty] | C
FIC-11102 | System functions | DCS function | DCS - Main Panel | 11-004 | Contractor |  |  | H | L |  |  | SP | [7 empty] | C
FIT-11100 | Off-line instruments | Single funct instr | Field | 11-002 | Contractor | [14 empty] | F
FIT-11101 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | H
FIT-11102 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [14 empty] | F
FIT-11105 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [14 empty] | F
FV-11100 | Control valves and regulators | Globe valve | Field | 11-002 | Contractor | Diaphragm |  |  |  |  | FC | [8 empty] | F
FV-11101 | Control valves and regulators | Globe valve | Field | 11-001 | Contractor | Diaphragm |  |  |  |  | FC | [8 empty] | F
FV-11102 | Control valves and regulators | Globe valve | Field | 11-004 | Contractor | Diaphragm |  |  |  |  | FC | [8 empty] | F
HS-11100 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [6 empty] | S/S | [7 empty] | C
HS-11100A | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [6 empty] | S/S | MOTOR | [6 empty] | C
HS-11100A | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [6 empty] | S/S | MOTOR | [6 empty] | C
HS-11100B | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [6 empty] | S/S | GRADE | [6 empty] | C
HS-11100B | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [6 empty] | S/S | GRADE | [6 empty] | C
HS-11101 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [6 empty] | S/S | [7 empty] | C
HS-11101A | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [6 empty] | S/S | MOTOR | [6 empty] | C
HS-11101A | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [6 empty] | S/S | MOTOR | [6 empty] | C
HS-11101B | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [6 empty] | S/S | GRADE | [6 empty] | C
HS-11101B | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [6 empty] | S/S | GRADE | [6 empty] | C
HS-11102 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [6 empty] | S/S | [7 empty] | C
HS-11103 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [6 empty] | S/S | [7 empty] | C
I-115 | System functions | Logic/Interlock function | Interlock | 11-003 | Contractor | [14 empty] | C
I-115 | System functions | Logic/Interlock function | Interlock | 11-003 | Contractor | [14 empty] | C
I-115 | System functions | Logic/Interlock function | Interlock | 11-003 | Contractor | [14 empty] | C
I-115 | System functions | Logic/Interlock function | Interlock | 11-003 | Contractor | [14 empty] | C
I-116 | System functions | Logic/Interlock function | Interlock | 11-004 | Contractor | [14 empty] | C
I-116 | System functions | Logic/Interlock function | Interlock | 11-004 | Contractor | [14 empty] | C
I-116 | System functions | Logic/Interlock function | Interlock | 11-004 | Contractor | [14 empty] | C
I-116 | System functions | Logic/Interlock function | Interlock | 11-004 | Contractor | [14 empty] | C
LG-11106 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [13 empty] | MAG | C
LG-11107 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [13 empty] | MAG | C
LG-11110 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [13 empty] | MAG | C
LG-11111 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [13 empty] | MAG | C
LI-11105 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor |  |  | H | L | [10 empty] | C
LIC-11106 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor |  |  | H | L | [10 empty] | C
LIC-11107 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor |  |  | H | L | [10 empty] | C
LIC-11110 | System functions | DCS function | DCS - Main Panel | 11-004 | Contractor |  |  | H | L | [10 empty] | C
LIC-11111 | System functions | DCS function | DCS - Main Panel | 11-004 | Contractor |  |  | H | L | [10 empty] | C
LIT-11105 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [13 empty] | D/P | F
LIT-11106 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
LIT-11107 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
LIT-11110 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [6 empty] | GWR | [7 empty] | F
LIT-11111 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [6 empty] | GWR | [7 empty] | F
LIT-11112 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [13 empty] | D/P | C
LV-11107 | Control valves and regulators | Globe valve | Field | 11-001 | Contractor | Diaphragm |  |  |  |  | FC | [8 empty] | F
LV-11111 | Control valves and regulators | Globe valve | Field | 11-004 | Contractor | Diaphragm |  |  |  |  | FC | [8 empty] | F
PDI-11110 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
PDI-11111 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
PDY-11110 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [12 empty] | Subtracting |  | C
PDY-11111 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [12 empty] | Subtracting |  | C
PI-11107 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
PI-11108 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
PI-11109 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor |  |  | H | [11 empty] | C
PI-11113 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | C
PI-11122 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [14 empty] | C
PI-11125 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [14 empty] | C
PI-11126 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [14 empty] | C
PI-11127 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [14 empty] | C
PI-11128 | Off-line instruments | Single funct instr | Field | 11-004 | Contractor | [14 empty] | C
PIT-11107 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
PIT-11108 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
PIT-11109 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
PIT-11113 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
PSV-11112 | Relief devices | Angle press relief valve | Field | 11-001 | Contractor | Spring | [13 empty] | C
PSV-11114 | Relief devices | Angle press relief valve | Field | 11-001 | Contractor | Spring | [13 empty] | C
PSV-11115 | Relief devices | Angle press relief valve | Field | 11-003 | Contractor | Spring | [13 empty] | C
PV-11113 | Control valves and regulators | Globe valve | Field | 11-004 | Contractor | Diaphragm |  |  |  |  | FC | [8 empty] | F
SI-11102 | System functions | DCS function | DCS - Main Panel | 11-003 | Contractor | [14 empty] | C
SI-11105 | System functions | DCS function | DCS - Main Panel | 11-003 | Contractor | [14 empty] | C
SY-11102 | System functions | DCS function | DCS - Main Panel | 11-003 | Contractor | [14 empty] | C
SY-11102 | System functions | DCS function | DCS - Main Panel | 11-003 | Contractor | [14 empty] | C
TI-11101 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
TI-11102 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
TI-11103 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
TI-11104 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
TI-11105 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
TI-11106 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
TI-11107 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
TI-11109 | System functions | DCS Function Not Accessible | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
TI-11111 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor |  |  | H | L | [10 empty] | C
TI-11113 | System functions | DCS function | DCS - Main Panel | 11-001 | Contractor |  |  | H | L | [10 empty] | C
TI-11114 | System functions | DCS function | DCS - Main Panel | 11-002 | Contractor | [14 empty] | C
TI-11115 | System functions | DCS function | DCS - Main Panel | 11-002 | Contractor | [14 empty] | C
TI-11116 | System functions | DCS function | DCS - Main Panel | 11-002 | Contractor | [14 empty] | C
TI-11117 | System functions | DCS function | DCS - Main Panel | 11-002 | Contractor | [14 empty] | C
TI-11120 | System functions | DCS function | DCS - Main Panel | 11-003 | Contractor | [14 empty] | C
TI-11121 | System functions | DCS function | DCS - Main Panel | 11-003 | Contractor | [14 empty] | C
TI-11122 | System functions | DCS function | DCS - Main Panel | 11-003 | Contractor | [14 empty] | C
TIC-11108 | System functions | DCS Function Not Accessible | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
TIC-11110 | System functions | DCS Function Not Accessible | DCS - Main Panel | 11-001 | Contractor | [14 empty] | C
TIC-11119 | System functions | DCS function | DCS - Main Panel | 11-003 | Contractor | [14 empty] | C
TIT-11101 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
TIT-11102 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
TIT-11103 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
TIT-11104 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
TIT-11105 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
TIT-11106 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
TIT-11107 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
TIT-11108 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
TIT-11109 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
TIT-11110 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
TIT-11111 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
TIT-11113 | Off-line instruments | Single funct instr | Field | 11-001 | Contractor | [14 empty] | F
TIT-11114 | Off-line instruments | Single funct instr | Field | 11-002 | Contractor | [14 empty] | F
TIT-11115 | Off-line instruments | Single funct instr | Field | 11-002 | Contractor | [14 empty] | F
TIT-11116 | Off-line instruments | Single funct instr | Field | 11-002 | Contractor | [14 empty] | F
TIT-11117 | Off-line instruments | Single funct instr | Field | 11-002 | Contractor | [14 empty] | F
TIT-11119 | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [12 empty] | High selecting |  | F
TIT-11120 | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [14 empty] | F
TIT-11121 | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [14 empty] | F
TIT-11122 | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [14 empty] | F
TW-11101 | Off-line instruments | Thermowell Flanged | Field | 11-001 | Contractor | [13 empty] | RTD | C
TW-11102 | Off-line instruments | Thermowell Flanged | Field | 11-001 | Contractor | [13 empty] | RTD | C
TW-11103 | Off-line instruments | Thermowell Flanged | Field | 11-001 | Contractor | [13 empty] | RTD | C
TW-11104 | Off-line instruments | Thermowell Flanged | Field | 11-001 | Contractor | [13 empty] | RTD | C
TW-11105 | Off-line instruments | Thermowell Flanged | Field | 11-001 | Contractor | [13 empty] | RTD | C
TW-11106 | Off-line instruments | Thermowell Flanged | Field | 11-001 | Contractor | [13 empty] | RTD | C
TW-11107 | Off-line instruments | Thermowell Flanged | Field | 11-001 | Contractor | [13 empty] | RTD | C
TW-11108 | Off-line instruments | Thermowell Flanged | Field | 11-001 | Contractor | [13 empty] | RTD | C
TW-11109 | Off-line instruments | Thermowell Flanged | Field | 11-001 | Contractor | [13 empty] | RTD | C
TW-11110 | Off-line instruments | Thermowell Flanged | Field | 11-001 | Contractor | [13 empty] | RTD | C
TW-11111 | Off-line instruments | Thermowell Flanged | Field | 11-001 | Contractor | [13 empty] | RTD | C
TW-11113 | Off-line instruments | Thermowell Flanged | Field | 11-001 | Contractor | [13 empty] | RTD | C
TW-11114 | Off-line instruments | Thermowell Flanged | Field | 11-002 | Contractor | [13 empty] | RTD | C
TW-11115 | Off-line instruments | Thermowell Flanged | Field | 11-002 | Contractor | [13 empty] | RTD | C
TW-11116 | Off-line instruments | Thermowell Flanged | Field | 11-002 | Contractor | [13 empty] | RTD | C
TW-11117 | Off-line instruments | Thermowell Flanged | Field | 11-002 | Contractor | [13 empty] | RTD | C
TW-11119A | Off-line instruments | Thermowell Flanged | Field | 11-003 | Contractor | [13 empty] | RTD | C
TW-11119B | Off-line instruments | Thermowell Flanged | Field | 11-003 | Contractor | [13 empty] | RTD | C
TW-11120 | Off-line instruments | Thermowell Flanged | Field | 11-003 | Contractor | [13 empty] | RTD | C
TW-11121 | Off-line instruments | Thermowell Flanged | Field | 11-003 | Contractor | [13 empty] | RTD | C
TW-11122 | Off-line instruments | Thermowell Flanged | Field | 11-003 | Contractor | [13 empty] | RTD | C
VFD-11100 | Off-line instruments | Controller | Field | 11-003 | Contractor | [14 empty] | C
VFD-11100 | Off-line instruments | Controller | Field | 11-003 | Contractor | [14 empty] | C
VI-11100 | System functions | DCS function | DCS - Main Panel | 11-003 | Contractor |  |  | H | [11 empty] | C
VI-11100 | System functions | DCS function | DCS - Main Panel | 11-003 | Contractor |  |  | H | [11 empty] | C
VI-11101 | System functions | DCS function | DCS - Main Panel | 11-003 | Contractor |  |  | H | [11 empty] | C
VI-11103 | System functions | DCS function | DCS - Main Panel | 11-003 | Contractor |  |  | H | [11 empty] | C
VIT-11100 | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [14 empty] | C
VIT-11101 | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [14 empty] | C
VIT-11101 | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [14 empty] | C
VIT-11102 | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [14 empty] | C
VSHH-11100 | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [14 empty] | C
VSHH-11100 | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [14 empty] | C
VSHH-11101 | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [14 empty] | C
VSHH-11101 | Off-line instruments | Single funct instr | Field | 11-003 | Contractor | [14 empty] | C
XV-11100 | Control valves and regulators | Gate valve | Field | 11-004 | Contractor | Diaphragm |  |  |  |  | FC | [8 empty] | C
XV-11101 | Control valves and regulators | Gate valve | Field | 11-004 | Contractor | Diaphragm |  |  |  |  | FC | [8 empty] | C
XV-11102 | Control valves and regulators | Gate valve | Field | 11-004 | Contractor | Diaphragm |  |  |  |  | FC | [8 empty] | C
XV-11103 | Control valves and regulators | Gate valve | Field | 11-004 | Contractor | Diaphragm |  |  |  |  | FC | [8 empty] | C